APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, August 4, 2016 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy | Alt. Rep. for D. Ee |
| --- | --- | --- |
| Bern, Alan | Oncor |  |
| Bowen, Ken | CPS Energy | Alt. Rep. for T. Vo |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Firestone, Joel | LCRA | Alt. Rep. for B. Hatfield |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Gross, Blake | AEP Service Corporation | Alt. Rep. for D. Kunkel |
| Holloway, Harry | GDF Suez | Alt. Rep. for A. Ramirez |
| Hudson, Tony | TNMP |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Koenig, Chris | Golden Spread Electric |  |
| Kroskey, Tony | Brazos Electric Power |  |
| O’Bryan, Drew | Sierra Club | Alt. Rep. for C. Reed |
| Moore, John | South Texas Electric Cooperative |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Staples, Boone | Tenaska Power Services |  |
| Tzartev, Rouslan | EDP Renewables | Via Teleconference |
| Woitt, Wes | CenterPoint Energy |  |
| Zaragoza, Luis | Pattern Energy |  |

Guests:

| Abbott, Kristin | PUCT | Via Teleconference |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Bailey, Robert | NRG | Via Teleconference |
| Bryant, Mark | PUCT | Via Teleconference |
| Bunch, Kevin | EDF | Via Teleconference |
| Checkley, Jim | Cross Texas Transmission |  |
| Cobos, Lori | Talen Energy | Via Teleconference |
| Cook, Tim | Cross Texas Transmission | Via Teleconference |
| Detelich, David | CPS Energy | Via Teleconference |
| DeWitt, Charles |  |  |
| Donohoo, Ken | Oncor |  |
| Evans, Doug | STEC | Via Teleconference |
| Galliguez, Percy | Brazos Electric |  |
| Gomes, Matt | Lone Star Transmission |  |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Grensing, Justin | OATI | Via Teleconference |
| Grimes, Mike | EDP Renewables | Via Teleconference |
| Helton, Robert | GDF Suez |  |
| Henson, Martha | Oncor |  |
| Holland, Mike | Oncor | Via Teleconference |
| Hunt, Dandy | Austin Energy | Via Teleconference |
| Jones, Liz | Oncor |  |
| Jones, Randy | Calpine |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Lane, Robert | Oncor | Via Teleconference |
| Looney, Sherry | Luminant |  |
| Matos, Chris | GSEC | Via Teleconference |
| McCamant, Frank | Bluebonnet Electric Cooperative |  |
| Moore, Sheri | CenterPoint Energy | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Odanga, Monsherra | Oncor | Via Teleconference |
| Owens, Frank | Cross Texas Transmission | Via Teleconference |
| Penney, David | Texas Reliability Entity |  |
| Reid, Walter | Wind Coalition | Via Teleconference |
| Sams, Bryan | NRG | Via Teleconference |
| Schwarz, Brad | Sharyland | Via Teleconference |
| Stanfield, L. | InvEnergy | Via Teleconference |
| Turner, David | Lone Star |  |
| Turner, Lucas | STEC | Via Teleconference |
| Wall, Perrin | CenterPoint Energy | Via Teleconference |
| White, Lauri | AEP |  |
| Whitworth, Doug | Texas Reliability Entity | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Woodruff, Taylor | Oncor |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Anderson, Connor |  | Via Teleconference |
| Billo, Jeff |  |  |
| Boren, Ann |  | Via Teleconference |
| Borkar, Sandeep |  | Via Teleconference |
| Bracy, Phillip |  |  |
| Butterfield, Lindsay |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Coon, Patrick |  | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| ElHabr, Anthony |  |  |
| Hanson, Kevin |  |  |
| Hartmann, Jimmy |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Landin, Yvette |  | Via Teleconference |
| Orr, Rob |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Steffan, Nick |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thompson, David |  | Via Teleconference |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |
| Zhang, Wen |  |  |

Unless otherwise indicated, all Market Segments were present for a vote. 2016 Reliability and Operations Subcommittee (ROS) Chair Alan Bern called the August 4, 2016 ROS meeting to order at 9:30 a.m. Antitrust Admonition Mr. Bern directed attention to the Antitrust Admonition, which was displayed. Approval of ROS Meeting Minutes (See Key Documents) James Armke moved to approve the July 7, 2016 ROS meeting minutes as submitted. David DeTullio seconded the motion. The motion carried unanimously. Technical Advisory Update 2016 ROS Vice Chair Boone Staples provided an overview of the July 28, 2016 TAC meeting. ERCOT Updates (see Key Documents) Operations Report Nick Steffan presented the June 2016 Operations Report. System Planning Report Prabhu Gnanam presented the June 2016 System Planning Report. Operations Working Group (OWG) (see Key Documents) Sherry Looney provided highlights of the July 21, 2016 OWG meeting. Nodal Operating Guide Revision Request (NOGRR) 158, Alignment with Protocol Limits on RRS provided by Hydro Resources Harry Holloway moved to recommend approval of NOGRR158 as recommended by OWG in the 7/21/16 OWG Report. Mr. DeTullio seconded the motion. The motion carried unanimously. NOGRR159, Alignment with Nodal Protocol Revision Request (NPRR) 779, Clarifies References to Texas Reliability Entity and Independent Market Monitor Mr. Holloway moved to recommend approval of NOGRR159 as recommended by OWG in the 7/21/16 OWG Report. Rick Keetch seconded the motion. The motion carried unanimously. Planning Working Group (PLWG) (see Key Documents) Charles DeWitt reported on recent PLWG activity. Planning Guide Revision Request (PGRR) 047, FIS Department of Defense Declaration PGRR048, Alignment with NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor PGRR049, GINR Application and Fee Submittal Mr. DeTullio moved to recommend approval of PGRRs 047, 048, and 049 as recommended by PLWG in the respective 7/20/16 PLWG Reports. Tony Kroskey seconded the motion. The motion carried unanimously. Reliability Must-Run (RMR) Discussion (see Key Documents) NPRR788, Reliability Must-Run (RMR) Study Modifications Jeff Billo discussed the 8/2/16 ERCOT comments filed to NPRR788, stating that they are intended to address consistency between the RMR study process, and other ERCOT planning study processes. ROS took no action on this item. NPRR793, Clarifications to RMR RUC Commitment and other RMR Cleanups Mark Ruane explained the purpose of NPRR793. ROS took no action on this item. NPRR795, Provisions for Refunds of Capital Contributions Made in Connection with an RMR Agreement Mr. Ruane presented NPRR795. ROS took no action on this item. Potential Process Revisions Dan Woodfin explained considerations for potential changes to the current Must-Run Alternative (MRA)/RMR process. New Protocol Revision Subcommittee (PRS) Referrals There were no new NPRRs referred from July PRS. Revision Requests Tabled at PRS, Referred to ROS (see Key Documents) NPRR772, Clarification of Process for Transmission Outages Related to a Service Disconnection Request for a Generation Resource Market Participants recommended an administrative revision to NPRR772. Clayton Greer moved to endorse NPRR772 as revised by ROS. Blake Gross seconded the motion. The motion carried unanimously. NPRR776, Voltage Set Point Communication Mr. Gross moved to request PRS continue to table NPRR776 for further review by OWG. Mr. Greer seconded the motion. The motion carried unanimously. Revision Requests Tabled at ROS (see Key Documents) NOGRR154, Alignment with NPRR755 and Requirements for ERCOT WAN Installation and Exchange of Resource-Specific XML Data Doug Fohn reviewed the 7/26/16 ERCOT comments to NOGRR154. Mr. Gross moved to table NOGRR154 for one month. Mr. Greer seconded the motion. The motion carried unanimously. NPRR783, Revision of Network Operations Model Consistency Audit Requirement ROS took no action on this item. Steady State Working Group (SSWG) (see Key Documents) Dandy Hunt updated ROS on recent SSWG activity. Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey presented the NDSWG report to ROS. Operations Training Working Group (OTWG) (see Key Documents) ROS reviewed the posted OTWG presentation. Outage Coordination Improvements Task Force (OCITF) (see Key Documents) Methodology to Develop the High Impact Transmission Elements (HITEs) List Liz Jones presented the draft methodology to develop the HITEs list; the proposal included the recommendation to convert the OCITF to a ROS working group. Market Participants proposed revisions to clarify that the proposed Outage Coordination Working Group (OCWG) will be a working group of ROS but will provide reports to both ROS and the Wholesale Market Subcommittee (WMS). Mr. Gross moved to waive notice for consideration of the Methodology to Develop the HITE List. Mr. Greer seconded the motion. The motion carried unanimously. Mr. Gross moved to approve the Methodology to Develop the HITE List as revised by ROS. Mr. Greer seconded the motion. The motion carried unanimously. Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents) Percy Galliguez summarized activities of the July 13, 2016 PDCWG meeting and highlights of the Frequency Control report. Market Participants discussed time error corrections and the possible benefits of allowing Generators to match ERCOT reference frequencies. A decision was made to add the topic to the agenda for the next PDCWG meeting. Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents) Mike Juricek reviewed recent PGDTF activities. Voltage Profile Working Group (VPWG) (see Key Documents) Scot Williams presented the VPWG update. Market Participants discussed assumptions and modeling of test cases for wind. No Report Black Start Working Group (BSWG) System Protection Working Group (SPWG) Dynamics Working Group (DWG) Resource Data Working Group (RDWG) Other Business Open Action Items Mr. DeWitt provided an update regarding the status of open action items assigned to PLWG. Annual TAC/TAC Subcommittee Structural and Procedural Review Mr. Bern reminded ROS members of the August 25, 2016 TAC and TAC subcommittee structural and procedural review. Adjournment Mr. Bern adjourned the August 4, 2016 ROS meeting at 11:05 a.m.

# Footnotes

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2016/8/4/77616-ROS