## Slide 1: Advanced Metering Working Group (AMWG)
Update to RMS
September 13, 2016

## Slide 2: Noteworthy August Meeting Items
Reviewed 2-year history of AMS Volume & Count Report (details to follow)
Sept. 17th Release highlights:
  Minor release; DR pre-test activities
  Add variances to 3rd Party statistics report
  Correct a tab key issue on SMT log-in page
  Improve ODR description for users (per TDU territory)
Annual DR exercise Oct. 8th – 15th
  Oct. 8th = flip to DR site (12 hr SMT outage)
  Oct. 15th = return to Production site (12 hr SMT outage)

## Slide 3: August Meeting Items, cont.
Reviewed new 3rd Party Tickets Report
  3rd Party reject reasons
  EDA natural rejects vs. proactive rejects
Change Request Review
  High-level review of the Change Request pipeline
  Individual Change Request review in October
  Broad categorization of all Change Requests
Green Button Connect
  General functionality overview
  Oct. meeting to include more in-depth discussion regarding GBC capabilities / functionality

## Slide 4: AMSR Cycle Read Analysis
Scope limited to March AMSR Cycle Reads where the kWh delta was greater than +/- 500 kWh
How many ESIs are there if the kWh delta was set at +/- 250 kWh?
Count of AMSR Cycle Reads Above Threshold |  |  |  |  |  |  | 
 | Oct-14 | Jan-15 | Apr-15 | Jul-15 | Dec-15 | Mar-16 | Jul-16
>1000 | 1,387 | 827 | 376 | 1,132 | 259 | 37 | 
>500 |  |  | 1,440 | 2,703 | 573 | 120 | 
>250 |  |  | 3,659 | 5,586 | 1,187 | 299 | 
 |  |  |  |  | 15-day lag | 45-day lag | 

## Slide 5
Chart: ESI ID Count/Percentage Estimated by ERCOT INITIAL

## Slide 6
Chart: ESI ID Count/Percentage Estimated by ERCOT FINAL

## Slide 7
Chart: ESI ID Count/Percentage Estimated by ERCOT TRUE-UP

## Slide 8: Selected SMT Statistics -July
SMT Help Desk Calls 531 (+27) {7/15 = 917}
SMT Help Desk Tickets 477 (+38) {7/15 = 865}
  Residential = 412 (+33)
    GUI access issues = 108 (+35) {U/ID & P/W Invalid}
    Registration issues = 203 (+7) {Typo errors}
SMT Registered Users (Res) 72,962 (+1,866)
ESIs in SMT 7,194,205 (+14,705)
Active Meters in SMT 7,128,941 (+15,323)

## Slide 9: July Stats – Cont.
Active Energy Data Agreements 1,742 (7/31/16)
Total * Energy Data Agreements 1,744 (-297)
  * Active and Pending
  AEPN = 12; CNP = 725; Oncor = 965; TNMP = 42
HAN Device Agreements 392 (+41)
HAN Devices 9,269 (-112)
3rd Parties Registered @ SMT 116 (+6)
REPs Registered @ SMT 110 (NC)
On Demand Reads
  Customer 8,352
  REP 5
  3rd Party 4

## Slide 10: Next Meeting
October 7, 9:30 – 3:00
F-T-F and WebEx
ERCOT MET Center Room 168
  (Combined Sept. / Oct. Meeting)

## Slide 11: Questions?