## Slide 1
Ancillary Service Quantities for 2017
ERCOT Staff

## Slide 2: Schedule for Stakeholder Discussion
Aug 30, 2016 – QMWG (w Current Methodology)
Sep 19, 2016 – QMWG (w Proposed Changes)
Sep 22, 2016 – OWG
Oct 6, 2016 – ROS
Oct 17, 2016 – WMS
Oct 27, 2016 – TAC
Dec 13, 2016 – BOD
Notes: 3.16 Standards for Determining Ancillary Service Quantities
The ERCOT Board shall review and approve ERCOT's methodology for determining the minimum Ancillary Service requirements, the monthly percentage of Load Resources, Controllable Load Resources and DC Ties allowed to provide RRS, and the maximum amount of Reg-Up and Reg-Down that can be provided by Resources providing FRRS-Up and FRRS-Down.
Last done by BOD Dec 2014.

## Slide 3: Scope
ERCOT is proposing two changes to the 2017 Regulation Service Methodology.
ERCOT is not recommending any changes to the methodologies of determining RRS and NSRS quantities. RRS and NSRS Methodologies for 2017 are the same as approved in June 2016.
Note that, a redline version of the draft methodology and a spreadsheet containing the preliminary quantities for January through August of 2017 have been posted on the September 19 QMWG Meeting webpage on ercot.com.

## Slide 4: Regulation Service Methodology Changes
ERCOT is proposing the following changes to the 2017 Regulation Service Methodology,
  Remove exhaustion rate feedback from the regulation procurement analysis
  Estimate 5-minute net load variability by including solar generation (net load = load – wind generation – solar generation).
The annual updates to GE Tables are reflected in the regulation quantities for 2017.

## Slide 5: ERCOT CPS1

## Slide 6: Reg-Up (Jan 2017)

## Slide 7: Reg-Up (Feb 2017)

## Slide 8: Reg-Up (March 2017)

## Slide 9: Reg-Up (April 2017)

## Slide 10: Reg-Up (May 2017)

## Slide 11: Reg-Up (June 2017)

## Slide 12: Reg-Up (July 2017)

## Slide 13: Reg-Up (Aug 2017)

## Slide 14: Reg-Down (Jan 2017)

## Slide 15: Reg-Down (Feb 2017)

## Slide 16: Reg-Down (Mar 2017)

## Slide 17: Reg-Down (Apr 2017)

## Slide 18: Reg-down (May 2017)

## Slide 19: Reg-Down (Jun 2017)

## Slide 20: Reg-Down (July 2017)

## Slide 21: Reg-Down (Aug 2017)

## Slide 22: Updated GE Table

## Slide 23: Responsive Reserve Service (RRS)
The preliminary RRS quantities in subsequent slides for January through August of 2017 are based on historical (2015 and 2016) inertia data using current methodology.
2017 RRS quantities reflect system inertia based on Gross MW telemetry. In previous years net MW telemetry was used for this analysis.
ROS in its September 8, 2016 meeting approved ERCOT’s recommendation for removal of RDF. The RRS quantities for 2017 do not reflect RDF adjustments.

## Slide 24: RRS (Jan 2017)

## Slide 25: RRS (Feb 2017)

## Slide 26: RRS (Mar 2017)

## Slide 27: RRS (Apr 2017)

## Slide 28: RRS (May 2017)

## Slide 29: RRS (Jun 2017)

## Slide 30: RRS (Jul 2017)

## Slide 31: RRS (Aug 2017)

## Slide 32: Non-Spin Reserve Service (NSRS)
The preliminary NSRS quantities in subsequent slides for January through August of 2017 are based on historical (2014, 2015 and 2016) net forecast error data using the current methodology.

## Slide 33: NSRS (Jan 2017)

## Slide 34: NSRS (Feb 2017)

## Slide 35: NSRS (Mar 2017)

## Slide 36: NSRS (Apr 2017)

## Slide 37: NSRS (May 2017)

## Slide 38: NSRS (Jun 2017)

## Slide 39: NSRS (July 2017)

## Slide 40: NSRS (Aug 2017)

## Slide 41: Questions and Answers