DRAFT Minutes of the Technical Advisory Committee (TAC) Meeting ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744 Thursday, August 25, 2016 – 9:30 a.m. Attendance Members: Adair, Marshall Residential Consumer Allen, Thresa AvanGrid Renewables Bailey, Dan Garland Power and Light Via Teleconference Barnes, Bill Reliant Energy Retail Services Blakey, Eric Just Energy Boyd, Phillip City of Lewisville Brandt, Adrianne CPS Energy Brewster, Chris City of Eastland Cobos, Lori Topaz Coleman, Diana OPUC Cunningham, Lance Denton Municipal Electric Emesih, Valentine CenterPoint Energy English, Barksdale Austin Energy Frazier, Amanda Luminant Goff, Eric Citigroup Energy Greer, Clayton Morgan Stanley Hauk, Christine Garland Power and Light Alt. Rep. for D. Bailey Hastings, David SESCO Helton, Bob GDF Suez Meehan, Colin First Solar Messer, Tayaun Rayburn Country Minnix, Kyle Brazos Electric Morris, Sandy Direct Energy Pridgeon, Marcus CMC Steel Texas Ross, Richard AEPSC Sandidge, Clint Noble Americas Energy Solutions Smith, Bill Air Liquide Stephenson, Randa LCRA Thurnher, Greg Shell Energy Turner, Lucas STEC Alt. Rep. for C. Lange The following proxies were assigned: BJ Flowers to Valentine Emesih Tayaun Messer to Kyle Minnix Guests: Abbott, Kristin PUCT Via Teleconference Allen, Travis Enbridge Via Teleconference Ashley, Kristy CES Via Teleconference Bern, Alan Oncor Bryant, Mark PUCT Via Teleconference Cantwell, Teresa LCRA Via Teleconference Cook, Tim Cross Texas Transmission Via Teleconference Corona, Connie NRG Cripe, Ramsey Schneider Engineering Via Teleconference Damen, Jason AEP Donohoo, Ken Oncor Gross, Blake AEPSC Henson, Martha Oncor Hurst, Jay Schneider Engineering Via Teleconference Ingraham, Deborah Texas Electric Cooperatives Jones, Randy Calpine Juricek, Michael Oncor Via Teleconference Kee, David CPS Energy Kershaw, Ray ITC Transco Via Teleconference Kleckner, Tom RTO Insider Kremling, Barry GVEC Lee, Jim AEP Looney, Sherry Luminant Via Teleconference McKeever, Debbie Oncor Nease, Nelson API Owens, Frank Cross Texas Transmission Via Teleconference Peters, Patrick CenterPoint Energy Via Teleconference Reed, Carolyn CenterPoint Energy Via Teleconference Reedy, Steve IMM Rehfeldt, Diana TNMP Via Teleconference Reid, Walter Wind Coalition Sams, Bryan NRG Schwarz, Brad Sharyland Via Teleconference Scott, Kathy CenterPoint Energy Sidhuray, Murali Terry, Kevin Garland Power and Light Via Teleconference Tijerina, Jonathan CPS Energy Trefny, Floyd Via Teleconference Trenary, Michelle Tenaska Power Services Wall, Perrin CenterPoint Energy Via Teleconference White, Lauri AEP Texas Whittle, Brandon Megawatt Analytics Williams, Lori BTU Via Teleconference Wittmeyer, Bob DME Zake, Diana Lone Star Transmission Zerwas, Rebecca Reed NRG Zimmerman, Mark Air Products Via Teleconference ERCOT Staff: Albracht, Brittney Boren, Ann Boswell, Bill Via Teleconference Bracy, Phillip Via Teleconference Butterfield, Lindsay Via Teleconference Chang, Sean Via Teleconference Chen, Jian Via Teleconference Clifton, Suzi Via Teleconference Coon, Patrick Via Teleconference Day, Betty Farley, Karen Via Teleconference Hanson, Kevin Via Teleconference Janak, Sarah Via Teleconference Landry, Kelly Via Teleconference Maggio, Dave Via Teleconference Mele, Cheryl Pabbisetty, Suresh Via Teleconference Phillips, Cory Reed, Bobby Via Teleconference Roberts, Randy Via Teleconference Ruane, Mark Via Teleconference Sharma, Sandip Via Teleconference Shaw, Pamela Via Teleconference Sopko, Leslie Via Teleconference Surendran, Resmi Via Teleconference Thompson, David Via Teleconference Thurman, Kathryn Via Teleconference Townsend, Aaron Via Teleconference Unless otherwise indicated, all Market Segments were present for a vote. 2016 TAC Chair Randa Stephenson called the August 25, 2016 TAC meeting to order at 9:30 a.m. Antitrust Admonition Ms. Stephenson directed attention to the displayed Antitrust Admonition.

Election of 2016 TAC Chair and Vice Chair (Vote) Ms. Stephenson thanked TAC members for their support in recent years and resigned the chair, noting that she would continue to participate as a member of TAC and the ERCOT market. Brittney Albracht reviewed the leadership election process as codified in the TAC Procedures. Bob Helton nominated Adrianne Brandt for 2016 TAC Chair. Ms. Brandt accepted the nomination and was named 2016 TAC Chair by acclamation. Amanda Frazier nominated Mr. Helton for 2016 TAC Vice Chair. Mr. Helton accepted the nomination and was named 2016 TAC Vice Chair by acclamation.

Approval of TAC Meeting Minutes (see Key Documents) July 28, 2016 Thresa Allen moved to approve the July 28, 2016 TAC meeting minutes as submitted. Mr. Helton seconded the motion. The motion carried unanimously.

ERCOT Board or Directors (ERCOT Board) Update Ms. Brandt reviewed the disposition of issues considered at the August 9, 2016 ERCOT Board meeting, in particular that the ERCOT Board upheld TAC’s rejection of the appeal regarding Nodal Protocol Revision Request (NPRR) 784, Mitigated Offer Caps for RMR Units. Bill Barnes requested that the Wholesale Market Subcommittee (WMS) take up discussion of placing Reliability Must-Run (RMR) units last in the dispatch order; there were no objections. Market Continuity Ms. Brandt conveyed the Finance and Audit (F&A) Committee request for a progress report regarding market continuity efforts, and that TAC leadership would work with ERCOT Staff to develop an update. Ms. Brandt welcomed stakeholder input.

Protocol Revision Subcommittee (PRS) Report (see Key Documents) Amanda Frazier presented revision requests for TAC consideration, and noted the withdrawal of NPRR638, Revisions to Certain Price Components of EAL. NPRR753, Allow AMS Data Submittal Process for TDSP-Read Non-Modeled Generators NPRR778, Modifications to Date Change and Cancellation Evaluation Window NPRR782, Settlement of Infeasible Ancillary Services Due to Transmission Constraints NPRR786, Consumption Data Adjustments for Negative Load NPRR787, Removal of Recipient Name Requirement for VDI Confirmations Sandy Morris moved to recommend approval of NPRR753, NPRR778, NPRR782, NPRR786, and NPRR787 as recommended by PRS in the respective 8/11/16 PRS Reports. Mr. Helton seconded the motion. The motion carried unanimously. NPRR760, Calculation of Exposure Variables For Days With No Activity Ms. Frazier expressed concern that NPRR760 does not address the concern that Counter-Parties could enter a small value for participation, instead of zero, and thereby bypass the corrective measure intended by NPRR760. David Hastings opined that NPRR760 is the best option currently available and had received the endorsement of the Credit Work Group (Credit WG). Mr. Hastings moved to recommend approval of NPRR760 as recommended by PRS in the 8/11/16 PRS Report. Eric Goff seconded the motion. The motion carried with two objections from Investor Owned Utility (IOU) Market Segment (AEPSC, Luminant) and two abstentions from the IOU Market Segment (CenterPoint Energy, Sharyland). NPRR773, Broadening Scope of Acceptable Letter of Credit Issuers ERCOT Staff requested that NPRR773 be tabled so that potential changes to associated credit forms could be reviewed. Richard Ross moved to table NPRR773. Ms. Morris seconded the motion. The motion carried unanimously. NPRR785, Synchronizing WGR and PVGR COPs with the Short Term Wind and PhotoVoltaic Forecasts Market Participants discussed the 8/23/16 Luminant comments to NPRR785 and noted that the anticipated project cost and duration would not be affected, but that an additional system would be impacted. ERCOT Staff added that it would submit a revised Impact Analysis to the ERCOT Board, should TAC recommend the 8/23/16 Luminant comments. Mr. Barnes moved to recommend approval of NPRR785 as recommended by PRS in the 8/11/16 PRS Report as amended by the 8/23/16 Luminant comments. Mr. Goff seconded the motion. The motion carried unanimously.

Revision Request Previously Tabled by TAC (see Key Documents) Nodal Operating Guide Revision Request (NOGRR) 150, Alignment with NPRR747, Revision of Voltage Control Requirements Clayton Greer moved to approve NOGRR150 as recommended by the Reliability and Operations Subcommittee (ROS) in the 7/7/16 ROS Report. Ms. Frazier seconded the motion. The motion carried unanimously. NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor Ms. Frazier moved to recommend approval of NPRR779 as recommended by PRS in the 7/14/16 PRS Report. Ms. Stephenson seconded the motion. The motion carried unanimously. NPRR781, Updates to Nodal Protocol Section 18, Load Profiling, to Align with Current Market Processes TAC took no action on this item.

ROS Report (see Key Documents) Alan Bern reviewed recent ROS activities and presented revision requests for TAC consideration. NOGRR158, Alignment with Protocol Limits on RRS Provided by Hydro Resources Ms. Frazier moved to approve NOGRR158 as recommended by ROS in the 8/4/16 ROS Report. Mr. Ross seconded the motion. The motion carried unanimously. NOGRR159, Alignment with NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor Ms. Frazier moved to table NOGRR159. Mr. Ross seconded the motion. The motion carried unanimously. Planning Guide Revision Request (PGRR) 047, FIS Department of Defense Declaration Market Participants expressed concern that PGRR047 would be retroactively applied to an Interconnecting Entity (IE) with a pending Full Interconnection Study (FIS). ERCOT Staff confirmed that PGRR047 would only apply prospectively. Lance Cunningham moved to recommend approval of PGRR047 as recommended by ROS in the 8/4/16 ROS Report. Mr. Ross seconded the motion. The motion carried unanimously. PGRR048, Alignment with NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor PGRR049, GINR Application and Fee Submittal Regarding PGRR048, ERCOT Staff proposed language to rectify the inadvertent omission of the Independent Market Monitor (IMM) from the list of parties eligible to submit comments to a PGRR, as described in Section 1.2.4.3, Planning Working Group Review and Action. Ms. Frazier moved to recommend approval of PGRR048 as recommended by ROS in the 8/4/16 ROS Report and as revised by TAC, and to recommend approval of PGRR049 as recommended by ROS in the 8/4/16 ROS Report. Greg Thurnher seconded the motion. The motion carried unanimously.

WMS Report (see Key Documents) David Kee reviewed recent WMS activities and presented a revision request for TAC consideration. VCMRR013, Clarifications to Verifiable Cost Appeals Process Mr. Kee requested that VCMRR013 be tabled until ERCOT Board consideration of NPRR769, Alignment with VCMRR013, Clarifications to Verifiable Cost Appeals Process, noting the stakeholder preference that the items become effective at the same time. Ms. Frazier moved to table VCMRR013. Mr. Helton seconded the motion. The motion carried unanimously.

Commercial Operations Subcommittee (COPS) Report (see Key Documents) Michelle Trenary reviewed recent COPS activities. Ms. Stephenson noted the report of 50MW of solar generation in the Non-Registered DG Installed Capacity Quarterly Report and requested an update at the October 27, 2016 TAC meeting. Market Participants discussed that a review of available reports and an update on the Distributed Energy Resource Issues Matrix presented at the April 28, 2016 TAC meeting would be helpful.

Retail Market Subcommittee (RMS) Report (see Key Documents) Kathy Scott reviewed recent RMS activities and presented revision requests for TAC consideration. Eric Blakey expressed appreciation for the series of ERCOT and Smart Meter Texas (SMT) Advanced Meter System (AMD) Data Processes workshops, offering that the exercise had been helpful and encouraged the market continue to work towards a single database. Retail Market Guide Revision Request (RMGRR) 134, Allow AMS Data Submittal Process for TDSP-Read Non-Modeled Generators Ms. Frazier moved to recommend approval of RMGRR134 as recommended by RMS in the 8/2/16 RMS Report. Mr. Barnes seconded the motion. The motion carried unanimously. RMGRR139, Alignment with NPRR778, Modifications to Date Change and Cancellation Evaluation Window Mr. Barnes moved to table NPRR139. Mr. Ross seconded the motion. Market Participants discussed the pending ERCOT Board consideration of the related NPRR778, Modifications to Date Change and Cancellation Evaluation Window. The motion carried unanimously. RMGRR140, Efficiencies for Acquisition Transfer Process RMGRR141, Clarifying Procedures for Market Participants During an Extended Unplanned System Outage Ms. Frazier moved to recommend approval of RMGRR140 and RMGRR141 as recommended by RMS in the respective 8/2/16 RMS Reports. Mr. Barnes seconded the motion. The motion carried unanimously.

ERCOT Operations, Planning, and IT Report Cheryl Mele noted failure of a network switch the morning of August 25, 2016 resulting in a Security-Constrained Economic Dispatch (SCED) failure, and that functionality was restored.

Other Business (see Key Documents) 2017 Meeting Schedule Ann Boren reviewed the proposed 2017 meeting schedule. Ms. Brandt requested Market Participants bring any necessary revisions for consideration at the September 29, 2016 TAC meeting.

Adjournment Ms. Brandt adjourned the September 29, 2016 TAC meeting at 10:38 a.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at

http://www.ercot.com/calendar/2016/8/25/76844-TAC unless otherwise noted.