## Summary
Missed Postings - September 2016
EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 1
NP3-217-CD | 12346 | Forecasted Temperature Adjusted Dynamic Ratings | Chron - Hourly | 1
NP3-233-CD | 13103 | Hourly Resource Outage Capacity | Chron - Hourly | 1
NP4-159-CD | 12324 | Load Forecast Distribution Factors | Chron - Hourly | 1
NP3-763-CD | 12315 | Short-Term System Adequacy Report | Chron - Hourly | 1
NP5-649-CD | 12352 | Temporarily Removed Contingencies | Chron - Hourly | 2
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 5
NP8-143-CD | 11025 | QSE Ancillary Services Capacity Monitor | Chron - 5 Minutes | 4
NP6-971-CD | 13074 | RTD Indicative Base Points by Resources | Chron - 5 Minutes | 3
NP6-970-CD | 13073 | RTD Indicative LMPs by Resource Nodes, Load Zones and Hubs | Chron - 5 Minutes | 3
NP6-325-CD | 13222 | RTD Indicative ORDC and Reliability Deployment Price Adders and Reserves | Chron - 5 Minutes | 2
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 7
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 9
NP4-733-CD | 13071 | Wind Power Production - Actual 5-Minute Averaged Values | Chron - 5 Minutes | 4
NP3-561-CD | 12312 | Seven-Day Load Forecast by Weather Zone | Chron - Hourly | 1
NP4-737-CD | 13483 | Solar Power Production - Hourly Averaged Actual and Forecasted Values | Chron - Hourly | 1
NP6-915-CD | 13081 | Summary Report of HDL and LDL | Event - Per SCED Run | 2
NP4-732-CD | 13028 | Wind Power Production - Hourly Averaged Actual and Forecasted Values | Chron - Hourly | 1
Missed Postings - Oct 1-3, 2016
EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed

## Detail
Missed Postings - September 2016
Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 12/09/2016 11:00 - 12/09/2016 12:00 | Failed to create and post due to activity timeout
Forecasted Temperature Adjusted Dynamic Ratings | NP3-217-CD | 12346 | 01/09/2016 17:00 - 01/09/2016 18:00 | April PSU patch deploys to EMS, MMS and OS
Hourly Resource Outage Capacity | NP3-233-CD | 13103 | 01/09/2016 17:00 - 01/09/2016 18:00 | April PSU patch deploys to EMS, MMS and OS
Load Forecast Distribution Factors | NP4-159-CD | 12324 | 01/09/2016 17:00 - 01/09/2016 18:00 | April PSU patch deploys to EMS, MMS and OS
Short-Term System Adequacy Report | NP3-763-CD | 12315 | 01/09/2016 17:00 - 01/09/2016 18:00 | April PSU patch deploys to EMS, MMS and OS
Temporarily Removed Contingencies | NP5-649-CD | 12352 | 01/09/2016 17:00 - 01/09/2016 18:00 08/09/2016 20:00 - 08/09/2016 21:00 | April PSU patch deploys to EMS, MMS and OS Network Connectivity issue
Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 01/09/2016 15:30 - 01/09/2016 15:45 08/09/2016 19:15 - 08/09/2016 19:45 10/09/2016 14:30 - 10/09/2016 14:45 19/09/2016 17:15 - 19/09/2016 17:30 | April PSU patch deploys to EMS, MMS and OS Network Connectivity issue M-A091916-01, Core System Failover
QSE Ancillary Services Capacity Monitor | NP8-143-CD | 11025 | 01/09/2016 15:40 - 01/09/2016 15:55 10/09/2016 14:40 - 10/09/2016 14:45 | April PSU patch deploys to EMS, MMS and OS Network Connectivity issue
RTD Indicative Base Points by Resources | NP6-971-CD | 13074 | 01/09/2016 17:00 - 01/09/2016 17:05 08/09/2016 19:25 - 08/09/2016 19:30 08/09/2016 19:50 - 08/09/2016 19:55 | April PSU patch deploys to EMS, MMS and OS Network Connectivity issue
RTD Indicative LMPs by Resource Nodes, Load Zones and Hubs | NP6-970-CD | 13073 | 01/09/2016 17:00 - 01/09/2016 17:05 08/09/2016 19:25 - 08/09/2016 19:30 08/09/2016 19:50 - 08/09/2016 19:55 | April PSU patch deploys to EMS, MMS and OS Network Connectivity Issue
RTD Indicative ORDC and Reliability Deployment Price Adders and Reserves | NP6-325-CD | 13222 | 01/09/2016 17:00 - 01/09/2016 17:05 08/09/2016 19:25 - 08/09/2016 19:30 | April PSU patch deploys to EMS, MMS and OS Network Connectivity issue
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 01/09/2016 17:00 - 01/09/2016 17:05 10/09/2016 14:40 - 10/09/2016 14:45 | April PSU patch deploys to EMS, MMS and OS Network Connectivity Issue
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 01/09/2016 15:40 - 01/09/2016 15:50 01/09/2016 17:00 - 01/09/2016 17:05 08/09/2016 19:35 - 08/09/2016 19:50 10/09/2016 14:40 - 10/09/2016 14:45 | April PSU patch deploys to EMS, MMS and OS Network Connectivity issue
Topology Consistency | NP6-291-CD | 12309 | 01/09/2016 17:00 - 01/09/2016 17:05 08/09/2016 19:25 - 08/09/2016 19:45 10/09/2016 14:40 - 10/09/2016 14:45 19/09/2016 17:25 - 19/09/2016 17:30 19/09/2016 17:35 - 19/09/2016 17:45 | April PSU patch deploys to EMS, MMS and OS Network Connectivity issue M-A091916-01, Core System Failover
Wind Power Production - Actual 5-Minute Averaged Values | NP4-733-CD | 13071 | 01/09/2016 15:50 - 01/09/2016 15:55 10/09/2016 14:40 - 10/09/2016 14:45 19/09/2016 17:35 - 19/09/2016 17:45 | April PSU patch deploys to EMS, MMS and OS Network Connectivity Issue M-A091916-01, Core System Failover
Seven-Day Load Forecast by Weather Zone | NP3-561-CD | 12312 | 08/09/2016 19:00 - 08/09/2016 20:00 | Network Connectivity issue
Solar Power Production - Hourly Averaged Actual and Forecasted Values | NP4-737-CD | 13483 | 08/09/2016 19:00 - 08/09/2016 20:00 | Network Connectivity issue
Summary Report of HDL and LDL | NP6-915-CD | 13081 | 19/09/2016 17:35 - 19/09/2016 17:45 | M-A091916-01, Core System Failover
Wind Power Production - Hourly Averaged Actual and Forecasted Values | NP4-732-CD | 13028 | 08/09/2016 19:00 - 08/09/2016 20:00 | Network Connectivity issue
Missed Postings - Oct 1 - 3 , 2016
Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason