## Slide 1
Generation Resource Energy and Regulation Deployment Performance – September 2016
QMWG 10/14/2016

## Slide 2: IRR Summary September2016
IRR | Fleet | <95% | >100 INT; <95%
Average (%) | 82.62 | 60.33 | 0
Median (%) | 85.87 | 77.5 | 0
Average ERR(MW) | 3.12 | 2.74 | 0
Median ERR(MW) | 3.90 | 3.81 | 0
INTERVALS | 998 | 609 | 0
100+ INT | 1 | 0 | 0
AVE INT SCORED | 18 | 25 | 0
Non IRR GREDP < 85% 09/30/2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev(GREDP MW) | GREDP Monthly Score
Unit 136 | 153 | 202 | 4.16 | 75.74
Unit 122 | 42 | 86 | 1.51 | 48.84
Unit 120 | 37 | 65 | 1.78 | 56.92
 | 232 | 353 | 3.08 | 65.72

## Slide 3: IRR GREDP > .95 (31) September 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 4 | 209 | 210 | 4.67 | 99.52
Unit 51 | 90 | 93 | 3.21 | 96.77
Unit 24 | 14 | 14 | 6.45 | 100.00
Unit 15 | 10 | 10 | 1.71 | 100.00
Unit 11 | 7 | 7 | 2.75 | 100.00
Unit 41 | 7 | 7 | 2.44 | 100.00
Unit 49 | 7 | 7 | 2.40 | 100.00
Unit 20 | 4 | 4 | 2.42 | 100.00
Unit 21 | 4 | 4 | 2.00 | 100.00
Unit 25 | 4 | 4 | 3.22 | 100.00
Unit 23 | 3 | 3 | 5.14 | 100.00
Unit 39 | 3 | 3 | 3.97 | 100.00
Unit 26 | 2 | 2 | 3.79 | 100.00
Unit 37 | 2 | 2 | 3.01 | 100.00
Unit 47 | 2 | 2 | 4.06 | 100.00
Unit 50 | 2 | 2 | 2.34 | 100.00

## Slide 4: IRR GREDP > .95 (31) September 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 1 | 1 | 1 | 2.31 | 100.00
Unit 3 | 1 | 1 | 4.54 | 100.00
Unit 17 | 1 | 1 | 3.81 | 100.00
Unit 18 | 1 | 1 | 3.37 | 100.00
Unit 19 | 1 | 1 | 3.81 | 100.00
Unit 31 | 1 | 1 | 2.97 | 100.00
Unit 32 | 1 | 1 | 6.75 | 100.00
Unit 33 | 1 | 1 | 5.31 | 100.00
Unit 34 | 1 | 1 | 2.53 | 100.00
Unit 38 | 1 | 1 | 3.98 | 100.00
Unit 40 | 1 | 1 | 1.97 | 100.00
Unit 42 | 1 | 1 | 2.64 | 100.00
Unit 43 | 1 | 1 | 1.14 | 100.00
Unit 48 | 1 | 1 | 1.78 | 100.00
Unit 54 | 1 | 1 | 5.44 | 100.00
 | 385 | 389 | 4.05 | 98.97

## Slide 5: IRR GREDP < .95 (24) September 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 52 | 59 | 99 | 4.84 | 59.60
Unit 55 | 93 | 99 | 4.74 | 93.94
Unit 2 | 74 | 97 | 4.46 | 76.29
Unit 29 | 47 | 51 | 2.91 | 92.16
Unit 28 | 26 | 39 | 3.69 | 66.67
Unit 44 | 26 | 29 | 2.94 | 89.66
Unit 45 | 25 | 28 | 1.99 | 89.29
Unit 30 | 17 | 26 | 3.34 | 65.38
Unit 9 | 22 | 25 | 3.77 | 88.00
Unit 10 | 16 | 19 | 2.73 | 84.21
Unit 22 | 14 | 16 | 5.18 | 87.50
Unit 12 | 12 | 15 | 2.46 | 80.00

## Slide 6: IRR GREDP < .95 (24) September 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 7 | 12 | 14 | 1.80 | 85.71
Unit 13 | 11 | 14 | 2.62 | 78.57
Unit 27 | 8 | 10 | 3.13 | 80.00
Unit 14 | 3 | 8 | 2.14 | 37.50
Unit 53 | 1 | 6 | 2.99 | 16.67
Unit 5 | 3 | 5 | 2.89 | 60.00
Unit 6 | 2 | 3 | 1.06 | 66.67
Unit 36 | 1 | 2 | 0.47 | 50.00
Unit 8 | 0 | 1 | 1.11 | 0.00
Unit 16 | 0 | 1 | 2.54 | 0.00
Unit 35 | 0 | 1 | 1.41 | 0.00
Unit 46 | 0 | 1 | 0.65 | 0.00
 | 472 | 609 | 3.81 | 77.50