DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, September 8, 2016 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bern, Alan | Oncor |  |
| Cobos, Lori | Topaz |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Ee, Danny | Austin Energy |  |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Holloway, Harry | GDF Suez | Alt. Rep. for A. Ramirez |
| Hudson, Tony | TNMP |  |
| Keetch, Rick | Reliant Energy |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Moore, John | South Texas Electric Cooperative |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Staples, Boone | Tenaska Power Services |  |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |
| Zaragoza, Luis | Pattern Energy | Via Teleconference |

The following proxy was assigned:

- Billy Lee to Trieu Vo

| Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | PUCT | Via Teleconference |
| Armke, James | Austin Energy |  |
| Bailey, Robert | NRG |  |
| Bunch, Kevin | EDF Energy Services | Via Teleconference |
| Bryant, Mark | PUCT | Via Teleconference |
| Checkley, Jim | Cross Texas Transmission |  |
| Clowe, Brian | CenterPoint Energy | Via Teleconference |
| Coleman, Diana | OPUC | Via Teleconference |
| Cook, Tim | Cross Texas Transmission | Via Teleconference |
| Cripe, Ramsey | Schneider Engineering | Via Teleconference |
| DeWitt, Charles | LCRA |  |
| Galliguez, Percy | Brazos Electric |  |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Grensing, Justin | OATI | Via Teleconference |
| Gross, Blake | AEP Service Corporation |  |
| Hampton, Brenda | Luminant |  |
| Henson, Martha | Oncor |  |
| Henry, Mark | Texas Reliability Entity | Via Teleconference |
| Huang, Feiran | Luminant | Via Teleconference |
| Hunt, Dandy | Austin Energy | Via Teleconference |
| Jones, Randy | Calpine |  |
| Koellner, Kris | LCRA |  |
| Kremling, Barry | GUEC |  |
| Leffler, Jacob | Lonestar Transmission | Via Teleconference |
| Looney, Sherry | Luminant |  |
| McCamant, Frank | McCamant Consulting LLC | Via Teleconference |
| Mercado, David | CenterPoint Energy | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Owens Frank | Cross Texas Transmission | Via Teleconference |
| Ordonez, Camilo | Luminant | Via Teleconference |
| Palani, Ananth | Garland Power and Light | Via Teleconference |
| Penney, David | Texas Reliability Entity |  |
| Reedy, Steve | Potomac Economics | Via Teleconference |
| Reid, Walter | Wind Coalition |  |
| Schwarz, Brad | Sharyland |  |
| Shaw, Marka | Exelon |  |
| Smith, Josh | Oncor |  |
| Stanfield, L. | InvEnergy | Via Teleconference |
| Struk, Mark | Alpha Inception | Via Teleconference |
| Turner, Lucas | STEC | Via Teleconference |
| Varnell, John | Tenaska Power Services | Via Teleconference |
| Walker, Mark | NRG |  |
| White, Lauri | AEP Service Corporation |  |
| Whittmeyer, Bob | DME |  |
| Williams, Scot | Oncor | Via Teleconference |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Billo, Jeff |  |  |
| Boswell, Bill |  | Via Teleconference |
| Bracy, Phil |  |  |
| Chang, Sean |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Hanson, Kevin |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Jin, Julie |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Lowrie, Gene |  |  |
| Orr, Rob |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Ruane, Mark |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Simons, Diane |  | Via Teleconference |
| Sopko, Leslie |  | Via Teleconference |
| Spinner, Mark |  |  |
| Steffan, Nick |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thompson, David |  | Via Teleconference |
| Woodfin, Dan |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2016 Reliability and Operations Subcommittee (ROS) Chair Alan Bern called the September 8, 2016 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern directed attention to the ERCOT Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

- Approval of ROS Meeting Minutes

August 4, 2016

Tony Hudson moved to approve the August 4, 2016 ROS meeting minutes as submitted.  Bill Hatfield seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update (see Key Documents)

- Mr. Bern reviewed highlights of the August 25, 2016 TAC meeting.

ERCOT Updates (see Key Documents)

Operations Report

Nick Steffan presented the July 2016 Operations Report.

System Planning Report

Jeff Billo presented the July 2016 System Planning Report.  Market Participants discussed study scenarios to be used in the 2016 Long Term System Assessment.

Compliance Update

Yvette Landin presented the Compliance Update.

2016 Under-Frequency Load Shedding (UFLS) Survey

Gene Lowrie presented findings of the 2016 UFLS Survey.

Unannounced Testing and Recommendation on Reserve Discount Factor (RDF)

Sandip Sharma presented the Recommendation on Reserve Discount Factor.  Market Participants discussed processes employed and data gathered to develop the recommendation.

Clayton Greer moved to approve the removal of the RDF for temperatures above 95F.  Rick Keetch seconded the motion.  The motion carried unanimously.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 790, Addition of Phase Angle Limits to the Network Operations Model

Dennis Kunkel moved to endorse NPRR790 as amended by the 9/6/16 CenterPoint comments.  Clayton Greer seconded the motion.  The motion carried unanimously.

NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS)

Mr. Sharma noted that the 9/1/16 ERCOT comments to NPRR792 are intended to address stakeholder concerns that elements of NPRR792 exceed what is needed to align ERCOT Protocols with the North American Electric Reliability Corporation’s (NERC) RAS definition, and that remaining issues could be addressed in a future NPRR.  Market Participants discussed the timeline required for implementation of NPRR792 and related Revision Requests.

Mr. Greer moved to endorse NPRR792 as amended by the 9/1/16 ERCOT comments.  Mr. Keetch seconded the motion.  The motion carried unanimously.

Reliability Must-Run (RMR) Issues (see Key Documents)

NPRR788, RMR Study Modifications

Mr. Billo explained revisions to NPRR788 as outlined in the 9/2/16 ERCOT comments.  Market Participants discussed the proposed language change in paragraph (3)(c)(iii) of Nodal Protocol Section 3.14.1.2, ERCOT Evaluation, citing concerns about compliance with NERC Reliability Standard TPL-001-4, Transmission System Planning Performance Requirements.

Cyrus Reed moved to endorse NPRR788 as amended by the 9/2/16 ERCOT comments, and encourage further discussion of paragraph (3)(c)(iii) of Nodal Protocol Section 3.14.1.2.  Eric Goff seconded the motion.  The motion carried with one objection from the Investor Owned Utility (IOU) Market Segment (Oncor), and one abstention from the Cooperative Market Segment (Lower Colorado River Authority).

NPRR793, Clarifications to RMR Reliability Unit Commitment (RUC) Commitment and other RMR Cleanups

Mr. Greer moved to endorse NPRR793 as amended by the 8/23/16 ERCOT comments.  Mr. Reed seconded the motion.  The motion carried unanimously.

NPRR795, Provisions for Refunds of Capital Contributions made in Connection with and RMR Agreement

ROS took no action on NPRR795.

Draft NPRR, RMR Data Considered Protected Information

Mark Ruane stated that this NPRR is still in development.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR776, Voltage Set Point Communication

ROS took no action on NPRR776.

NPRR783, Revision of Network Operations Model Consistency Audit Requirement

Wes Woitt moved to endorse NPRR783 as submitted.  Trieu Vo seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS (see Key Documents)

NOGRR154, Alignment with NPRR755 and Requirements for ERCOT WAN Installation and Exchange of Resource-Specific XML Data

Mr. Reed moved to recommend approval of NOGRR154 as amended by the 8/16/16 Tenaska comments; and to forward the associated Impact Analysis to TAC.  Tony Kroskey seconded the motion.  The motion carried unanimously.

Operations Working Group (OWG) (see Key Documents)

Sherry Looney reviewed recent OWG activity.

Planning Working Group (PLWG) (see Key Documents)

Planning Guide Revision Request (PGRR) 042, Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology

Charles DeWitt presented an overview of PGRR042, including the 5/13/16 Morgan Stanley comments and 8/16/16 AEP comments, and highlighted compromises offered in the 9/2/16 ERCOT comments.  Mr. DeWitt noted points of contention including use of the ERCOT 90/10 forecast, and limitations on use of load scaling.   It was suggested that PGRR042 be tabled to continue work towards consensus.

Mr. Greer moved to table PGRR042 for one month.  Mr. Goff seconded the motion.  The motion carried via roll call with seven objections from the IOU (3) (Oncor, TNMP, AEPSC) and Municipal (4) (Brownsville PUB, Austin Energy, Garland, CPS Energy) Market Segments.  (Please see ballot posted with Key Documents.)

Update: Stability Issues Identified during Full Interconnection Study (FIS) Process/Impact on Generic Transmission Constraints (GTCs)

Mr. DeWitt briefed the ROS on discovery of FIS process issues and impacts, and stated that there are three PGRRs and one companion NPRR currently under development to propose solutions.

Outage Coordination Improvements Task Force (OCITF)

Martha Henson reviewed recent OCITF activity, stating that a draft of the High-Impact Transmission Elements (HITE) list has been posted, and that work will continue in September after receiving additional comments.  Market Participants discussed the Methodology to Develop the High Impact Transmission Elements (HITEs) List approved by ROS on August 4, 2016.

Mr. Greer moved to establish the Outage Coordination Working Group (OCWG).  Mr. Woitt seconded the motion.  The motion carried unanimously.

Operations Training Working Group (OTWG) (see Key Documents)

Mark Spinner reviewed recent OTWG activity.

Steady State Working Group (SSWG) (see Key Documents)

Dandy Hunt reviewed recent SSWG activity.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

Percy Galliguez reviewed recent PDCWG activity and provided an overview of the August 2016 Frequency Control Report.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed recent VPWG activity.

Other Business

Facilities Rating Methodology

Mr. Bern stated that his questions on this topic had been answered.  ROS did not discuss this item.

Review 2017 Meeting Dates

Market Participants reviewed the proposed 2017 ROS meeting dates; there were no objections

Review of Open Action Items

Mr. Bern recognized the PLWG’s effort and progress on the open action items.

No Report

- Black Start Working Group

- Dynamics Working Group

- Network Data Support Working Group

- Planning Geomagnetic Disturbance Task Force

- Resource Data Working Group

- System Protection Working Group

Adjournment

Mr. Bern adjourned the September 8, 2016 ROS meeting at 12:19 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2016/9/8/77627-ROS

http://www.ercot.com/mktrules/issues/PGRR042#keydocs