## Slide 1
Proposed Ancillary Service Methodology and Quantities for 2017
ERCOT Staff

## Slide 2: Schedule for Stakeholder Discussion
Aug 30, 2016 – QMWG (w Current Methodology)
Sep 19, 2016 – QMWG (w Proposed Changes)
Sep 22, 2016 – OWG
Oct 6, 2016 – ROS
Oct 17, 2016 – WMS
Oct 27, 2016 – TAC
Dec 13, 2016 – BOD
Notes: 3.16 Standards for Determining Ancillary Service Quantities
The ERCOT Board shall review and approve ERCOT's methodology for determining the minimum Ancillary Service requirements, the monthly percentage of Load Resources, Controllable Load Resources and DC Ties allowed to provide RRS, and the maximum amount of Reg-Up and Reg-Down that can be provided by Resources providing FRRS-Up and FRRS-Down.
Last done by BOD Dec 2014.

## Slide 3: Scope
ERCOT is proposing two changes to the 2017 Regulation Service Methodology.
ERCOT is not recommending any changes to the methodologies of determining RRS and NSRS quantities. RRS and NSRS Methodologies for 2017 are the same as approved in June 2016.
Note that, a redline version of the draft methodology and a spreadsheet containing the preliminary quantities for January through September of 2017 have been posted on the October 17 WMS Meeting webpage on ercot.com.

## Slide 4: Regulation Service Methodology Changes
ERCOT is proposing the following changes to the 2017 Regulation Service Methodology,
  Remove exhaustion rate feedback from the regulation procurement analysis
  Estimate 5-minute net load variability by including solar generation (net load = load – wind generation – solar generation).
The annual updates to GE Tables are reflected in the regulation quantities for 2017.

## Slide 5: ERCOT CPS1

## Slide 6: Reg-Up (Jan 2017)

## Slide 7: Reg-Up (March 2017)

## Slide 8: Reg-Up (July 2017)

## Slide 9: Reg-Up (Aug 2017)

## Slide 10: Reg-Up (Sep 2017)

## Slide 11: Reg-Down (Jan 2017)

## Slide 12: Reg-Down (Mar 2017)

## Slide 13: Reg-Down (July 2017)

## Slide 14: Reg-Down (Aug 2017)

## Slide 15: Reg-Down (Sep 2017)

## Slide 16: Updated GE Table

## Slide 17: Responsive Reserve Service (RRS)
The preliminary RRS quantities in subsequent slides for January through September of 2017 are based on historical (2015 and 2016) inertia data using current methodology.
2017 RRS quantities reflect system inertia based on Gross MW telemetry. In previous years net MW telemetry was used for this analysis.
ROS in its September 8, 2016 meeting approved ERCOT’s recommendation for removal of RDF. The RRS quantities for 2017 do not reflect RDF adjustments.

## Slide 18: RRS (Jan 2017)

## Slide 19: RRS (Mar 2017)

## Slide 20: RRS (Jul 2017)

## Slide 21: RRS (Aug 2017)

## Slide 22: RRS (Sep 2017)

## Slide 23: Non-Spin Reserve Service (NSRS)
The preliminary NSRS quantities in subsequent slides for January through September of 2017 are based on historical (2014, 2015 and 2016) net forecast error data using the current methodology.

## Slide 24: NSRS (Jan 2017)

## Slide 25: NSRS (Mar 2017)

## Slide 26: NSRS (July 2017)

## Slide 27: NSRS (Aug 2017)

## Slide 28: NSRS (Sep 2017)

## Slide 29: Questions and Answers