## Slide 1
Information Technology Report
Dave Pagliai
Manager, IT Support Services
ERCOT Public
October 2016

## Slide 2: Incident Report Highlights
Service Availability – September
  Market Data Transparency IT systems met all SLA targets
Incidents & Maintenance – September
  09/02/16 – 09/10/16 – A subset of the 48 Hour DAM and SCED Energy Curves Reports posted with null data as a result of the R4 application release
    The impacted reports were rerun and reposted to the MIS on 09/16/16
  The following issues impacted the publishing of reports and extracts to the MIS
    09/01/16 – Planned Maintenance (database patching)
    09/08/16 – Network issue impacting EMS and MMS
    09/10/16 – Network issue impacting EMS and MMS, Site Failover
    09/19/16 – Site Failover
  09/26/16 – Outage Scheduler User Interface browser compatibility issue