## Slide 1: September 29, 2016 TAC Update to COPS
Michelle Trenary
October 14, 2016

## Slide 2: TAC/TAC Subcommittee Structural Procedural Review
<number>
Alignment of TAC Goals and Approved Revision Requests
  Accepted Revision Request (RR) Alignment spreadsheet
  Subcommittees will recommend the aligned TAC goal for each RR in their report
Proposed Revision Request Process Changes
  Origination of Guide RRs at Voting Bodies – Working Groups will provide multiple options to their Subcommittee (a voting body) for their consideration and the RR will originate at the Subcommittee
  ERCOT will provide feedback to the governing Subcommittee if Working Group data requests are deemed as onerous; Also, it was noted that it is okay for ERCOT staff to say “no” to Stakeholder requests
  Treatment of NPRRs with associated Guide RRs – Both the NPRR and the accompanying Guide RR will require ERCOT Board approval, eliminating the discrepancy in the timing of the approval process; This will be voted on next month
Notes: <number>

## Slide 3: TAC/TAC Subcommittee Structural Procedural Review
<number>
Incorporation of Other Binding Documents (OBDs) into Protocols/Guides
  For transparency, streamlining of approval processes, and consolidation of binding language an effort will be made to incorporate OBDs into the appropriate Guide(s) or Protocols, either as new verbiage within existing sections or as Appendices as appropriate
Working Group/Task Force Review
  Recommendation to move FAST, SDWG, CREZ and LTSTF to Inactive Groups
TAC/Subcommittees were encouraged to review meeting agendas and determine necessity for monthly meetings
Reviewed Open Action Items – Subcommittees encouraged to provide an update regarding Open Action Items at each TAC meeting
Reviewed 2017 Block Calendar
Notes: <number>

## Slide 4: PRS Update
<number>
NPRR755, Data Agent-Only QSE Registration Approved
NPRR769, Alignment with VCMRR013, Clarifications to Verifiable Cost Appeals Process Approved
NPRR775, Enhanced Implementation of Limits for Fast Responding Regulation Service Approved
NPRR789, Publish All Mid-Term Load Forecast Results Approved
RMR NPRRs
NPRR788, RMR Study Modifications – URGENT Approved
NPRR793, Clarifications to RMR RUC Commitment and Other RMR Cleanup – URGENT Approved
NPRR795, Provisions for Refunds of Capital Contributions Made in Connection with an RMR Agreement – URGENT Approved
Notes: <number>

## Slide 5: Revision Requests Previously Tabled by TAC
<number>
NPRR773, Broadening Scope of Acceptable Letter of Credit Issuers Remains Tabled
NPRR781, Updates to Nodal Protocol Section 18, Load Profiling, to Align with Current Market Processes Approved
VCMRR013, Clarifications to Verifiable Cost Appeals Process Remains Tabled
RMGRR139, Alignment with NPRR778, Modifications to Date Change and Cancellation Evaluation Window Remains Tabled
NOGRR150, Alignment with NPRR747, Revision of Voltage Control Requirements Approved
Appeal of NOGRR149, Revision to Definition of Transmission Operator Remains Tabled
Notes: <number>

## Slide 6: ROS Update
<number>
NOGRR154, Alignment with NPRR755 and Requirements for ERCOT WAN Installation and Exchange of Resource-Specific XML Data Tabled

## Slide 7: WMS Update
<number>
  Reliability Must-Run (RMR) Next Steps
  NPRR788, RMR Study Modification
  Discussed, but no action taken
  Long Term Solution – Alternatives to NPRR784 – Mitigated Offer Cap for RMR Units
  Began discussion at September WMS
  Will continue in October
  RMR Data Considered Protected Information
  Joint ROS/WMS meeting will be scheduled as necessary

## Slide 8: COPS Update
<number>
  LPGRR057, Alignment with NPRR781, Updates to Nodal Protocol Section 18, Load Profiling, to Align with Current Market Processes Tabled

## Slide 9: ERCOT Update
<number>
2016 Under-Frequency Load Shed (UFLS) Survey Results
  Conducted to ensure the required automatic UFLS circuits were configured to provide the appropriate load relief
  Survey results were received June 12, 2016
  Survey results compiled and reported to OWG/ROS/TAC in August/September 2016
  All participants met the 25% minimum requirement total
  Two participants did not meet their 5%, 10%, 10% breakdown, one due to an outage on the relay equipment and the other is in the process of revising its UFLS Program.
Frequency Response Block | Minimum Requirement | Survey Measurement
Block 1 response at 59.3 | 5% | 7.20%
Block 2 response at 58.9 | 10% | 12.20%
Block 3 response at 58.5 | 10% | 12.60%
Total | 25% | 31.90%

## Slide 10: ERCOT Update
<number>
TNMP Line 69H Rebuild and Conversion Project Endorsed
  ERCOT will recommend the Board endorse Option 1 to address the reliability need in the study region
  Total cost estimate is approximately $50.6 million
  Estimated in-service date is fall 2019
AEPS and Oncor Barilla Junction Improvements Project Endorsed
  ERCOT will recommend the Board endorse Option B to address the reliability need in the study region
  Total cost estimated is approximately $77 million
  Estimated in-service date is June 2019

## Slide 11: ERCOT Update
<number>
Must-Run Alternative (MRA) RFP Update
  As required by Protocol Section 3.14.1.5, Potential Alternatives to RMR Agreements, ERCOT issued an MRA RFP following the RMR Agreement with NRG Texas Power, LLC (NRG) for Greens Bayou Unit 5 (371 MW)
  ERCOT did receive offers but not enough capacity to replace the Greens Bayou unit
  ERCOT announced on September 19, 2016, via Market Notice M-C071316-02 Contracts/RFP, that they will not award any contracts for MRA Resources to replace the June 2, 2016 RMR Agreement with NRG

## Slide 12: Questions?
14