## Slide 1: Recent Outages
07/2016 Human: IT Operator runs model load step in production
  20 intervals, 100 minutes (LFC also affected)
08/2016 Hardware: network switch “A” & shutdown recognition failure
  4 intervals, 20 minutes (< 30 minutes, LFC also affected)
09/2016 Hardware: network switch “B” parity & diagnostic failure
  7 intervals, 35 minutes (LFC also affected)
10/2016 Software: MMS interface issue
  15 intervals, 75 minutes