## Slide 1: Ancillary Service Options
QMWG Discussion Summary

## Slide 2: Responsive Reserves
Remove 50% limit for LRs in RRS
Change 20% limit on RRS for units to be based on performance/testing
Include a fast responding service as a subset of RRS
Tool to monitor inertia RRS relationship
linear vs exponential
Discuss technology neutral concepts

## Slide 3: Primary Frequency Response
Expanding governor deadband settings to 36 mHz for non-RRS/Reg providers

## Slide 4: Non-Spin
Get rid of NSRS
Convert NSRS to 10/15 min service
Convert NSRS to 10/15 min and behind the HASL
Convert NSRS to only offline service
NSRS should be procured and deployed only to recover RRS
Discuss technology neutral concepts
Interaction of NSRS price floor with other reserves- requirement to offer RRS and Reg above the NSRS price floor whenever NSRS and other AS is provided from same unit

## Slide 5: Regulation
Study the effect of changing the SCED runtime from 5 min to 3 min on Regulation.
Study will be conducted by running SCED more often when regulation deployed exceeds certain threshold.
Discuss technology neutral concepts

## Slide 6: Inertia
Create an inertia service