| NPRR Number | 790 | NPRR Title | Addition of Phase Angle Limits to the Network Operations Model |
| --- | --- | --- | --- |
| Date of Decision |  | October 13, 2016 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2017; Rank – 1850 |  |
| Nodal Protocol Sections Requiring Revision |  | 3.10.7.1.3, Transmission Breakers and Switches |  |
| Related Documents Requiring Revision/ Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds phase angle limitations to the ERCOT Network Operations Modeling process. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The North American Electric Reliability Corporation (NERC) Reliability Standards now require the inclusion of phase angle equipment limitations in Real-Time monitoring, Real-Time assessments, and operational planning analysis. ERCOT will collect this information through the Network Operations Modeling process. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR790 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 8/11/16, PRS unanimously voted to table NPRR790 and refer the issue to the ROS. All Market Segments were present for the vote. On 9/15/16, PRS unanimously voted to recommend approval of NPRR790 as amended by the 9/6/16 CNP comments. All Market Segments were present for the vote. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report and Impact Analysis for NPRR790 with a recommended priority of 2017 and a rank of 1850. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 8/11/16, participants requested additional time to review the applicability of language proposed in NPRR790. On 9/15/16, there was no discussion. On 10/13/16, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Stephen Solis |
| E-mail Address | Stephen.Solis@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6772 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant 072716 | Proposed revisions to include the phase angle data only on transmission breakers owned by Transmission Service Providers (TSPs). |
| Oncor 080516 | Proposed revisions to clarify the nature of phase angle limits being submitted to ERCOT. |
| ERCOT 080916 | Supported clarifications proposed in both 7/27/16 Luminant and 8/5/16 Oncor comments; proposed revisions to combine comments. |
| CNP 090616 | Further defined the type of phase angle limits that are provided to ERCOT. |
| ROS 090816 | Endorsed NPRR790 as amended by the 9/6/16 CNP comments. |

Market Rules Notes

None

Proposed Protocol Language Revision

- 3.10.7.1.3	Transmission Breakers and Switches

(1)	ERCOT’s Network Operations Model must include all transmission breakers and switches, the operation of which may cause a change in the flow on transmission lines or Electrical Buses.  Breakers and switches may only be connected to defined Electrical Buses.

(2)	Each TSP and Resource Entity shall provide ERCOT with the following information, subject to the naming conventions in Section 3.10.7.1, Modeling of Transmission Elements and Parameters:

(a)	Equipment owner(s);

(b)	Equipment operator(s);

(c)	The Transmission Element name;

(d)	The substation name;

(e)	Connectivity;

(f)	Normal status;

(g)	Synchronism check relay phase angle limits that are applied to operator-initiated, non-automated control actions of TSP-owned transmission breakers; and

(h)	Other data necessary to model Transmission Element(s).

(3)	ERCOT shall develop methods to accurately model changes in transmission line loading resulting from Load rollover schemes transferring more than ten MW.  This may include modeling distribution circuit breakers, dead line sensing, or other methods that signal when the Load should be transferred from one transmission line to another transmission line.  ERCOT may employ heuristic rule sets for all manual Load transfers and for automated transfers where feasible.  ERCOT application software is required to model the effects of automatic or manual schemes in the field transfer Load under line outage conditions.  Each TSP and as applicable, Resource Entity, shall define the Load rollover schemes under Section 3.10.7.2, Modeling of Resources and Transmission Loads, and furnish this information to ERCOT.  Transmission field (right-of-way) switches must be connected to a named Electrical Bus and be included in the Network Operations Model.