## Slide 1
Multi-Interval Real-Time Market (MIRTM)
Demand and Wind Estimation Updates
SAWG
Sean Chang
Market Analysis
October 24, 2016

## Slide 2
Table of Contents
Introduction
Improving Demand Estimation
Improving Wind HSL Estimation
Examining Net Load Estimation Error Distribution
Observations & Next Steps
Appendix

## Slide 3: Introduction
1. Improving Demand Estimation
Short-Term Load Forecast (STLF)
Generation-To-Be-Dispatched (GTBD) Calculation Methodology
2. Improving Wind HSL Estimation
Indicative Pricing Tool currently uses a heuristically determined linear equation to estimate wind HSL
Currently, MIRTM is using persistence to estimate wind HSL at a resource-specific level
Improvements using ARIMA at the system-wide level show the potential for improvement in short-term wind HSL estimation

## Slide 4: Introduction
3. Examining Net Load Error Distribution
Combines the impact of demand and wind estimation
  Note that this is not a direct input into MIRTM
Examine error distribution to see performance at outer percentiles
Net Load for this presentation is defined as:
  Estimated Demand – Estimated Wind HSL
  and
  Actual Demand – Actual Wind HSL

## Slide 5
Improving Demand Estimation

## Slide 6: Introduction
Both STLFs use weather and calendar variables as basic inputs.
Current STLF (Legacy system in the EMMS)
  Based on regression similar day model using lagged load values as well as lagged load from 24 hours ago of a similar day
New STLF (Blended Model)
  First 15 minutes is based on a regression model using lagged load values (forecast of total MW for a weather zone)
  Next 45+ minutes is based on a regression model of ramp rates (forecast of total MW change from last actual value)
See May 2015 SAWG meeting page for previous presentation: http://www.ercot.com/calendar/2015/5/27/55033-SAWG

## Slide 7: Introduction
A new methodology for calculating GTBD of MIRTM intervals has been found to be an improvement over current methodology
Applying Look-Ahead SCED methodology:
Modified methodology for MIRTM:
TelemMW0 = Sum of Telemetered Gen output at MIRTM Run time
i = 5-Minute MIRTM Intervals Within Study Window
(ex: i=6 represents 30 Min. Ahead)

## Slide 8: Introduction
Both the current STLF and new STLF are used in the analysis along with the modified methodology for four combinations:
  MIRTM GTBD with current STLF
  MIRTM GTBD with new STLF
  MIRTM GTBD Modified with current STLF
  MIRTM GTBD Modified with new STLF
The calculated MIRTM GTBD errors are benchmarked using Estimated – Reference where Reference is:
  First interval (i=1): Actual SCED GTBD
  Intervals 1 – 6 (i=1…6): Sum of generator output at end of SCED interval

## Slide 9: Statistics of MIRTM GTBD Modified with New STLF vs. Reference

## Slide 10: Statistics of MIRTM GTBD Modified with New STLF vs. Reference

## Slide 11
Improving Wind HSL Estimation

## Slide 12: Improving Wind HSL Estimation in MIRTM
Applying Look-Ahead SCED Implementation
t = Current Time
TelemHSL = Current telemetered HSL
STWPF = AWS Short-Term Wind Power Forecast
i = 5-Minute MIRTM Intervals Within Study Window
(ex: i=6 represents 30 Min. Ahead)
Current Look-Ahead SCED coefficients:
Coefficients using Persistence:
Coefficients calculated using ARIMA (4,0,0) autoregressive model on 2014 wind:
Notes: Performance is calculated using system-wide wind. Actual implementation would require each unit to be treated separate. Further work is being done.

## Slide 13: Statistics of Estimated Wind HSL vs. Actual Wind HSL

## Slide 14: Statistics of Estimated Wind HSL vs. Actual Wind HSL

## Slide 15
Examining Net Load Error Distribution

## Slide 16: Examining Net Load Error Distribution
Both the STLF and Wind HSL Estimation are combined into a singular value to examine its distribution. The following three combinations are chosen:
  MIRTM GTBD Modified with Current STLF minus Persisted Wind HSL
  MIRTM GTBD Modified with New STLF minus Persisted Wind HSL
  MIRTM GTBD Modified with New STLF minus ARIMA Wind HSL
The calculated net load errors are benchmarked using:
(Actual Demand – Actual Wind HSL) – (Estimated Demand – Estimated Wind HSL).

## Slide 17
Net Load Estimation Error Analysis
May 1, 2016 – September 30, 2016
All Intervals

## Slide 18: MAE of Load, Wind, and Net Load Forecasts

## Slide 19
Overestimate
Underestimate

## Slide 20
Overestimate
Underestimate

## Slide 21
Underestimate

## Slide 22
Overestimate

## Slide 23
Underestimate

## Slide 24
Overestimate

## Slide 25
Underestimate

## Slide 26
Overestimate

## Slide 27: Observations
New STLF continues to outperform current STLF on average
Estimating wind HSL using ARIMA at the system-wide level continues to outperform persistence on average
Examining net load error distribution demonstrates that the combination of new STLF and estimating wind HSL using ARIMA at the system-wide level outperforms other methods even at the outliers

## Slide 28: Conclusions and Next Steps
New STLF is used in MIRTM studies
Persistence is still being used to estimate wind HSL for MIRTM studies
ERCOT will conduct further studies on developing ARIMA models to estimate Wind HSL on a seasonal/time of day and regional/wind plant granularity
ERCOT is still engaged with AWS to see if they can create a 5 min. resolution Wind HSL forecast
Appendix contains detailed graphs in the same order and format of the February 22, 2016 and May 16, 2016 SAWG meeting presentation

## Slide 29
Questions?

## Slide 30
Appendix

## Slide 31
MIRTM Demand Estimation Performance
May 1, 2016 – September 30, 2016
All Intervals

## Slide 32: MAE of Estimated GTBD vs. Reference

## Slide 33: MAE of Estimated GTBD vs. Reference

## Slide 34: Standard Deviation of Estimated GTBD vs. Reference

## Slide 35: Standard Deviation of Estimated GTBD vs. Reference

## Slide 36: Mean of Estimated GTBD vs. Reference

## Slide 37: Mean of Estimated GTBD vs. Reference

## Slide 38: MIRTM GTBD Error by Reference (30 min. ahead)

## Slide 39: MIRTM GTBD Error by Reference (25 min. ahead)

## Slide 40: MIRTM GTBD Error by Reference (20 min. ahead)

## Slide 41: MIRTM GTBD Error by Reference (15 min. ahead)

## Slide 42: MIRTM GTBD Error by Reference (10 min. ahead)

## Slide 43: MIRTM GTBD Error by Reference (5 min. ahead)

## Slide 44: MIRTM GTBD Error by Delivery Time (30 min. ahead)

## Slide 45: MIRTM GTBD Error by Delivery Time (25 min. ahead)

## Slide 46: MIRTM GTBD Error by Delivery Time (20 min. ahead)

## Slide 47: MIRTM GTBD Error by Delivery Time (15 min. ahead)

## Slide 48: MIRTM GTBD Error by Delivery Time (10 min. ahead)

## Slide 49: MIRTM GTBD Error by Delivery Time (5 min. ahead)

## Slide 50
MIRTM Demand Estimation Performance
May 1, 2016 – September 30, 2016
952 Intervals when System Lambda >= $75/MWh

## Slide 51: MAE of Estimated GTBD vs. Reference

## Slide 52: MAE of Estimated GTBD vs. Reference

## Slide 53: Standard Deviation of Estimated GTBD vs. Reference

## Slide 54: Standard Deviation of Estimated GTBD vs. Reference

## Slide 55: Mean of Estimated GTBD vs. Reference

## Slide 56: Mean of Estimated GTBD vs. Reference

## Slide 57: MIRTM GTBD Error by Reference (30 min. ahead)

## Slide 58: MIRTM GTBD Error by Reference (25 min. ahead)

## Slide 59: MIRTM GTBD Error by Reference (20 min. ahead)

## Slide 60: MIRTM GTBD Error by Reference (15 min. ahead)

## Slide 61: MIRTM GTBD Error by Reference (10 min. ahead)

## Slide 62: MIRTM GTBD Error by Reference (5 min. ahead)

## Slide 63: MIRTM GTBD Error by Delivery Time (30 min. ahead)

## Slide 64: MIRTM GTBD Error by Delivery Time (25 min. ahead)

## Slide 65: MIRTM GTBD Error by Delivery Time (20 min. ahead)

## Slide 66: MIRTM GTBD Error by Delivery Time (15 min. ahead)

## Slide 67: MIRTM GTBD Error by Delivery Time (10 min. ahead)

## Slide 68: MIRTM GTBD Error by Delivery Time (5 min. ahead)

## Slide 69: MIRTM Demand Estimation Performance on Specific Days
In the following slides, the estimation performance of the following specific days are analyzed:
  July 25, 2016
  August 11, 2016
  August 27, 2016

## Slide 70
MIRTM Demand Estimation Performance
July 25, 2016

## Slide 71: MIRTM GTBD Error on July 25, 2016 (30 min. ahead)

## Slide 72: MIRTM GTBD Error on July 25, 2016 (25 min. ahead)

## Slide 73: MIRTM GTBD Error on July 25, 2016 (20 min. ahead)

## Slide 74: MIRTM GTBD Error on July 25, 2016 (15 min. ahead)

## Slide 75: MIRTM GTBD Error on July 25, 2016 (10 min. ahead)

## Slide 76: MIRTM GTBD Error on July 25, 2016 (5 min. ahead)

## Slide 77
MIRTM Demand Estimation Performance
August 11, 2016

## Slide 78: MIRTM GTBD Error on August 11, 2016 (30 min. ahead)

## Slide 79: MIRTM GTBD Error on August 11, 2016 (25 min. ahead)

## Slide 80: MIRTM GTBD Error on August 11, 2016 (20 min. ahead)

## Slide 81: MIRTM GTBD Error on August 11, 2016 (15 min. ahead)

## Slide 82: MIRTM GTBD Error on August 11, 2016 (10 min. ahead)

## Slide 83: MIRTM GTBD Error on August 11, 2016 (5 min. ahead)

## Slide 84
MIRTM Demand Estimation Performance
August 27, 2016

## Slide 85: MIRTM GTBD Error on August 27, 2016 (30 min. ahead)

## Slide 86: MIRTM GTBD Error on August 27, 2016 (25 min. ahead)

## Slide 87: MIRTM GTBD Error on August 27, 2016 (20 min. ahead)

## Slide 88: MIRTM GTBD Error on August 27, 2016 (15 min. ahead)

## Slide 89: MIRTM GTBD Error on August 27, 2016 (10 min. ahead)

## Slide 90: MIRTM GTBD Error on August 27, 2016 (5 min. ahead)

## Slide 91
Wind HSL Estimation Performance
May 1, 2016 – September 30, 2016
All Intervals

## Slide 92: MAE of Estimated Wind HSL vs. Actual Wind HSL

## Slide 93: MAE of Estimated Wind HSL vs. Actual Wind HSL

## Slide 94: Standard Deviation of Estimated Wind HSL vs. Actual Wind HSL

## Slide 95: Standard Deviation of Estimated Wind HSL vs. Actual Wind HSL

## Slide 96: Mean of Estimated Wind HSL vs. Actual Wind HSL

## Slide 97: Mean of Estimated Wind HSL vs. Actual Wind HSL

## Slide 98: MIRTM Wind HSL Error by Actual Wind HSL (30 min. ahead)

## Slide 99: MIRTM Wind HSL Error by Actual Wind HSL (25 min. ahead)

## Slide 100: MIRTM Wind HSL Error by Actual Wind HSL (20 min. ahead)

## Slide 101: MIRTM Wind HSL Error by Actual Wind HSL (15 min. ahead)

## Slide 102: MIRTM Wind HSL Error by Actual Wind HSL (10 min. ahead)

## Slide 103: MIRTM Wind HSL Error by Actual Wind HSL (5 min. ahead)

## Slide 104: MIRTM Wind HSL Error by Delivery Time (30 min. ahead)

## Slide 105: MIRTM Wind HSL Error by Delivery Time (25 min. ahead)

## Slide 106: MIRTM Wind HSL Error by Delivery Time (20 min. ahead)

## Slide 107: MIRTM Wind HSL Error by Delivery Time (15 min. ahead)

## Slide 108: MIRTM Wind HSL Error by Delivery Time (10 min. ahead)

## Slide 109: MIRTM Wind HSL Error by Delivery Time (5 min. ahead)

## Slide 110
Wind HSL Estimation Performance
May 1, 2016 – September 30, 2016
952 Intervals when System Lambda >= $75/MWh

## Slide 111: MAE of Estimated Wind HSL vs. Actual Wind HSL

## Slide 112: MAE of Estimated Wind HSL vs. Actual Wind HSL

## Slide 113: Standard Deviation of Estimated Wind HSL vs. Actual Wind HSL

## Slide 114: Standard Deviation of Estimated Wind HSL vs. Actual Wind HSL

## Slide 115: Mean of Estimated Wind HSL vs. Actual Wind HSL

## Slide 116: Mean of Estimated Wind HSL vs. Actual Wind HSL

## Slide 117: MIRTM Wind HSL Error by Actual Wind HSL (30 min. ahead)

## Slide 118: MIRTM Wind HSL Error by Actual Wind HSL (25 min. ahead)

## Slide 119: MIRTM Wind HSL Error by Actual Wind HSL (20 min. ahead)

## Slide 120: MIRTM Wind HSL Error by Actual Wind HSL (15 min. ahead)

## Slide 121: MIRTM Wind HSL Error by Actual Wind HSL (10 min. ahead)

## Slide 122: MIRTM Wind HSL Error by Actual Wind HSL (5 min. ahead)

## Slide 123: MIRTM Wind HSL Error by Delivery Time (30 min. ahead)

## Slide 124: MIRTM Wind HSL Error by Delivery Time (25 min. ahead)

## Slide 125: MIRTM Wind HSL Error by Delivery Time (20 min. ahead)

## Slide 126: MIRTM Wind HSL Error by Delivery Time (15 min. ahead)

## Slide 127: MIRTM Wind HSL Error by Delivery Time (10 min. ahead)

## Slide 128: MIRTM Wind HSL Error by Delivery Time (5 min. ahead)

## Slide 129
Wind HSL Estimation Performance
July 25, 2016

## Slide 130: Wind HSL on July 25, 2016

## Slide 131: MIRTM Wind HSL Error on July 25, 2016 (30 min. ahead)

## Slide 132: MIRTM Wind HSL Error on July 25, 2016 (25 min. ahead)

## Slide 133: MIRTM Wind HSL Error on July 25, 2016 (20 min. ahead)

## Slide 134: MIRTM Wind HSL Error on July 25, 2016 (15 min. ahead)

## Slide 135: MIRTM Wind HSL Error on July 25, 2016 (10 min. ahead)

## Slide 136: MIRTM Wind HSL Error on July 25, 2016 (5 min. ahead)

## Slide 137
Wind HSL Estimation Performance
August 11, 2016

## Slide 138: Wind HSL on August 11, 2016

## Slide 139: MIRTM Wind HSL Error on August 11, 2016 (30 min. ahead)

## Slide 140: MIRTM Wind HSL Error on August 11, 2016 (25 min. ahead)

## Slide 141: MIRTM Wind HSL Error on August 11, 2016 (20 min. ahead)

## Slide 142: MIRTM Wind HSL Error on August 11, 2016 (15 min. ahead)

## Slide 143: MIRTM Wind HSL Error on August 11, 2016 (10 min. ahead)

## Slide 144: MIRTM Wind HSL Error on August 11, 2016 (5 min. ahead)

## Slide 145
Wind HSL Estimation Performance
August 27, 2016

## Slide 146: Wind HSL on August 27, 2016

## Slide 147: MIRTM Wind HSL Error on August 27, 2016 (30 min. ahead)

## Slide 148: MIRTM Wind HSL Error on August 27, 2016 (25 min. ahead)

## Slide 149: MIRTM Wind HSL Error on August 27, 2016 (20 min. ahead)

## Slide 150: MIRTM Wind HSL Error on August 27, 2016 (15 min. ahead)

## Slide 151: MIRTM Wind HSL Error on August 27, 2016 (10 min. ahead)

## Slide 152: MIRTM Wind HSL Error on August 27, 2016 (5 min. ahead)