Date:	October 27, 2016

To:	Technical Advisory Committee (TAC) Representatives

From:	ERCOT Staff on behalf of PRS

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR783, Revision of Network Operations Model Consistency Audit Requirement [ERCOT] - NPRR790, Addition of Phase Angle Limits to the Network Operations Model [ERCOT] - NPRR791, Clarifications to IEL, MCE and Aggregate Amount Owed by Breaching Party [ERCOT] - NPRR797, Actual Load by Forecast Zone Report and Display [Reliant] - NPRR801, Non-Controllable Load Resource MW in PRC [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR783, Revision of Network Operations Model Consistency Audit Requirement [ERCOT] Proposed Effective Date: January 1, 2017 ERCOT Impact Analysis: No budgetary impact; approximately 0.1 FTE savings ERCOT-wide spread across the Network Modeling, Congestion Revenue Rights (CRRs), and Internal Audit departments; no impacts to ERCOT computer systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR revises an outdated requirement for an independent audit to confirm consistency between ERCOT operations models, yet retains the underlying requirement of model consistency. PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR783 as submitted. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report and Impact Analysis for NPRR783. - NPRR790, Addition of Phase Angle Limits to the Network Operations Model [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1850 ERCOT Impact Analysis: Between $25k and $35k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds phase angle limitations to the ERCOT Network Operations Modeling process. PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR790 as amended by the 9/6/16 CNP comments. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report and Impact Analysis for NPRR790 with a recommended priority of 2017 and a rank of 1850. - NPRR791, Clarifications to IEL, MCE and Aggregate Amount Owed by Breaching Party [ERCOT] Proposed Effective Date: January 1, 2017 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises the Initial Estimated Liability (IEL) description to clarify that for generation the IEL is based on estimated Qualified Scheduling Entity (QSE)-to-QSE energy sales; restores the IEL for traders, inadvertently omitted from NPRR741, Clarifications to TPE and EAL Credit Exposure Calculations, and originally defined in NPRR620, Collateral Requirements for Counter-Parties with No Load or Generation; corrects subscripts in the Minimum Current Exposure (MCE) formula that were inadvertently overwritten by NPRR743, Revision to MCE to Have a Floor For Load Exposure; modifies the RTQQNET and DARTNET in the grey boxed language for NPRR741 to match the current baseline Protocols; and simplifies the MCE formula. PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR791 as revised by PRS. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report and Impact Analysis for NPRR791. Credit WG Review: See 8/17/16 Credit WG comments - NPRR797, Actual Load by Forecast Zone Report and Display [Reliant] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1860 ERCOT Impact Analysis: Between $30k and $40k; no impacts to ERCOT staffing; impacts to Current Day Reports (CDR), EMS, Market Information System (MIS), and ERCOT.com; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR creates a new report and display for actual system Load by Forecast Zone, similar to the existing report and display for actual system Load by Weather Zone. PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR797 as submitted. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report and Impact Analysis for NPRR797 with a recommended priority of 2017 and a rank of 1860. - NPRR801, Non-Controllable Load Resource MW in PRC [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1870 ERCOT Impact Analysis: Between $35k and $45k; no impacts to ERCOT staffing; impacts to Commercial Systems Integration (CSI), EMS, and Settlements & Billing (S&B); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises the Physical Responsive Capability (PRC) calculation from including the Responsive Reserve (RRS) service MW responsibility from Load Resources controlled by high-set under frequency relays to include all MW from these Load Resources from their current output to their Low Power Consumption (LPC) capped at 150% of the QSE’s RRS responsibility from non-Controllable Load Resources. PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR801 as submitted. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report as revised by PRS and the Impact Analysis for NPRR801 with a recommended priority of 2017 and a rank of 1870. Revision Requests Rejected None Revision Requests Withdrawn - NPRR759, Segmentation of the Total New Capacity Estimate in the ERCOT CDR [PLWG] - NPRR772, Clarification of Process for Transmission Outages Related to a Service Disconnection Request for a Generation Resource [Oncor] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the November 10, 2016 PRS Meeting - NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) [ERCOT] - NPRR803, Remove Grey-boxed Language from NPRR439, Updating a Counter-Party’s Available Credit Limit for Current Day DAM [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories [ERCOT] - NPRR776, Voltage Set Point Communication [ERCOT] - NPRR777, ERCOT-directed Dispatch of Price-Responsive Distributed Generation [SENA] - NPRR794, Relocation of Unregistered DG Reporting Requirements [ERCOT] - NPRR796, Extended Character Set Clean Up [ ERCOT] - NPRR798, Additional CRR Accounts Request [BP Energy] - NPRR799, Updates to Outages of Transmission Facilities [DC Energy] - NPRR800, Revisions to Credit Exposure Calculations to Use Electricity Futures Market Prices [ERCOT] - NPRR802, Settlements Clean-up [ERCOT] - NPRR804, Remove Posting Requirement for One-Line Diagram [ERCOT] - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] New Revision Requests Scheduled for Consideration at the November 10, 2016 PRS Meeting - NPRR805, Clarification for Multi-Month CRR Auction Offers [ERCOT] - NPRR806, Clarification for Designation of Capacity or Refund PCRRs [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr