## Slide 1
Item 4: PRS Report
ERCOT Staff on behalf of PRS
Technical Advisory Committee (TAC) Meeting
ERCOT Public
October 27, 2016
Notes: <number>

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed (Vote):
NPRR783, Revision of Network Operations Model Consistency Audit Requirement*
NPRR790, Addition of Phase Angle Limits to the Network Operations Model
NPRR791, Clarifications to IEL, MCE and Aggregate Amount Owed by Breaching Party*
NPRR797, Actual Load by Forecast Zone Report and Display
NPRR801, Non-Controllable Load Resource MW in PRC
  Associated revisions to the Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder
(* denotes no impact)
Notes: <number>

## Slide 3: Summary of PRS Update (continued)
Revision Requests Withdrawn:
NPRR759, Segmentation of the Total New Capacity Estimate in the ERCOT CDR
NPRR772, Clarification of Process for Transmission Outages Related to a Service Disconnection Request for a Generation Resource
(* denotes no impact)
Notes: <number>

## Slide 4: Appendix

## Slide 5: NPRR783, Revision of Network Operations Model Consistency Audit Requirement [ERCOT]
Proposed Effective Date: January 1, 2017
ERCOT Impact Analysis: No budgetary impact; approximately 0.1 FTE savings ERCOT-wide spread across the Network Modeling, Congestion Revenue Rights (CRRs), and Internal Audit departments; no impacts to ERCOT computer systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR revises an outdated requirement for an independent audit to confirm consistency between ERCOT operations models, yet retains the underlying requirement of model consistency.
PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR783 as submitted. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report and Impact Analysis for NPRR783.

## Slide 6: NPRR790, Addition of Phase Angle Limits to the Network Operations Model [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1850
ERCOT Impact Analysis: Between $25k and $35k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR adds phase angle limitations to the ERCOT Network Operations Modeling process.
PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR790 as amended by the 9/6/16 CNP comments. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report and Impact Analysis for NPRR790 with a recommended priority of 2017 and a rank of 1850.

## Slide 7: NPRR791, Clarifications to IEL, MCE and Aggregate Amount Owed by Breaching Party [ERCOT]
Proposed Effective Date: January 1, 2017
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR revises the Initial Estimated Liability (IEL) description to clarify that for generation the IEL is based on estimated Qualified Scheduling Entity (QSE)-to-QSE energy sales; restores the IEL for traders, inadvertently omitted from NPRR741, Clarifications to TPE and EAL Credit Exposure Calculations, and originally defined in NPRR620, Collateral Requirements for Counter-Parties with No Load or Generation; corrects subscripts in the Minimum Current Exposure (MCE) formula that were inadvertently overwritten by NPRR743, Revision to MCE to Have a Floor For Load Exposure; modifies the RTQQNET and DARTNET in the grey boxed language for NPRR741 to match the current baseline Protocols; and simplifies the MCE formula.
PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR791 as revised by PRS. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report and Impact Analysis for NPRR791.
Credit WG Review: See 8/17/16 Credit WG comments

## Slide 8: NPRR797, Actual Load by Forecast Zone Report and Display [Reliant]
Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1860
ERCOT Impact Analysis: Between $30k and $40k; no impacts to ERCOT staffing; impacts to Current Day Reports (CDR), EMS, Market Information System (MIS), and ERCOT.com; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR creates a new report and display for actual system Load by Forecast Zone, similar to the existing report and display for actual system Load by Weather Zone.
PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR797 as submitted. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report and Impact Analysis for NPRR797 with a recommended priority of 2017 and a rank of 1860.

## Slide 9: NPRR801, Non-Controllable Load Resource MW in PRC [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1870
ERCOT Impact Analysis: Between $35k and $45k; no impacts to ERCOT staffing; impacts to Commercial Systems Integration (CSI), EMS, and Settlements & Billing (S&B); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR revises the Physical Responsive Capability (PRC) calculation from including the Responsive Reserve (RRS) service MW responsibility from Load Resources controlled by high-set under frequency relays to include all MW from these Load Resources from their current output to their Low Power Consumption (LPC) capped at 150% of the QSE’s RRS responsibility from non-Controllable Load Resources.
PRS Decision: On 9/15/16, PRS unanimously voted to recommend approval of NPRR801 as submitted. On 10/13/16, PRS unanimously voted to endorse and forward to TAC the 9/15/16 PRS Report as revised by PRS and the Impact Analysis for NPRR801 with a recommended priority of 2017 and a rank of 1870.