## Index
RTP Scope Section Number | Input Assumption
Transmission Topology
3.1.1 | Start Cases
3.1.5 | Temperatures used in Dynamic Rating Calculation
3.1.2 | RPG Projects Backed out for lack of approval
3.1.2 | Recently approved RPG project
3.1.2 | Model updates/corrections
3.1.3 | Transmission & Generation Outages
Generation
3.2.1 | Generation Additions, Retirements and Mothballs
3.2.2 | Renewable generation dispatch
3.2.3 | Swithcable Generation
3.2.4 | DC tie modeling and dispatch
3.2.5 | Reserve Requirements
3.2.6 | Fuel Price assumptions
3.2.6 | Emission Cost Assumptions
Demand
3.3 | Load forecast (Reliability) 90/10 Forecast SSWG forecast Bounded Higher of calc RTP summer peak case forecast RTP Min load case forecast
3.3 | Load forecast (economic) 50/50 Forecast-Peaks 50/50 Forecast-Profile Weather year assumption

## Start Cases
Date Last Updated: |  | Back
Status | To be announced

## Temp. for Dynamic Ratings
Date Last Updated: |  | Back
Status | To be announced
Weather Zone | 90th Percentile Temperature
Coast
East
Far West
North Central
North
South Central
South
West

## RPG Projects Backed out
Date Last Updated: |  | Back
Status | To be announced
Based on TPIT dated:

## Recently approved RPG project
Date Last Updated: |  | Back
Status | To be announced
Based on TPIT dated:

## Model updates & corrections
Date Last Updated: |  | Back
Status | To be announced

## Transmission & Gen Outages
Date Last Updated: |  | Back
Status | To be announced

## Gen add, ret. and mothball
Date Last Updated: |  | Back
Status | To be announced
Based on GIS report dated

## Renewable Generation Dispatch
Date Last Updated: |  | Back
Status | To be announced

## Switchable Generation
Date Last Updated: |  | Back
Status | To be announced

## DC Tie modeling & dispatch
Date Last Updated: |  | Back
Status | To be announced

## Reserve Requirement
Date Last Updated: |  | Back
Status | To be announced

## Fuel Price Assumptions
Date Last Updated: |  | Back
Status | To be announced

## Emission Cost Assumptions
Date Last Updated: |  | Back
Status | To be announced

## Reliability case-Load Forecast
Date Last Updated: |  | Back
Status | To be announced

## Economic Case-Load Forecast
Date Last Updated: |  | Back
Status | To be announced