AGENDA

ERCOT Planning Geomagnetic Disturbance Task Force

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78749

Wednesday, September 28, 2016 / 9:30am – 3:00 p.m.

http://ercot.webex.com

Meeting Number: 628 294 543

Meeting Password: PGDTF0928

Audio Dial-In: 1.877.668.4493

| 1. |  | Antitrust Admonition |  | M. Juricek | 9:30 a.m. |  |
| --- | --- | --- | --- | --- | --- | --- |
| 2. 3. |  | Introductions Agenda Review There were no changes to the agenda. |  | Task Force M. Juricek |  |  |
| 4. |  | Review of Minutes from 7/22/2016 Meeting There were no changes to the meeting notes. |  | Task Force |  |  |
| 5. |  | Status of the FERC’s Review of Proposed Standard Awaiting the publishing of the standard in the Federal Register. Once published the standard will be effective in 60 days. Changes to the standard to be completed in 18 months after affective date of standard: - NERC must modify the benchmark standard so that it is not based on spatially averaged data - Second it directs additions to the reliability standard to require entities to collect and make publicly available necessary data from geomagnetically induced monitors and magnetometers to ensure a complete set of data for operational studies. **Note** It was discussed that most likely this does not mean that everyone has to install new monitors, existing data is just to be made available. - Third it directs NERC to develop a timeline and establish specific deadlines, for implementation of corrective action plans and completion of other mitigation activities. |  | L. Loyferman |  |  |
| 6. 7. 8. |  | Discussion on Data for GIC System Model Some concern was raised on appropriate ways to obtain station grounding resistance information as well as the approach for gathering transformer winding resistances. List of Questions on Data for GIC System Model Questions that were posted on the meeting page were discussed along with the attempts made by TSPs to answer them and it was decided that most would still be worth asking Siemens about. Schedule for Development of GIC system Model Previously agreed date was December 2016. Proposal to change to March 2017 was discussed. Need to ask ERCOT what their schedule is to perform GIC assessment. |  | Task Force Task Force Task Force |  |  |
| 9. 10. 11. |  | Base Case to be used for GIC Model Data Preparation 21SUM1 proposed. Additional Planning Guide Changes None PGDTF Leadership for 2017 CNP volunteered for Chairperson and LCRA for Vice-Chairperson. |  | Task Force Task Force M. Juricek |  |  |
| 12. |  | Future Meetings The next meeting will be in October 26, 2016. |  | M. Juricek |  |  |
| 13. |  | Other Business None |  | M. Juricek |  |  |
| 14. |  | Adjourn |  | M. Juricek | 1:30 p.m. |  |
|  | Open Questions on Model |  | Responsible Party |  |  |  |
|  | - Get definition for GIC and GMD - Ask Siemens: - Station Numbers – Are these changed each time a GIC study is performed if TSP does not supply its own list? - Substation grounding resistance – Is data only collected for high side Y grounded transformers and shunt reactors? - Does it matter what voltage size goes first for Winding 1 in GIC module? Do we want highest kV first? - How does GIC module of PSS/E handle branch data in GIC computations? Does the branch data from PSS/E override the power flow data? |  | ERCOT and TSPs |  |  |  |

| Name |  | Representing | Name |  | Representing |
| --- | --- | --- | --- | --- | --- |
| Michael | Juricek | Oncor | Walt | Simmons | Oncor |
| Kaleb | Luce | Oncor | Sirisha | Parvathaneni | Oncor |
| Jianhui | Zhang | AEN | Aster | Amahatsion | AEP |
| Blake | Gross | AEP | Ward | Jablonski | BEC |
| Dwight | Beckmann | BEC | Javier | Martinez | BPUB |
| Derek | Merta | BTU | Jason | Hulbert | CNP |
| Jun | Li | CNP | Larisa | Loyferman | CNP |
| Omar | Urquidez | CNP | Zachary | Dixon | COCS |
| Oluwaseyi | Olafujoye | CPS | Ed | Geer | ERCOT |
| Bharath | Ravulapati | CTT | Qiuli | Yu | ERCOT |
| Jay | Teixeira | ERCOT | Ben | Guo | LCRA |
| Barry | Kremling | GVEC | Dylan | Preas | LCRA |
| Cole | Dietert | LRCA | Esteban | Santos | Sharyland |
| Samuel | Lee | LCRA | Doug | Evans | STEC |
| Jorge | Cananar | Sharyland | Christina | Minchew | WETT |
| Brad | Schwarz | Sharyland | Carlos | Casablanca | AEP |
| Li | Wu | WETT | Parshant | Kansal | AEP |
| Walter | Reid | Wind Coalition | Ed | Geer | ERCOT |
| Jay | Hurst |  |  |  |  |
| Clayton | Stanford | SBEC |  |  |  |

Attendees: