## Slide 1
  R3
  Determine System Steady State Voltage Criteria for System Performance
  Per Table 1.
  To be completed by
  07/01/2019
  Enforceable as of 01/01/2022
  R7
  Corrective Action
  Plan
  To be completed by
  07/01/2019
  Enforceable as of
  01/01/2022
PDGTF Implementation Plan to meet NERC Requirements
  R1
Identify Individual and Joint Responsibilities
  To be completed by 07/01/2017
  Enforceable as of 07/01/2017
  R2
  Develop System Models and GIC System Models
  To be completed by 01/01/2018
  Enforceable as of 07/01/2018
  R5
  Determine GIC Flow Information to be used for the transformers thermal assessment
  To be completed by
  07/01/2018
  Enforceable as of 01/01/2019
  R6
  Perform Thermal Assessment for Transformers Experiencing ≥75 A GIC
  To be completed by
  07/01/2019
  Enforceable as of 01/01/2021
  R4
Complete GMD Vulnerability Assessment every 60 month
  To be completed by
  07/01/2019
  Enforceable as of 01/01/2022
PDGTF Implementation Plan to Meet the Requirements of NERC TPL-007-1