## Slide 1
DG Reporting Update
Kenan Ögelman
October 27, 2016

## Slide 2: Current Status
Currently ERCOT compiles data from a variety of sources:
  For resources less than or equal to 50 kW ERCOT gets data via two routes: Load Profiles and annual PUCT Reports.
  For resources greater than 50 kW but less than or equal to 1 MW ERCOT gets data via three routes: Load Profiles, PUCT Reports, and Unregistered DG Reports.
  For resources greater than 1 MW that are not exporting to the grid ERCOT gets data from the PUCT Reports and Unregistered DG Reports.
  For resources greater than 1 MW that export to the grid: ERCOT gets RARF data for non-modeled generation, but only from resources that inject into the grid.

## Slide 3: Registered DG summary as of 10/26/16
Aggregated data for Registered DG
  >1 MW and injects to grid
TDSP Type | ‘Self-Dispatched’ |  | Renewable | 
 | Units | MW | Units | MW
Competitive | 46 | 360 | 7 | 37
NOIE | 8 | 64 | 16 | 81
Totals | 54 | 424 | 23 | 118
Grand Totals: 77 Units; 541 MW |  |  |  | 
Self-dispatched includes Natural Gas, Distillate Fuel Oil, Landfill Gas.
This data is available via an MIS Extract. Numbers do not match due to rounding.

## Slide 4: Unregistered DG report for 3Q16
Posted 10/25/16
Other Renewable category includes: biomass (wood/wood wastes), landfill gas, other biomass gases, water
Other Non-Renewable category includes: bituminous coal, subbituminous coal, lignite coal, petroleum coke, distillate fuel oil, natural gas, other gases, waste heat not directly attributed to a fuel source
Load Zone | Aggregate MW by Primary Fuel Type |  |  |  | 
 | Solar | Wind | Other Renewable | Other Non-Renewable | Total
LZ_AEN | 13.56 | 0.00 | 0.00 | 0.00 | 13.56
LZ_CPS | 6.86 | 0.00 | 0.23 | 0.00 | 7.09
LZ_HOUSTON | 7.42 | 0.12 | 0.11 | 4.33 | 11.98
LZ_LCRA | 0.57 | 0.00 | 0.00 | 0.00 | 0.57
LZ_NORTH | 58.73 | 1.63 | 0.00 | 0.63 | 60.98
LZ_RAYBN | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
LZ_SOUTH | 10.86 | 0.65 | 0.00 | 0.00 | 11.51
LZ_WEST | 5.77 | 0.83 | 0.00 | 0.00 | 6.60
Total | 103.78 | 3.22 | 0.34 | 4.95 | 112.29

## Slide 5: Progress on the DREAM or DER Matrix
ERCOT’s Primary focus currently is on:
  Developing an NPRR to map registered DG units (DER Issues Matrix Item 1) and completing a whitepaper on the reliability issues surrounding DERs. Both items are close to having drafts completed.
Other Items from the Matrix
  NPRR 719 (Item 2, removed provision that reset DG registration thresholds) has been approved by the ERCOT BOD.
  NPRR 757 (Item 3, Excel format for PUCT DG reports withdrawn) This objective is being voluntarily complied with.
  NPRR 777 (Item 13, Voluntary SCED participation of DGs) is at WMS.