## Overview
| Description | Details
1 | Market Continunity | The processes by which ERCOT market-related systems and activities are returned to normal operations following a triggering event which disables all, or a significant portion of, the necessary data and/or infrastructure for operations of those markets for a long enough period of time that patchwork measures are inadequate.
2 | Scenario | Black Start – ERCOT Grid Operations has returned to normal operations. Markets (RT/DAM, CRR, Credit, and Retail) that were suspended during Black Start need to be restarted.
3 | Length of time | Markets were suspended for at least 14 calendar days
4 | Proposed Deliverables | Guide changes, protocol changes, other binding documents
5 | Approach | TAC directed ERCOT to take to WMS for assignment of questions / issues for discussion. - See Working Group (WG) assignments on Issues_Questions Tab - WGs were assigned to discuss issues, develop options - WGs can take questions/cross-impacts to Subcommittees for guidance WMS to have joint workshop in Q4 to discuss cross-impacts and next steps
6 | Next Steps | Once gaps are addressed for initial scenario of Black Start, additional scenarios will be reviewed to determine whether additional changes are neded.

## Notes
| Category | Notes
1 | ERCOT will restart SCED after: | ERCOT is able to join all islands and operate the system as a single control area.
2 | ERCOT will restart SCED after: | QSEs’ Resources are showing sufficient reserves (if the DAM has not run for the Operating Day then the ERCOT operator will assign Ancillary Services to QSEs.)
3 | ERCOT will restart SCED after: | ERCOT is able to move from constant frequency to managing the system using Load Frequency Control with Emergency Base Points and regulation
4 | ERCOT will restart SCED after: | Steady State operation is stable
5 | ERCOT will restart SCED after: | State Estimator and Real Time Contingency Analysis are running adequately
6 | Leading up to restarting the Day Ahead Market | Once SCED successfully runs, determine if sufficient information is available to run DAM Outage information is submitted for next OD A substantial number of QSEs can submit offers/bids
7 | Leading up to restarting the Day Ahead Market | Monitor with control room, agree which OD to start DAM
8 | Leading up to restarting the Day Ahead Market | DAM could be run outside of the normal timeline
9 | Leading up to restarting the Day Ahead Market | ERCOT will notify MPs to submit DAM offers prior to starting DAM
10 | Day Ahead Market Restart | Prior to running DAM Verify that updated outage information is submitted Verify bids and offers are submitted Verify updated credit limits are received
11 | Day Ahead Market Restart | Once DAM is successful for an OD, start running SCED with submitted competitive offers
12 | CRR Auction Restart | CRR market activities could be rescheduled around the emergency condition Updated dates will be communicated to MPs using Market Notices These dates may not necessarily meet the normal auction lead times (i.e. 10 business days for posting the CRR Auction model)
13 | CRR Auction Restart | Duration of the emergency event could result in the omission of a Monthly CRR Auction A Monthly CRR Auction cannot be executed for a month already in progress.
14 | CRR Auction Restart | During the emergency period, if neither DAM nor Real Time Market prices are available, CRR settlement will assume that prices are the same across the system CRRs will have a value of $0/MW
15 | CRR Auction Restart | Once the DAM or Real Time Market have been restarted and are producing prices, the language in Protocols Sections 7.9.1, Day-Ahead CRR Payments and Charges, and 7.9.2 Real-Time, CRR Payments and Charges, will again apply
16
17
18

## Assumptions
| Category | Assumptions
1 | Credit | ERCOT would rely on existing protocol language at Section 16.11.4.6(c), Determination of Counter-Party Available Credit Limits, to estimate ACLs (Available Credit Limits).
2 | Credit | Where available, ERCOT would use cash collateral to pay invoices for pre-event activity.
3 | Credit | Protocol Section 16.11.4.6 (c) – Determination of Counter-Party Available Credit Limits
4 | Credit | In short, during an outage ERCOT will estimate available credit with the most recent data available.
5 | Settlements | Settlement processes will be suspended during the outage event, so statements and extracts will not be available.
6 | Settlements / Credit | Banking services are assumed to be quickly available since primary funding banks are located outside of ERCOT.
7 | Retail | ERCOT will not process transactions received during outage period and instead will let them queue. (i.e. no switching or move-ins/move-outs).
8 | Retail | ERCOT will hold market conference calls at appropriate times to confirm retail transaction processing readiness by TDSPs and REPs.
9
10
11
12

## Issues_Questions
| Category | Open issues / questions to be addressed with the market | Assignment | Date of Discussions | Action Items
1 | RT / DAM | Should DAM be successfully completed before restarting Real-Time Market? | QMWG
2 | RT / DAM | • If not, should SCED be restarted using mitigated Offers for Operating Days for which DAM has not run? | QMWG
3 | RT / DAM | • If so, should the prices from those SCED runs be considered as valid prices for settlements? | QMWG
4 | RT / DAM | What to do with the DAM results for the hours with no corresponding RTM runs? | QMWG
5 | RT / DAM | If DAM results are invalidated, what about corresponding CRR results? | QMWG
6 | CRR | What to do with CRRs with no corresponding RT and DAM? | CMWG
7 | Credit | Would modifications to credit requirements be appropriate to facilitate DAM restart? These might include: • Temporary provision of unsecured credit • Delayed invoice payments • Discretionary waiver of collateral calls | CWG
8 | Credit | • If so, over what period of time? | CWG
9 | Settlement | Should ERCOT plan to pay generators during the outage event? | QMWG
10 | Settlement | How are verifiable costs for renewables addressed? | RCWG
11 | Settlement | Where would interim funding come from? • Options could include a standby letter of credit to fund interim payments. • Depending upon the nature and duration of the outage event, the cost for make-whole payments could be material. • Allocation of make-whole costs to Market Participants would not occur until after the markets are fully restored. This allows time for TDSP meter data submittal and ERCOT settlement reconciliation efforts. | CWG
12 | Settlement | What would be the methodology for uplift? | QMWG
13 | Settlement | How to address meter usage data availability / application of estimation and usage profiles (metered and non-metered accounts)? | QMWG
14 | Retail | What are the next steps to agree upon Retail restart procedures? • NAESB or other system outages? TDTMS • Manual workaround, how would those need to be adjusted? TXSET | TXSET
15 | Retail | Does anything need to be added to facilitate and scale the Safety Net process for use over a longer period of time? | TXSET
16 | Retail | How to address meter data usage availability and loading (backlog processing) | TXSET
17
18
19

## Abbreviations
1 | QMWG | QSE Project Manager Working Group
2 | CMWG | Congestion Management Working Group
3 | RCWG | Resource Cost Working Group
4 | CWG | Credit Working Group
5