- Summary of Resource Registration Glossary Revisions

- Effective:  November 1, 2016

- Section 2:

RRGRR010 – Seasonal Net Max Sustainable Rating Definitions

This Resource Registration Guide Revision Request (RRGRR) better defines the Seasonal Net Max Sustainable Rating definitions by including ambient conditions (dry bulb temperature) assumptions that are representative of conditions that exist during the peak Load periods for the season and the region in which the Generation Resource operates.

Revised Subsection:  2 [effective upon system implementation]