## Slide 1
Generation Resource Energy and Regulation Deployment Performance – October 2016
QMWG 11/14/2016

## Slide 2: IRR Summary October2016
IRR | Fleet | <95% | >100 INT; <95%
Average (%) | 75.32 | 52.22 | 86.03
Median (%) | 88.99 | 78.36 | 87.11
Average ERR(MW) | 2.57 | 2.38 | 2.63
Median ERR(MW) | 2.98 | 2.55 | 2.59
INTERVALS | 4263 | 1974 | 1086
100+ INT | 15 | 7 | 7
AVE INT SCORED | 50 | 45 | 155
Non IRR GREDP < 85% 10/31/2016
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev(GREDP MW) | GREDP Monthly Score
Unit 86 | 673 | 797 | 1.87 | 84.44
Unit 233 | 177 | 213 | 3.39 | 83.10
Unit 142 | 123 | 196 | 1.79 | 62.76
Unit 105 | 3 | 13 | 3.44 | 23.08
Unit 106 | 4 | 11 | 2.07 | 36.36
Unit 132 | 0 | 1 | 0.37 | 0.00
 | 980 | 1,231 | 2.13 | 79.61

## Slide 3: IRR GREDP > .95 (42) October 2016
Units | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 2 | 325 | 334 | 4.54 | 97.31
Unit 35 | 314 | 327 | 3.66 | 96.02
Unit 81 | 254 | 261 | 1.02 | 97.32
Unit 8 | 232 | 233 | 2.95 | 99.57
Unit 58 | 204 | 209 | 1.71 | 97.61
Unit 40 | 166 | 166 | 10.05 | 100.00
Unit 38 | 147 | 149 | 3.34 | 98.66
Unit 63 | 102 | 105 | 3.37 | 97.14
Unit 71 | 96 | 97 | 2.23 | 98.97
Unit 31 | 91 | 91 | 2.19 | 100.00
Unit 72 | 64 | 64 | 2.18 | 100.00
Unit 32 | 57 | 57 | 2.44 | 100.00
Unit 60 | 37 | 38 | 1.05 | 97.37
Unit 30 | 25 | 25 | 2.63 | 100.00
Unit 74 | 25 | 25 | 2.71 | 100.00

## Slide 4: IRR GREDP > .95 (42) October 2016
Units | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 55 | 12 | 12 | 2.24 | 100.00
Unit 56 | 12 | 12 | 1.03 | 100.00
Unit 11 | 8 | 8 | 5.74 | 100.00
Unit 28 | 8 | 8 | 3.69 | 100.00
Unit 86 | 7 | 7 | 1.67 | 100.00
Unit 41 | 5 | 5 | 2.41 | 100.00
Unit 84 | 5 | 5 | 1.94 | 100.00
Unit 29 | 4 | 4 | 4.43 | 100.00
Unit 62 | 4 | 4 | 1.00 | 100.00
Unit 77 | 4 | 4 | 1.22 | 100.00
Unit 78 | 4 | 4 | 1.41 | 100.00
Unit 79 | 4 | 4 | 0.80 | 100.00
Unit 80 | 4 | 4 | 0.75 | 100.00
Unit 42 | 3 | 3 | 3.96 | 100.00
Unit 44 | 3 | 3 | 3.76 | 100.00

## Slide 5: IRR GREDP > .95 (42) October 2016
Units | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 49 | 3 | 3 | 2.90 | 100.00
Unit 65 | 3 | 3 | 2.30 | 100.00
Unit 23 | 2 | 2 | 3.28 | 100.00
Unit 39 | 2 | 2 | 2.33 | 100.00
Unit 45 | 2 | 2 | 3.87 | 100.00
Unit 51 | 2 | 2 | 2.88 | 100.00
Unit 66 | 2 | 2 | 2.21 | 100.00
Unit 18 | 1 | 1 | 2.36 | 100.00
Unit 50 | 1 | 1 | 3.48 | 100.00
Unit 67 | 1 | 1 | 2.82 | 100.00
Unit 76 | 1 | 1 | 2.50 | 100.00
Unit 82 | 1 | 1 | 3.18 | 100.00
 | 2,247 | 2,289 | 3.35 | 98.17

## Slide 6: IRR GREDP < .95 (44) October 2016
Units | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 57 | 207 | 218 | 2.39 | 94.95
Unit 54 | 154 | 175 | 2.72 | 88.00
Unit 85 | 134 | 153 | 3.01 | 87.58
Unit 5 | 142 | 152 | 1.46 | 93.42
Unit 26 | 117 | 134 | 2.72 | 87.31
Unit 73 | 114 | 128 | 2.96 | 89.06
Unit 25 | 78 | 126 | 3.16 | 61.90
Unit 1 | 74 | 96 | 4.33 | 77.08
Unit 47 | 73 | 83 | 1.82 | 87.95
Unit 3 | 59 | 79 | 2.66 | 74.68
Unit 12 | 60 | 75 | 2.32 | 80.00
Unit 4 | 66 | 73 | 1.03 | 90.41
Unit 13 | 54 | 72 | 2.28 | 75.00
Unit 14 | 32 | 48 | 2.29 | 66.67
Unit 15 | 27 | 44 | 1.87 | 61.36

## Slide 7: IRR GREDP < .95 (44) October 2016
Units | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 19 | 20 | 39 | 4.17 | 51.28
Unit 37 | 35 | 37 | 2.84 | 94.59
Unit 36 | 5 | 25 | 2.89 | 20.00
Unit 48 | 2 | 25 | 1.25 | 8.00
Unit 83 | 14 | 17 | 3.67 | 82.35
Unit 75 | 14 | 16 | 4.17 | 87.50
Unit 22 | 10 | 15 | 2.63 | 66.67
Unit 21 | 12 | 14 | 2.54 | 85.71
Unit 33 | 1 | 13 | 3.88 | 7.69
Unit 7 | 2 | 12 | 1.02 | 16.67
Unit 34 | 8 | 12 | 2.64 | 66.67
Unit 59 | 0 | 12 | 0.73 | 0.00
Unit 20 | 1 | 11 | 2.84 | 9.09
Unit 52 | 5 | 11 | 1.81 | 45.45
Unit 70 | 8 | 11 | 1.69 | 72.73

## Slide 8: IRR GREDP < .95 (44) October 2016
Units | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 53 | 7 | 10 | 1.76 | 70.00
Unit 64 | 4 | 9 | 0.45 | 44.44
Unit 16 | 1 | 6 | 1.57 | 16.67
Unit 24 | 1 | 5 | 3.10 | 20.00
Unit 27 | 2 | 4 | 3.67 | 50.00
Unit 46 | 2 | 3 | 2.33 | 66.67
Unit 6 | 1 | 2 | 2.30 | 50.00
Unit 10 | 0 | 2 | 3.21 | 0.00
Unit 61 | 1 | 2 | 1.29 | 50.00
Unit 9 | 0 | 1 | 1.32 | 0.00
Unit 17 | 0 | 1 | 1.20 | 0.00
Unit 43 | 0 | 1 | 1.25 | 0.00
Unit 68 | 0 | 1 | 2.74 | 0.00
Unit 69 | 0 | 1 | 2.57 | 0.00
 | 1,547 | 1,974 | 2.55 | 78.37