## Slide 1: PLWG Report to ROS
November 3, 2016

## Slide 2: Active PGRRs
Stability Issues Identified during FIS Process/Impact on Generic Transmission Constraints
  PGRR052 – Stability Assessment for Interconnecting Generation (Consensus)
    Establishes Requirement for Quarterly Stability Assessment.
  PGRR053 – Addition of Proposed All-Inclusive Generation Resources to the Planning Models
    Modifies Section 6.9 Requirements to allow for modelling in SSWG cases earlier.
    Establishes requirement to provide generator data within 60 days of being compliant with Section 6.9
    Resolving language for notification associated with 60 day period.

## Slide 3: Draft Revision Requests
Stability Issues Identified during FIS Process/Impact on Generic Transmission Constraints
  Draft NPRR – Definition of Initial Synchronization and Initial Energization
    Working with interested parties to prepare for formal consideration.
    Changes classification of Protected Information to allow earlier posting of FIS results to market participants
    Adds reference to Quarterly Stabililty Assessment
    Clarifies use of Section 6.9 for Initial Synchronization and Operations Model
  Draft PGRR – Clarifying Stability Study Requirements
    Working with interested parties to prepare for formal consideration.
    Adds provisions for making Stability Study results available to IE and Market Participants at the same time.
    Adds provisions to resolve stability issues with no RPG review for upgrades up to $35 MM

## Slide 4: the end