## Slide 1: Standards Subject to Future Enforcement 2017
Rachel Coyne, Manager, Reliability Standards Program

## Slide 2: FERC Approvals Since September 14, 2016
September 22, 2016 - FERC issued Order No. 830 approving Reliability Standard TPL-007-1
September 22, 2016 - FERC issued a Letter Order approving Reliability Standards IRO-018-1 and TOP-010-1
October 28, 2016 – FERC issued a Letter Order approving Reliability Standard COM-001-3

## Slide 3: Standards Upcoming Enforcement Dates – 1/1/2017
Standard/Requirement | Enforcement Date
IRO-010-2 | Phased in beginning 1/1/2017
TOP-003-3 | Phased in beginning 1/1/2017

## Slide 4: IRO-010-2 Implementation Plan
Requirement | Compliant By
R1, R2 | 1/1/2017
R3 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter nine months after effective date of order = 1/1/2017

## Slide 5: TOP-003-3 Implementation Plan
Requirement | Compliant By
R1, R2, R3, R4 | 1/1/2017
R5 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter nine months after effective date of order = 1/1/2017

## Slide 6: Standards Upcoming Enforcement Dates – 4/1/2017
Standard/Requirement | Standard/Requirement
EOP-004-3 | PRC-015-1
FAC-010-3 | PRC-016-1
FAC-011-3 | PRC-017-1
MOD-029-2a | PRC-023-4
MOD-030-3 | 
RAS Definition Changes

## Slide 7: TOP/IRO Standards Upcoming Enforcement Dates – 4/1/2017
Standard/Requirement | Enforcement Date
IRO-001-4 | 4/1/2017
IRO-002-4 | 4/1/2017
IRO-008-2 | 4/1/2017
IRO-010-2 R3 | 4/1/2017
IRO-014-3 | 4/1/2017
TOP-001-3 | 4/1/2017
TOP-002-4 | 4/1/2017
TOP-003-3 R5 | 4/1/2017

## Slide 8: IRO-010-2 Implementation Plan
Requirement | Compliant By
R1, R2 | 1/1/2017
R3 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter nine months after effective date of order = 1/1/2017

## Slide 9: TOP-003-3 Implementation Plan
Requirement | Compliant By
R1, R2, R3, R4 | 1/1/2017
R5 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter nine months after effective date of order = 1/1/2017

## Slide 10: Non-CIP Standards Upcoming Enforcement Dates – 4/1/2017
Standard/Requirement | Enforcement Date
EOP-010-1 R2 | 4/1/2017
EOP-011-1 | 4/1/2017
PRC-004-5(i) | 4/1/2017
PRC-005-6 (Partial) | 4/1/2017
PRC-010-1 | 4/1/2017
PRC-010-2 | 4/2/2017

## Slide 11: EOP-010-1 Implementation Plan
Requirement | Compliant By
R1, R3 | 4/1/2015
R2 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter six months after effective date of order = 4/1/2015

## Slide 12: PRC-005-6 Enforcement Dates
Maximum Maintenance Interval | % Compliant | By Date
PRC-005-6 General Implementation Plan |  | 
Less than 1 year | 100% | Oct. 1, 2015 (1D/1Q 18 mo. following regulatory approval)
1–2 calendar years | 100% | Apr. 1, 2017 (1D/1Q 36 mo. following regulatory approval)
3 calendar years | 30% | Apr. 1, 2016 (1D/1Q 24 mo. following regulatory approval) Note 1
3 calendar years | 60% | Apr. 1, 2017 (1D/1Q 36 mo. following regulatory approval)
3 calendar years | 100% | Apr. 1, 2018 (1D/1Q 48 mo. following regulatory approval)
6 calendar years | 30% | Apr. 1, 2017 (1D/1Q 36 mo. following regulatory approval) Note 2
6 calendar years | 60% | Apr. 1, 2019 (1D/1Q 60 mo. following regulatory approval)
6 calendar years | 100% | Apr. 1, 2021 (1D/1Q 84 mo. following regulatory approval)
12 calendar years | 30% | Apr. 1, 2019 (1D/1Q 60 mo. following regulatory approval)
12 calendar years | 60% | Apr. 1, 2023 (1D/1Q 108 mo. following regulatory approval)
12 calendar years | 100% | Apr. 1, 2027 (1D/1Q 156 mo. following regulatory approval)
PRC-005 new additions for Auto Reclosing and Sudden Pressure Relay additions |  | 
Less than 1 year | 100% | Jan. 1, 2016 (1D/1Q following regulatory approval)
6 calendar years | 30% | Jan. 1, 2019 (1D/1Q 36 mo. following regulatory approval)
6 calendar years | 60% | Jan. 1, 2021 (1D/1Q 60 mo. following regulatory approval)
6 calendar years | 100% | Jan. 1, 2023 (1D/1Q 84 mo. following regulatory approval)
12 calendar years | 30% | Jan. 1, 2021 (1D/1Q 60 mo. following regulatory approval)
12 calendar years | 60% | Jan. 1, 2025 (1D/1Q 108 mo. following regulatory approval)
12 calendar years | 100% | Jan. 1, 2029 (1D/1Q 156 mo. following regulatory approval)
Note 1 Or, for generating plants with scheduled outage intervals exceeding two years, at the conclusion of the first succeeding maintenance outage. |  | 
Note 2 Or, for generating plants with scheduled outage intervals exceeding three years, at the conclusion of the first succeeding maintenance outage. |  | 

## Slide 13: Standards Upcoming Enforcement Dates – 7/1/2017
Standard/Requirement | Enforcement Date
MOD-033-1 | 7/1/2017
TPL-007-1 | Phased in beginning 7/1/2017

## Slide 14: TPL-007-1 Implementation Plan Enforcement Dates
R1 | Compliant by | 6 months following regulatory approval | 7/1/2017
R2 | Compliant by | 18 months following regulatory approval | 7/1/2018
R5 | Compliant by | 24 months following regulatory approval | 1/1/2019
R6 | Compliant by | 48 months following regulatory approval | 1/1/2021
R3, R4, R7 | Compliant by | 60 months following regulatory approval | 1/1/2022

## Slide 15: CIP-014-2 Enforcement Dates
Event | Implementation | NLT Date | Total
 |  |  | Days
R1 Risk Assessment | Effective Date | 10/1/2015 | Day 0
R2 Verification | Effective + 90 | 12/30/2015 | Day 90
R2.3 Modifications | Day 90 + 60 | 2/28/2016 | Day 150
R3 Control Centers | R2 + 7 | 3/6/2016 | Day 157
R4 Threat Assessment | R2 + 120 | 6/27/2016 | Day 270
R5 Security Plan | R2 + 120 | 6/27/2016 | Day 270
R6 Verification | R5 + 90 | 9/25/2016 | Day 360
R6.3 Modifications | Day 360 + 60 | 11/24/2016 | Day 420

## Slide 16: CIP Implementation Plans
CIP v5v6 Standards Enforcement Date = 7/1/2016
Some requirements have an initial performance requirement in accordance with the Implementation Plan for Version 5 CIP Cyber Security Standards dated October 26, 2012.

## Slide 17: CIP-003-6 Implementation Plan Enforcement Dates
Enforcement Date: | 1st day of first calendar quarter after the effective date of the order | 7/1/2016
All req. with exceptions listed below | Compliant by | 7/1/2016
R1.2 | Compliant by | 4/1/2017
R2 | Compliant by | 4/1/2017
R2 Attachment 1, section 1 | Compliant by | 4/1/2017
R2 Attachment 1, section2 | Compliant by | 9/1/2018
R2 Attachment 1, section 3 | Compliant by | 9/1/2018
R2 Attachment 1, section 4 | Compliant by | 4/1/2017

## Slide 18: CIP-004-6 Initial Performance Dates
Standard Requirement | Initial Performance by | Notes
CIP-004-6 Part 2.3 | 7/1/2017 | Initial performance for this Part is required by July 1, 2017 (i.e., within 12 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-004-6 Part 3.5 | 7/1/16 (or within 7 years of the previous PRA) | Initial performance of this part is required within 7 years after the last personnel risk assessment that was performed pursuant to a previous version of the CIP Cyber Security Standards, per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-004-6 Part 4.2 | 10/1/2016 | Initial performance for this Part is required by October 1, 2016 (i.e., within 3 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-004-6 Part 4.3 | 7/1/2017 | Initial performance for this Part is required by July 1, 2017 (i.e., within 12 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-004-6 Part 4.4 | 7/1/2017 | Initial performance for this Part is required by July 1, 2017 (i.e., within 12 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.

## Slide 19: CIP-006-6 Initial Performance Dates
Standard Requirement | Initial Performance by | Notes
CIP-006-6 Part 1.10 | 7/1/2016 (or 4/1/2017 for new high and medium impact BCS) | For new high or medium impact BES Cyber Systems at Control Centers identified by CIP-002-5.1 which were not identified as Critical Cyber Assets in CIP Version 3, the compliance date for this Part is April 1, 2017, per the Implementation Plan for CIP Version 5 Revisions dated January 23, 2015.
CIP-006-6 Part 3.1 | 7/1/2017 | Initial performance for this Part is required by July 1, 2017 (i.e., within 12 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.

## Slide 20: CIP-007-6 Initial Performance Dates
Standard Requirement | Initial Performance by | Notes
CIP-007-6 Part 1.2 | 7/1/2016 (or 4/1/2017) | The compliance date for CIP-007-6, Requirement R1, Part 1.2 that apply to PCAs and nonprogrammable communication components located inside a PSP and inside an ESP and associated with high and medium impact BES Cyber Systems is April 1, 2017, per the Implementation Plan for CIP Version 5 Revisions dated January 23, 2015.
CIP-007-6 Part 4.4 | 7/15/2016 | Initial performance for this Part is required by July 15, 2016 (i.e., within 14 calendar days after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.

## Slide 21: CIP-008-5 Initial Performance Dates
Standard Requirement | Initial Performance by | Notes
CIP-008-5 Part 2.1 | 7/1/2017 | Initial performance for this Part is required by July 1, 2017 (i.e., within 12 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012.

## Slide 22: CIP-009-6 Initial Performance Dates
Standard Requirement | Initial Performance by | Notes
CIP-009-6 Part 2.1 | 7/1/2017 | Initial performance for this Part is required by July 1, 2017 (i.e., within 12 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-009-6 Part 2.2 | 7/1/2017 | Initial performance for this Part is required by July 1, 2017 (i.e., within 12 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-009-6 Part 2.3 | 7/1/2018 | Initial performance for this Part is required by July 1, 2018 (i.e., within 24 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.

## Slide 23: CIP-010-2 Initial Performance Dates
Standard Requirement | Initial Performance by | Notes
CIP-010-2 Part 2.1 | 8/5/2016 | Initial performance for this Part is required by August 5, 2016 (i.e., within 35 calendar days after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-010-2 Part 3.1 | 7/1/2017 | Initial performance for this Part is required by July 1, 2017 (i.e., within 12 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-010-2 Parts 3.2.1 and 3.2.2 | 7/1/2018 | Initial performance for this Part is required by July 1, 2018 (i.e., within 24 calendar months after July 1, 2016), per the Implementation Plan for Version 5 CIP Cyber Security Standards, dated October 26, 2012 and incorporated by reference into the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-010-2 R4 | 4/1/2017 | The compliance date for CIP-010-2, R4 and its attachment is April 1, 2017, per the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-010-2 Att.1 Sec. 1 | 4/1/2017 | The compliance date for CIP-010-2, R4 and its attachment is April 1, 2017, per the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-010-2 Att. 1 Sec. 2 | 4/1/2017 | The compliance date for CIP-010-2, R4 and its attachment is April 1, 2017, per the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.
CIP-010-2 Att. 1 Sec. 3 | 4/1/2017 | The compliance date for CIP-010-2, R4 and its attachment is April 1, 2017, per the Implementation Plan for CIP Version 5 Revisions, dated January 23, 2015.

## Slide 24: Resources
  NERC Standards Webpage
  One Stop Shop Spreadsheet
  Reliability Standards
  U.S. Enforcement Dates
  Functional Applicability Spreadsheet
  Balloting and Commenting
  CIP V5 Transition Program
    CIP Version 5 Effective Dates Spreadsheet

## Slide 25: Questions
Rachel Coyne
rsm@texasre.org
512-583-4956