## Slide 1: October 27, 2016 TAC Update to COPS
Michelle Trenary
November 9, 2016

## Slide 2: PRS Update
<number>
NPRR783, Revision of Network Operations Model Consistency Audit Requirement Approved
NPRR790, Addition of Phase Angle Limits to the Network Operations Model Approved
NPRR791, Clarifications to IEL, MCE and Aggregate Amount Owned by Breaching Party Approved
NPRR797, Actual Load by Forecast Zone Report and Display Approved
NPRR801, Non-Controllable Load Resource MW in PRC
Associated Revisions to the Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder Approved
Notes: <number>

## Slide 3: Revision Requests Previously Tabled by TAC
<number>
LPGRR057, Alignment with NPRR781, Updates to Nodal Protocol Section 18, Load Profiling, to Align with Current Market Processes Approved
NOGRR154, Alignment with NPRR755 and Requirements for ERCOT WAN Installation and Exchange of Resource-Specific Extensible Markup Language (XML) Data Approved
NOGRR159, Alignment with NPRR779, Clarifies References to Texas Reliability Entity (Texas RE) and Independent Market Monitor (IMM) Approved
NPRR773, Broadening Scope of Acceptable Letter of Credit (LOC) Issuers Remains Tabled
RMGRR139, Alignment with NPRR778, Modifications to “Date Change” and “Cancellation” Evaluation Window Approved
VCMRR013, Clarifications to Verifiable Cost Appeals Process Approved
Notes: <number>

## Slide 4: ROS Update
<number>
RRGRR010, Seasonal net Max Sustainable Rating Definitions Approved
NOGRR164, Alignment with NPRR792, Removing Special Protection System (SPS) and adding Remedial Action Scheme (RAS), URGENT Tabled
PGRR051, Alignment with NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) Tabled
High Impact Transmission Elements (HITE) List Approved

## Slide 5: WMS Update
<number>
  Reliability Must-Run (RMR) Efforts Continue
  ERCOT Greens Bayou Updated Study – WMS has requested monthly status updates from ERCOT
  Long Term Solution – Alternatives to NPRR784, Mitigated Offer Cap for RMR Units
  NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories
  Guidance from TAC
  Ancillary Service Design Enhancements
  Expected to vote on changes in November
  Switchable Generation Resources
  ERCOT requested time to present alternative solution
  Expected to vote in November

## Slide 6: ERCOT Update
<number>
2017 Ancillary Service Methodology Endorsed
  No change in methodology to determine RRS and NSRS quantities
  ERCOT proposed two changes for Regulation Service
    Remove exhaustion rate feedback from the regulation procurement analysis
    Estimate 5-minute net load variability by including solar generation
    (net load = load – wind generation – solar generation)
  GE Tables for evaluating effect of incremental wind generation capacity will be updated
Under Frequency Load Shedding (UFLS), Items to be Discussed at a Workshop
  Inconsistency in UFLS Survey and Ops/Planning
    Address exemption of entire circuits equipped with Load Resources in survey
  Potentially out-of-date language in Protocols and Guides may be worth re-alignment
    Consistent handling of Load Resource and ERS
    Any considerations for DERs

## Slide 7: ERCOT Updates
<number>
SCED Failure Update
  4 outage events and their causes were reviewed
  Lessons learned have been reviewed and remedial actions have been taken, including increasing visibility into the system when an issue arises
  TAC asked WMS to look at the pricing from the most recent event to determine if the procedure worked as expected
Upcoming Market Continuity Updates to TAC
  ERCOT Board asked for an update
  ERCOT is working to set the direction
  Subcommittees asked to provide updates on assignments at the December 1, 2016 TAC meeting

## Slide 8: ERCOT Updates
<number>
Distributed Energy Resource (DER) Matrix Update and Unregistered DG Reporting
  ERCOT compiles data from a variety of sources
    For resources <= to 50 kW ERCOT gets data via two routes: Load Profiles and annual PUCT Reports
    For resources > 50 kW but less than or equal to 1 MW ERCOT gets data via three routes: Load Profiles, PUCT Reports, and Unregistered DG Reports
    For resources > 1 MW that are not exporting to the grid ERCOT gets data from the PUCT Reports
    For resources > 1 MW that export to the grid: ERCOT gets RARF data for non-modeled generation, but only from resources that inject into the grid
Only one TAC meeting left this year! December 1, 2016

## Slide 9: ERCOT Updates
<number>
Distributed Energy Resource (DER) Matrix Update and Unregistered DG Reporting, Continued
DG Reporting and Information
Unregistered DG Installed Capacity Quarterly Report – Aggregate MW by Load Zone and Primary Fuel Type (This is the new report being presented to COPS every Quarter)

## Slide 10: ERCOT Updates
<number>
Registered DG Data – Aggregated data for Registered DG (> 1 MW and injects to the grid, Competitive and NOIE)
To get header info:
www.ercot.com – Services – Market Data Transparency – DDLs – Extract Data Definitions – PRDE Extract_YYYYMMDD.txt
To get data:
ERCOT MIS – Public Reference Data Extract (csv or xml) – GENERATORHIST
Filters: NONMODELED = Y, STOPTIME is null, SEASONALMW is null
Only one TAC meeting left this year! December 1, 2016

## Slide 11: ERCOT Updates
<number>
Distributed Energy Resource (DER) Matrix Update and Unregistered DG Reporting, Continued
Progress on the DREAM or DER Matrix
  ERCOT’s Primary focus currently is on:
    Developing an NPRR to map registered DG units (DER Issues Matrix Item 1) and completing a whitepaper on the reliability issues surrounding DERs; Both items are close to having drafts completed.
  Other Items from the Matrix
    NPRR719 - Item 2 (removed provision that reset DG registration thresholds) has been approved by the ERCOT BOD
    NPRR757 - Item 3 (Excel format for PUCT DG reports withdrawn); This objective is being voluntarily complied with
    NPRR777 - Item 13 (Voluntary SCED participation of DGs) is at WMS

## Slide 12: Questions?
14