- Section 6 (Errata):

PGRR046 – Addition of Geomagnetically Induced Current (GIC) Model Building Requirements

This Planning Guide Revision Request (PGRR) aligns the Planning Guides with North American Electric Reliability Corporation (NERC) Reliability Standard TPL-007-1, Transmission System Planned Performance for Geomagnetic Disturbance Events, by specifying a process for developing Geomagnetically-Induced Current (GIC) system models.

Revised Subsection:  6.11 (new) [Correction to grey-box language in the September 1, 2016 Planning Guide]