## Slide 1
TDSP AMSR Cycle Read Analysis
AMWG Meeting
November 15, 2016

## Slide 2: AMSR Cycle Read Analysis
Scope limited to July AMSR Cycle Reads where the kWh delta was greater than +/- 500 kWh
  963 ESI IDs identified
  937 ESI IDs root cause determined
  26 ESI IDs still under investigation
TDSPs performed root cause analysis and grouped outliers into buckets
  One new category identified this reporting period
    No action planned – Manual processes – TDSP Business Process In Place
Count of AMSR Cycle Reads Above Threshold

## Slide 3: Counts by Category
SYSTEM ENHANCEMENTS BEING PURSUED FOR AUTOMATION |  | 
Contributing Factors | Resolution Activity | COUNT
Crossed Meter | Known TDSP Business Process - Changes Planned | 6
Estimation Routines | System Enhancement Identified | 55
Tampering | Known TDSP Business Process - Changes Planned | 0
Tampering | System Enhancement Identified | 0
 | CATEGORY TOTAL | 61
ENHANCED TRAINING |  | 
Contributing Factors | Resolution Activity | COUNT
Estimation Routines | Known TDSP Business Process - No Changes Planned | 223
Knowledge Gap on Defined Processes | Known TDSP Business Process - No Changes Planned | 1
Manual Processes | Known TDSP Business Process - No Changes Planned | 86
Meter Change/Configuration | Known TDSP Business Process - No Changes Planned | 33
Tampering | Known TDSP Business Process - No Changes Planned | 0
 | CATEGORY TOTAL | 343
CONTINUED ANALYSIS REQUIRED |  | 
Contributing Factors | Resolution Activity | COUNT
Manual Processes | Known TDSP Business Process to be Reviewed for Possible Process Gap | 0
Meter Change/Configuration | Known TDSP Business Process to be Reviewed for Possible Process Gap | 0
Meter Change/Configuration | Root Cause Under Investigation | 0
Still Under Investigation | Root Cause Under Investigation | 26
 | CATEGORY TOTAL | 26
TDSP BUSINESS PROCESS TO BE UPDATED |  | 
Contributing Factors | Resolution Activity | COUNT
Knowledge Gap on Defined Processes | Known TDSP Business Process - Changes Planned | 0
Meter Change/Configuration | Known TDSP Business Process - Changes Planned | 0
 | CATEGORY TOTAL | 0
NO ACTION PLANNED |  | 
Contributing Factors | Resolution Activity | COUNT
AMS Data or 867 Usage Resent | Variance Already Resolved With Corrected 867 and/or AMS Data | 533
Tampering | Known TDSP Business Process - No Changes Planned | 0
Manual Processes | TDSP Business Process In Place | 1
 | CATEGORY TOTAL | 533
 | GRAND TOTAL | 963

## Slide 4: Timing and Content of Next Report
Limit scope to November AMSR Cycle Reads where the kWh delta is greater than 500 kWh
ERCOT Pull November data the week of Jan 16th and provide files to each TDSP, no later than Jan 20th
TDSP’s perform analysis and provide detailed analysis to ERCOT with groupings into categories, no later than March 3rd
ERCOT compiles TDSP analysis for March AMWG meeting
Question from ERCOT
  Are detailed charts still necessary or is summary chart sufficient?