DRAFT Minutes of the Technical Advisory Committee (TAC) Meeting ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744 Thursday, October 27, 2016 – 9:30 a.m. Attendance Members: Adair, Marshall Residential Consumer Allen, Thresa AvanGrid Renewables Via Teleconference Barnes, Bill Reliant Energy Retail Services Boyd, Phillip City of Lewisville Brandt, Adrianne CPS Energy Brewster, Chris City of Eastland Coleman, Diana OPUC Dumas, John LCRA Alt. Rep. for R. Stephenson Emesih, Valentine CenterPoint Energy English, Barksdale Austin Energy Flowers, BJ Sharyland Utilities Frazier, Amanda Luminant Generation Goff, Eric Citigroup Energy Greer, Clayton Morgan Stanley Hauk, Christine Garland Power and Light Alt. Rep. for D. Bailey Helton, Bob GDF Suez Lange, Clif STEC Martin, Collin Oncor Meehan, Colin First Solar Messer, Tayaun Rayburn Country Minnix, Kyle Brazos Electric Morris, Sandy Direct Energy Pridgeon, Marcus CMC Steel Texas Ross, Richard AEP Service Corporation Sandidge, Clint Noble Americas Energy Solutions Smith, Bill Air Liquide Wittmeyer, Bob Denton Municipal Energy Alt. Rep. for L. Cunningham The following proxies were assigned: Marshall Adair to Diana Coleman Thresa Allen to Colin Meehan Eric Blakey to Sandy Morris David Hastings to Clayton Greer Tayaun Messer to Kyle Minnix Greg Thurnher to Clayton Greer Guests: Bell, Wendell TPPA Bern, Alan Oncor Boisseau, Heather LCRA Via Teleconference Cantwell, Teresa LCRA Via Teleconference Carpenter, Jeremey Tenaska Power Services Checkley, Jim CTT Chen, Jeff CenterPoint Energy Cook, Tim Cross Texas Transmission Via Teleconference Cripe, Ramsey Schneider Engineering Denney, Kristi IMM DiSanto, Dotty STEC Via Teleconference Downey, Marty Enchanted Rock/Viridity Energy Eng, Stanley Power Costs Fox, Kip AEP Graham, Greg Texas Reliability Entity Via Teleconference Gross, Blake AEPSC Harvey, Julia PUCT Via Teleconference Henson, Martha Oncor Hyzinski, Tom Talen Energy Via Teleconference Ingraham, Deborah Texas Electric Cooperatives Jewell, Michael Via Teleconference Jones, Randy Calpine Juricek, Michael Oncor Via Teleconference Kee, David CPS Energy Kleckner, Tom RTO Insider Kremling, Barry GVEC Kroskey, Tony Brazos Via Teleconference Matos, Chris GSEC Via Teleconference McAninch, Vicki SMA-America Via Teleconference McCamant, Frank McCamant Consulting Via Teleconference McKeever, Debbie Oncor Nease, Nelson NHNPC Via Teleconference Owens, Frank Cross Texas Transmission Via Teleconference Reedy, Steve IMM Rehfeldt, Diana TNMP Via Teleconference Reid, Walter Wind Coalition Via Teleconference Rothschild, Eric GDS Associates Via Teleconference Sams, Bryan NRG Scott, Kathy CenterPoint Energy Marka Shaw Exelon Via Teleconference Siddiqi, Shams Crescent Power Staples, Boone Tenaska Power Services Via Teleconference Tijerina, Jonathan CPS Energy Trenary, Michelle Tenaska Power Services Varnell, John Tenaska Power Services Via Teleconference Whittle, Brandon Megawatt Analytics Wise, Mike GSEC Zake, Diana Lone Star Transmission Zimmerman, Mark Air Products Via Teleconference ERCOT Staff: Albracht, Brittney Anderson, Connor Via Teleconference Bivens, Carrie Via Teleconference Bivens, Danny Boren, Ann Boswell, Bill Via Teleconference Bracy, Phillip Via Teleconference Chang, Sean Via Teleconference Chen, Jian Via Teleconference Clifton, Suzy Via Teleconference Daniels, Steve Dovalina, Julio Via Teleconference Hailu, Ted Via Teleconference Guo, Jack Via Teleconference Hanson, Kevin Via Teleconference Jin, Julie Via Teleconference Krein, Steve Via Teleconference Landry, Kelly Via Teleconference Lazarus, Dana Via Teleconference Maggio, Dave Via Teleconference Mago, Nitika Mele, Cheryl Mereness, Matt Ögelman, Kenan Pabbisetty, Suresh Via Teleconference Patterson, Mark Via Teleconference Phillips, Cory Reed, Bobby Via Teleconference Roberts, Randy Via Teleconference Shaw, Pamela Via Teleconference Teixeira, Jay Thompson, David Via Teleconference Townsend, Aaron Via Teleconference Warnken, Pete Via Teleconference Wattles, Paul Via Teleconference Wu, Jian Via Teleconference Xiao, Hong Via Teleconference Unless otherwise indicated, all Market Segments were present for a vote. 2016 TAC Chair Adrianne Brandt called the October 27, 2016 TAC meeting to order at 9:35 a.m. Antitrust Admonition Ms. Brandt directed attention to the displayed Antitrust Admonition. Approval of TAC Meeting Minutes (see Key Documents) September 29, 2016 Richard Ross moved to approve the September 29, 2016 TAC meeting minutes as revised by TAC. Collin Martin seconded the motion. The motion carried unanimously. ERCOT Board of Directors (ERCOT Board) Update Ms. Brandt reported the disposition of revision requests considered at the October 11, 2016 ERCOT Board meeting. Protocol Revision Subcommittee (PRS) Report (see Key Documents) Ms. Frazier presented revision requests for TAC consideration. Nodal Protocol Revision Request (NPRR) 783, Revision of Network Operations Model Consistency Audit Requirement NPRR790, Addition of Phase Angle Limits to the Network Operations Model NPRR791, Clarifications to IEL, MCE and Aggregate Amount Owned by Breaching Party NPRR797, Actual Load by Forecast Zone Report and Display Bob Wittmeyer moved to recommend approval of NPRR783, NPRR790, NPRR791, and NPRR797 as recommended by PRS in the respective 10/13/16 PRS Reports. Mr. Ross seconded the motion. The motion carried unanimously. NPRR801, Non-Controllable Load Resource MW in PRC Associated Revisions to the Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder Ms. Frazier moved to recommend approval of NPRR801 as recommended by PRS in the 10/13/16 PRS Report. Bill Barnes seconded the motion. The motion carried unanimously. Ms. Frazier moved to approve the Other Binding Document, Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder, as amended by the 10/4/16 ERCOT comments. Mr. Ross seconded the motion. The motion carried unanimously. Revision Request Previously Tabled by TAC (see Key Documents) Load Profiling Guide Revision Request (LPGRR) 057, Alignment with NPRR791, Updates to Nodal Protocols Section 18, Load Profiling, to Align with Current Market Processes Nodal Operating Guide Revision Request (NOGRR) 154, Alignment with NPRR755 and Requirement for ERCOT WAN Installation and Exchange of Resource-specific XML Data NOGRR159, Alignment with NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor Retail Market Guide Revision Request (RMGRR) 139, Alignment with NPRR778, Modifications to Data Change and Cancellation Evaluation Window Verifiable Cost Manual Revision Request (VCMRR) 013, Clarifications to Verifiable Cost Appeals Process Ms. Frazier moved to approve LPGRR057 as recommended by the Commercial Operations Subcommittee (COPS) in the 9/14/16 COPS Report; NOGRR154 as recommended by the Reliability and Operations Subcommittee (ROS) in the 9/8/16 ROS Report; NOGRR159 as recommended by ROS in the 8/4/16 ROS Report; RMGRR139 as recommended by the Retail Market Subcommittee (RMS) in the 8/2/16 RMS Report; and VCMRR013 as recommended by the Wholesale Market Subcommittee (WMS) in the 8/3/16 WMS Report. Mr. Ross seconded the motion. The motion carried unanimously. NPRR773, Broadening Scope of Acceptable Letter of Credit Issuers Mr. Barnes reported that additional revisions have been proposed to the letter of credit form and that the Credit Work Group (Credit WG) and will review the proposed changes in time for the December 1, 2016 TAC meeting. TAC took no action on this item. ROS Report (see Key Documents) Alan Bern reviewed recent ROS activities. Resource Registration Glossary Revision Request (RRGRR), Seasonal Net Max Sustainable Rating Definitions Ms. Frazier moved to approve RRGRR010 as recommended by ROS in the 10/6/16 ROS Report. Mr. Wittmeyer seconded the motion. The motion carried unanimously. NOGRR164, Alignment with NPRR792, Removing Special Protection System (SPS) and adding Remedial Action Scheme (RA) – URGENT Planning Guide Revision Request (PGRR) 051, Alignment with NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) Market Participants discussed tabling NOGRR164 and PGRR051 to await ERCOT Board consideration of NPRR792. Ms. Frazier moved to table NOGRR164 and PGRR051. Mr. Wittmeyer seconded the motion. The motion carried unanimously. High Impact Transmission Elements (HITE) List Mr. Bern reported ROS discussion that the methodology is a first-step and the list an initial effort; that stakeholders will continue to develop the methodology and list to include new items; that ERCOT will give additional review to the list; and that changes to the list could potentially carry impacts. Mr. Barnes expressed concern that the list relies on historical congestion, adding that he looks forward to working with stakeholders to further develop the methodology. Valentine Emesih moved to approve the HITE list. Clif Lange seconded the motion. The motion carried with one abstention from the Independent Retail Electric Provider (IREP) Market Segment (Reliant Energy Retail Services). WMS Report (see Key Documents) Jeremy Carpenter reviewed recent WMS activities. Market Participants discussed the status of NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories, in relation to Public Utility Commission of Texas (PUCT) Docket 45624, Application of the City of Garland to Amend a Certificate of Convenience and Necessity for the Rusk to Panola Double-Circuit 345-kV Transmission Line in Rusk and Panola Counties. COPS Report (see Key Documents) Michelle Trenary reviewed recent COPS activities. ERCOT Operations, Planning, and IT Report (see Key Documents) 2017 Ancillary Service Methodology Nitika Mago presented proposed revisions to the 2017 Ancillary Service Methodology. Eric Goff moved to approve the 2017 Ancillary Service Methodology as recommended by ERCOT. Mr. Barnes seconded the motion. The motion carried unanimously. Under-frequency Load Shed Discussion Matt Mereness presented background of the ERCOT under-frequency Load shed survey; related examples, issues, and questions; and differences between the annual survey and ERCOT Planning and Operations assumption. Mr. Mereness also highlighted emerging issues and possible resolutions for consideration. In response to Market Participant discussion, Ms. Brandt requested that a workshop be scheduled to facilitate broad discussion of both reliability and market concerns, and noted that action items and assignments to subcommittees may result. There were no objections. Security-Constrained Economic Dispatch (SCED) Failure Update Steve Daniels reviewed causes of recent outages, and in response to stakeholder questions, noted that when a failure interval is short and can be resolved without failover, there is less impact to other systems. Ms. Brandt requested WMS review pricing during the October 20, 2016 event. There were no objections. Distributed Energy Resource (DER) Matrix Update and Unregistered Distributed Generation Reporting Kenan Ögelman provided an update of ERCOT Staff’s progress on DER initiatives and summarized registered and unregistered Distributed Generation reporting. Other Business Ms. Brandt requested that subcommittees report at the December 1, 2016 TAC meeting on their efforts regarding market continuity, and noted that TAC leadership would provide an update to the ERCOT Board. Ms. Brandt advised stakeholders that, pending review of the agenda, the December 1, 2016 TAC meeting may be cancelled in favor of an informational WebEx and email vote. Adjournment Ms. Brandt adjourned the October 27, 2016 TAC meeting at 10:53 a.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at

http://www.ercot.com/calendar/2016/9/29/76848-TAC  unless otherwise noted.