| NPRR Number | 562 | NPRR Title | Subsynchronous Resonance |
| --- | --- | --- | --- |
| Date |  | June 12, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | James Painter |  |
| E-mail Address |  | James.Painter@oncor.com |  |
| Company |  | Oncor Electric Delivery |  |
| Phone Number |  | 214-743-6779 |  |
| Cell Number |  | 214-587-9952 |  |
| Market Segment |  | Not Applicable. |  |

Comments

Oncor Electric Delivery (Oncor) appreciates the opportunity to work with ERCOT and others in developing this approach to Subsynchronous Resonance and submits the following comments in response to the ERCOT stakeholder workshop held on May 29, 2015. The attached document includes more detailed comments regarding the scope for the full Subsynchronous Oscillation (SSO) study as well as some questions to consider in finalizing this material.

- It may be more descriptive to use Subsynchronous Oscillation (SSO) as a collective term that describes mechanical oscillations, electrical oscillations, or a combination of both, see suggestions in the draft scope.

- The proposed subsynchronous study does not evaluate “risk” rather it does evaluate electrical and mechanical system interactions under various and multiple contingency conditions.

- An appropriate level of participation in subsynchronous studies with the actual owners of series capacitors will be helpful early in the Full Interconnection Study (FIS) process to assist in conducting the study, and collaborate on system conditions and mitigation to accommodate new generation.

- Some follow up discussions will be helpful on the impacts of inserting an SSO study in the FIS process and specifically how we might address concerns with study cost, timing of the FIS and identified mitigations.

- Some clarification may be helpful that the system under study and especially the contingencies be at the same voltage level as the series capacitors.

Revised Cover Page Language

None.

Revised Proposed Protocol Language

None.