Date:	December 1, 2016

To:	Technical Advisory Committee (TAC) Representatives

From:	Amanda Frazier, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) [ERCOT] - NPRR803, Remove Grey-boxed Language from NPRR439, Updating a Counter-Party’s Available Credit Limit for Current Day DAM [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 140 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS), Market Information System (MIS), Network Model Management System (NMMS), and Enterprise Information Services (EIS); ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR aligns the Nodal Protocols with North American Electric Reliability Corporation (NERC) Reliability Standard definition for Special Protection System (SPS) and for consistency uses Remedial Action Scheme (RAS) and Automatic Mitigation Plan (AMP) where applicable in place of SPS. PRS Decision: On 10/13/16, PRS unanimously voted to recommend approval of NPRR792 as amended by the 10/6/16 ERCOT comments. On 11/10/16, PRS unanimously voted to endorse and forward to TAC the 10/13/16 PRS Report and Impact Analysis for NPRR792 with a recommended priority of 2017 and a rank of 140. - NPRR803, Remove Grey-boxed Language from NPRR439, Updating a Counter-Party’s Available Credit Limit for Current Day DAM [ERCOT] Proposed Effective Date: January 1, 2017 ERCOT Impact Analysis: Removing the provisions of NPRR439 would result in a decreased project demand for the ERCOT portfolio of $125k - $135k (cost as estimated in the January 25, 2012 Impact Analysis); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes provisions of NPRR439, Updating a Counter-Party’s Available Credit Limit for Current Day DAM, from the ERCOT Protocols. All provisions of NPRR439 remaining in Protocols are currently grey-boxed. PRS Decision: On 10/13/16, PRS unanimously voted to recommend approval of NPRR803 as submitted. On 11/10/16, PRS unanimously voted to endorse and forward to TAC the 10/13/16 PRS Report and Impact Analysis for NPRR803. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the December 1, 2016 PRS Meeting - NPRR794, Relocation of Unregistered DG Reporting Requirements [ERCOT] - NPRR805, Clarification for Multi-Month CRR Auction Offers [ERCOT] - NPRR806, Clarification for Designation of Capacity or Refund PCRRs [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories [ERCOT] - NPRR776, Voltage Set Point Communication [ERCOT] - NPRR777, ERCOT-directed Dispatch of Price-Responsive Distributed Generation [SENA] - NPRR796, Extended Character Set Clean Up [ ERCOT] - NPRR798, Additional CRR Accounts Request [BP Energy] - NPRR799, Updates to Outages of Transmission Facilities [DC Energy] - NPRR800, Revisions to Credit Exposure Calculations to Use Electricity Futures Market Prices [ERCOT] - NPRR802, Settlements Clean-up [ERCOT] - NPRR804, Remove Posting Requirement for One-Line Diagram [ERCOT] - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] New Revision Requests Scheduled for Consideration at the December 1, 2016 PRS Meeting - NPRR807, Day-Ahead Market Price Correction [ERCOT] - NPRR808, Three Year CRR Auction [Morgan Stanley] - NPRR809, GTC or GTL for New Generation Interconnection [PLWG] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr