## Slide 1
Item 3: PRS Report
Amanda Frazier
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
December 1, 2016
Notes: <number>

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed (Vote):
NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS)
NPRR803, Remove Grey-boxed Language from NPRR439, Updating a Counter-Party’s Available Credit Limit for Current Day DAM*
2016 PRS Leadership (Vote)
Chair: Amanda Frazier, Luminant Generation
Vice Chair: Martha Henson, Oncor
(* denotes no impact)
Notes: <number>

## Slide 3: Other Binding Documents List
Removal of the PCRR Allocation Eligibility Form from the Other Binding Documents List (Vote)
ERCOT Staff reviewed the purpose and history of this Other Binding Document with PRS. This form was used at Nodal Go-Live but has not been used since then, and there are no conditions under which it would be used in the future.
PRS unanimously voted to recommend the removal of the PCRR Allocation Eligibility Form from the Other Binding Documents List
Notes: <number>

## Slide 4: Appendix

## Slide 5: NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2017; Rank 140
ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS), Market Information System (MIS), Network Model Management System (NMMS), and Enterprise Information Services (EIS); ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR aligns the Nodal Protocols with North American Electric Reliability Corporation (NERC) Reliability Standard definition for Special Protection System (SPS) and for consistency uses Remedial Action Scheme (RAS) and Automatic Mitigation Plan (AMP) where applicable in place of SPS.
PRS Decision: On 10/13/16, PRS unanimously voted to recommend approval of NPRR792 as amended by the 10/6/16 ERCOT comments. On 11/10/16, PRS unanimously voted to endorse and forward to TAC the 10/13/16 PRS Report and Impact Analysis for NPRR792 with a recommended priority of 2017 and a rank of 140.

## Slide 6: NPRR803, Remove Grey-boxed Language from NPRR439, Updating a Counter-Party’s Available Credit Limit for Current Day DAM [ERCOT]
Proposed Effective Date: January 1, 2017
ERCOT Impact Analysis: Removing the provisions of NPRR439 would result in a decreased project demand for the ERCOT portfolio of $125k - $135k (cost as estimated in the January 25, 2012 Impact Analysis); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes provisions of NPRR439, Updating a Counter-Party’s Available Credit Limit for Current Day DAM, from the ERCOT Protocols. All provisions of NPRR439 remaining in Protocols are currently grey-boxed.
PRS Decision: On 10/13/16, PRS unanimously voted to recommend approval of NPRR803 as submitted. On 11/10/16, PRS unanimously voted to endorse and forward to TAC the 10/13/16 PRS Report and Impact Analysis for NPRR803.