ERCOT STEADY STATE WORKING GROUP (SSWG)

## November 2016 Report to ROS

### Recent Meetings

* SSWG met Wednesday November 9, 2016 by WebEx.

### SSWG 2016 Planning Cases Update #1 (years 2016 - 2023)

* Members support adding a short summary for generators from the

 GeneratorInfoInMOD” spreadsheet to SSWG reports ROS. This summary will be added

three times per year (after SSWG finishes a case build/update). The list will consist of the number of generators that meet the PLWG planning guide criteria and the number of generators that did not supply enough information to ERCOT thorough the RARF.

This summary will highlight the significant work ERCOT performs before and during each case update to get the new generators into the cases.

* ERCOT Staff provided a brief overview of the 2017 FERC 715 filing Process. All six parts of the form will be filed.

### SSWG has an ongoing initiative to reduce the number of NOMCR pending PMCRs that are more than six months old.

* The count is up to 34 from 31. This initiative will help keep the operations and planning models consistent. The initiative will also help to reduce potential errors in the planning cases from occurring as the result of projects being in-service.

### Annual Load Data Request (ALDR) Discussion

* ERCOT staff kicked off the 2017 ALDR submission process on Friday November 18 with WebEx meeting. There were many questions regarding the form. The 2017 format should not be much different than the 2016 ALDR.

### SSWG Procedure Manual revisions Update

* Continuing to receive comments for revising the manual.

### Future Planned Meetings

* SSWG will meet by WebEx on Wednesday December 14, 2016.