| PGRR Number | 042 | PGRR Title | Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology |
| --- | --- | --- | --- |
| Impact Analysis Date |  | December 5, 2016 |  |
| Estimated Cost/Budgetary Impact |  | No project required. Annual Recurring Operations and Maintenance (O&M) Budget Cost: $260k – $280k (See ERCOT Staffing Impacts) |  |
| Estimated Time Requirements |  | No project required. This Planning Guide Revision Request (PGRR) can partially take effect upon ERCOT Board approval. (see staffing impacts below) |  |
| ERCOT Staffing Impacts (across all areas) |  | There will be ongoing operational impacts across the following ERCOT departments totaling 2 Full-Time Employees (FTEs) to support this PGRR: Transmission Planning (1 FTE) (Assuming four Tier 1 projects annually): - 3.1.3(3) – 20 hours per project for stakeholder comments and response times four projects annually = 80 hours - 3.1.3(4)(a) – 200 hours per project for generation sensitivity analysis times four projects annually = 800 hours - 3.1.3(4)(b) – 120 hours per project for load scaling sensitivity analysis times four projects annually = 480 hours - 3.1.7 – 100 hours per project for transmission planning piece of creating load forecast times four projects annually = 400 hours - 3.1.7 – 160 hours for RTP for transmission planning piece of creating load forecast annually = 160 hours Load Forecasting and Analysis (1 FTE): - Develop load forecasts at a more granular level (county level / TSP) than what is currently produced which is by weather zone (1,200 hours) - Analysis and reconciliation of the difference between ERCOT’s weather zone coincident peak forecast and TSPs bus level non-coincident forecasts (160 hours) - Analysis on the impact of 4 CP at time of weather zone peak and TSP peak (160 hours) - Analysis of optimum boundary threshold (160 hours) - Analysis of historical load forecast accuracy from TSPs (160 hours) - Review of forecasts with TSPs outside of the boundary threshold (160 hours) ERCOT has assessed its ability to absorb the ongoing efforts of this PGRR with current staff. The above departments are unable to absorb the effort and require additional staff. |  |
| ERCOT Computer System Impacts |  | No impacts to ERCOT computer systems. |  |
| ERCOT Business Function Impacts |  | ERCOT will update its business processes to implement this PGRR. |  |
| Grid Operations & Practices Impacts |  | ERCOT will update grid operations and practices to implement this PGRR. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None offered.

Evaluation of Interim Solutions (e.g., manual workarounds)

None offered.

Feasibility of Implementation

Impact on Resource Availability: Not applicable. Impact on Other Projects: Not applicable.

Comments

None.