## Slide 1
DAM Make-Whole Calculation Issue
COPS
December 14, 2016

## Slide 2: DAM Make-Whole Calculation Issue
In November ERCOT staff detected a material increase in DAM Make-Whole payments subsequent to the implementation of NPRR 617, Energy Offer Flexibility, on June 22, 2016.
On review it was determined that the increase resulted from a mismatch between Startup and Minimum Energy Costs used by the Day-Ahead Market clearing engine and those used for Day-Ahead Make-Whole payments.
Specifically, the mismatch affected Resources that submitted Three-Part Supply Offers with null values for Startup and Minimum Energy for the entire day but failed to meet all the qualifications to be considered self-committed by DAM in Protocol Section 4.4.9.1(3).

## Slide 3: DAM Make-Whole Calculation Issue
Make-Whole Payment calculation per Section 4.6.2.3.1(6)
As implemented, if an affected Resource was committed by the DAM, the Settlement system would consider the Startup and Minimum Energy values as null, while the clearing engine valued them at zero. Therefore the Make-Whole Payment was based on the cap amount (generic or verifiable cost) rather than zero.

## Slide 4: DAM Make-Whole Calculation Issue
Upon discovering the issue, ERCOT analyzed all impacted Operating Days and determined that no days met the 2% threshold for Resettlement of the Day-Ahead Market per Protocol Section 9.2.5(2). A Market Notice was issued to this effect.
A code fix was implemented effective Operating Day November 16, 2016 forward.
ERCOT staff are evaluating additional means of monitoring Settlement outcomes to more rapidly identify implementation issues or other anomalies in the future.

## Slide 5: DAM Make-Whole Calculation Issue
Questions