## Slide 1
Information Technology Report
Dave Pagliai
Manager, IT Support Services
ERCOT Public
December 2016

## Slide 2: Incident Report Highlights
Service Availability – November
  Market Data Transparency IT systems met all SLA targets
Incidents & Maintenance – November
  11/08/16 – Planned Maintenance (Site Failover – MPIM, Retail API)
  11/09/16 – Planned Maintenance (Site Failover – External Web Services)
  11/10/16 – Planned Maintenance (Site Failover – MIS)
  11/10/16 – 11/14/16
    After a scheduled Site Failover on 11/10/16, 867_03 data was not being loaded into the Settlement system
    867_03 data was manually loaded on 11/14/16
    By 11/14/16 @ 1:10 pm all 867_03 data from 11/10/16 – 11/13/16 was loaded into the appropriate ERCOT systems