| PGRR Number | 051 | PGRR Title | Alignment with NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) |
| --- | --- | --- | --- |
| Date of Decision |  | December 13, 2016 |  |
| Action |  | Approved |  |
| Timeline |  | Normal |  |
| Effective Date |  | Upon system implementation of Nodal Protocol Revision Request (NPRR) 792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Guide Sections Requiring Revision |  | 6.2.3, Dynamics Data Requirements for and Transmission and/or Distribution Service Providers 6.4.1, Transmission Project Information and Tracking Report |  |
| Related Documents Requiring Revision/Revision Requests |  | NPRR792 Nodal Operating Guide Revision Request (NOGRR) 164, Alignment with NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) aligns the Planning Guides with North American Electric Reliability Corporation (NERC) Reliability Standard definition for Special Protection System (SPS) and for consistency uses Remedial Action Scheme (RAS) and Automatic Mitigation Plan (AMP) where applicable in place of SPS. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | To satisfy NERC Reliability Standard regulatory requirements. |  |
| PLWG Decision |  | On 8/17/16, the Planning Working Group (PLWG) was in consensus to recommend approval of PGRR051 as submitted. On 9/21/16, PLWG was in consensus to endorse and forward to ROS the 8/17/16 PLWG Report and Impact Analysis for PGRR051. |  |
| Summary of PLWG Discussion |  | On 8/17/16, participants noted PGRR051 is largely administrative in support of substantive language being considered in NPRR792 and NOGRR164. On 9/21/16, there was no discussion. |  |
| ROS Decision |  | On 10/6/16, ROS unanimously voted to recommend approval of PGRR051 as recommended by PLWG in the 9/21/16 PLWG Report. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 10/6/16, there was no discussion. |  |
| TAC Decision |  | On 10/27/16, TAC unanimously voted to table PGRR051. All Market Segments were present for the vote. On 12/1/16, TAC unanimously voted to recommend approval of PGRR051 as recommended by ROS in the 10/6/16 ROS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 10/27/16, participants discussed tabling PGRR051 until the associated NPRR792 also reaches TAC. On 12/1/16, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR051. |  |
| Board Decision |  | On 12/13/16, the ERCOT Board approved PGRR051 as recommended by TAC in the 12/1/16 TAC Report. |  |

| Sponsor |  |
| --- | --- |
| Name | Sandip Sharma |
| E-mail Address | ssharma@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4298 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

6.2.3 	Dynamics Data Requirements for and Transmission and/or Distribution Service Providers

(1)	The owner of under-frequency Load shedding equipment shall provide necessary data to model under frequency Load shedding relays for their portion of the ERCOT System as described in the Dynamics Working Group Procedural Manual.

(2)	The owner of under voltage Load shedding equipment shall provide necessary data to model under voltage Load shedding relays for their portion of the ERCOT System as described in the Dynamics Working Group Procedural Manual.

(3)	When requested by ERCOT or a Transmission and/or Distribution Service Provider (TDSP), the owner of protective relays, control systems, and Remedial Action Schemes (RASs) shall provide dynamics data needed to simulate their action.

(4)	The DWG shall document appropriate Load model data as described in the Dynamics Working Group Procedural Manual for use in dynamic simulations.

(5)	The owner of a dynamic element connected to the transmission system shall provide the dynamic data needed to simulate the action of the device in dynamic simulations to ERCOT and the TDSP to which the element is connected. Examples of dynamic elements include, but are not limited to, static-Volt-Ampere reactive (VAr) compensators, DC Ties, variable frequency transformers, switched shunt devices, and transformers with automatic tap changers.

6.4.1 	Transmission Project Information and Tracking Report

(1)	The ERCOT Transmission Project and Information Tracking (TPIT) report presents the current triannual status of the transmission projects (60 kV and above) that have a material impact to the flow of power in the ERCOT System. The TPIT report communicates the status to the stakeholders through the TPIT Database. The TPIT Database has four primary sections:

(a)	Future Projects;

(b)	Completed Projects;

(c)	Cancelled Projects; and

(d)	Regional Transmission Plan Projects.

(2)	Transmission projects listed in the current TPIT Future Projects and Completed Project sections are generally modeled in the current set of steady-state base cases used for transmission planning studies except for, but not limited to the following exceptions:

(a) 	Any project that requires Regional Planning Group (RPG) review and has not completed the review process;

(b) 	Any project with a projected in-service date beyond the six-year planning horizon; or

(c) 	Any project that consists of only a Remedial Action Scheme (RAS) or an Automatic Mitigation Plan (AMP) (which is not typically modeled);

(d) 	In addition, each project listing includes a data field that delineates whether that project is included in the aforementioned SSWG cases.