## SUMMARY
867_03 ERROR CODES
Summary
The 867_03 Activity Report is created as a result of 867_03 transactions attempting to process into ERCOT's Lodestar system. The report includes information regarding both successful and failed loading attempts along with any error messages associated to the success or failure.
The "ERROR CODES" tab includes descriptions of the errors produced during 867_03 transaction processing into ERCOT's Lodestar system.

## ERROR CODES
867 ERROR CODES TABLE
Error Code | Error Description | How MRE should interpret this error | How MRE should correct this error and any DATA ELEMENTS provided
00 | Data loaded or cancelled successfully | Transaction completed successfully within ERCOT’s system | No corrections needed.
01 | ESIID/RESID does not exist | There is no record in ERCOT’s system of the ESIID/RESID contained in the transaction. | Research required by MRE before submitting transaction where no ESIID/RESID exists in ERCOT’s system. Data corrections/transactions should be submitted through the appropriate channel to correct.
02 | Usage sent does not coincide with current ESIID/RESID history record | The ESIID/RESID exists in ERCOT’s system but the STARTTIME of the usage being sent in the transaction is not contained in ERCOT’s records for this ESIID/RESID service history. | Research required to determine if the STARTTIME of the usage record or of the ESIID/RESID is incorrect. Data corrections/transactions should be submitted through the appropriate channel to correct.
03 | Sender is not the owner of ESIID/RESID (Incorrect MRE-DUNS) | The ESIID/RESID exists in ERCOT’s system but it is serviced/owned by different MRE entity. | This MRE should not attempt to resubmit this usage transaction.
04 (Removed - no longer a validation) | Transaction will create a gap | Importing this transaction will create a gap within existing ERCOT’s usage records for this ESIID/RESID. | MRE should submit transaction for which usage starts on DATE1. DATE1 is the STARTTIME for the next usage record for this ESIID/RESID that will be accepted by ERCOT and is derived from the last read’s STOPTIME.
05 | Transaction will create an overlap | Importing this transaction will create an overlap of existing ERCOT’s usage record(s) for this ESIID/RESID. | MRE should submit transaction for which usage does not overlap DATE1 or DATE2. DATE1 is the STARTTIME for the latest overlapped usage record for this ESIID/RESID and is derived from the overlapping read’s STARTTIME. DATE2 is the STOPTIME for the latest overlapped usage record for this ESIID/RESID and is derived from the overlapping read’s STOPTIME.
06 | Transaction STARTTIME occurs after or is equal to transaction STOPTIME | In ERCOT’s system, STOPTIME of the usage transaction must always occur after its STARTTIME. | MRE should submit transaction where STOPTIME occurs after its STARTTIME.
07 | Cancellation does not match an existing read | STARTTIME and STOPTIME of cancellation transaction must exactly coincide with a STARTTIME and STOPTIME of pre-existing usage record in ERCOT’s system. | MRE should submit cancellation transaction which covers period of pre-existing usage as specified from DATE1 to DATE2 DATE1 is the STARTTIME of the existing usage record in Lodestar that is being attempted to be cancelled. DATE2 is the STOPTIME of the existing usage record in Lodestar that is being attempted to be cancelled.
08 | Transaction does not conform to system standards | The transaction received by ERCOT’s system could not be processed as it is formatted incorrectly. | Contact ERCOT for details.
09 | Incorrect interval status | The transaction had an incorrect number of non-missing values or some of the interval values had a missing status. | MRE should resubmit transaction for the same period which contains X number of non-missing interval values. This expected number will be found in DATA1 field. DATA1 will contain the number of intervals expected by Lodestar for this transaction.
10 | No interval data submitted for IDR meter | The transaction submitted did not have any non-missing interval values i.e. all of its interval values were missing. | MRE should submit transaction that has correct number of non-missing interval values.
11 | Incorrect meter type | The transaction data submitted for this particular ESIID/RESID contained incorrect meter-type information. | MRE needs to resubmit transaction with correct meter-type for this ESIID/RESID. ERCOT will provide MRE expected meter-type and meter-role for that ESIID/RESID in DATA1 and DATA2 fields, respectively. DATA1 is a 2-character data element specifying meter-type for this ESIID/RESID in Lodestar. Possible values are K1, K2, K3, etc. DATA2 is the meter-role for this ESIID/RESID in Lodestar. Possible values are “Additive” or “Subtractive”.
12 (Removed - no longer a validation) | Incorrect meter role | The transaction data submitted for this particular ESIID/RESID contained incorrect meter-role information. | MRE needs to resubmit transaction with correct meter-role for this ESIID/RESID. ERCOT will provide MRE expected meter-type and meter-role for that ESIID/RESID in DATA1 and DATA2 fields, respectively. DATA1 is a 2-character data element specifying meter-type for this ESIID/RESID in Lodestar. Possible values are K1, K2, K3, etc. DATA2 is the meter-role for this ESIID in Lodestar. Possible values are “Additive” or “Subtractive”.
13 | Usage value for specific TOU period was expected but not submitted | Based on ERCOT’s records indicating specific type of time-of-use (TOU type) for this ESIID, its TOU period value should be included in the transaction. | MRE needs to resubmit transaction with this TOU period usage value. ERCOT will indicate missing TOU period in DATA1 field and will provide expected TOU type for this ESIID in DATA2 field. DATA1 is the TOU period in Lodestar for this ESIID. Possible values are OnPeak, OffPeak, MidPeak, SuperPeak, etc. DATA2 is the TOU type in Lodestar for this ESIID.
14 | Usage value for specific TOU period was not expected but was submitted | Based on ERCOT’s records indicating specific type of time-of-use (TOU type) for this ESIID, its TOU period value should not be included in the transaction. | MRE needs to resubmit transaction without this TOU usage value. ERCOT will indicate which TOU period is not required in DATA1 field and will provide TOU type for this ESIID in DATA2 field. DATA1 is the TOU period not required for this ESIID. Possible values are OnPeak, OffPeak, MidPeak, SuperPeak, etc. DATA2 is the TOU type in Lodestar for this ESIID.
15 | Total usage does not equal sum of TOU periods | ERCOT expects Total usage value to equal the sum of values for all TOU periods. | MRE needs to resubmit transaction so that Total usage value equals sum of values for all TOU periods.
16 | Total usage is over allowable threshold | Total usage value exceeds allowable threshold specified by ERCOT and/or market participants. | MRE needs to resubmit transaction so that Total usage value is consistent with what is expected by ERCOT. ERCOT will indicate the average daily usage (ADU) value in DATA1 field as determined by the total usage supplied divided by the number of days in the read. The upper limit allowed by ERCOT for ADU values is provided in DATA2 field.
17 (Removed - no longer a validation) | TOU Status Unknown | ESIIDSERVICEHIST.PROFILETYPE is NULL in Lodestar | This is ESIID is not a recognized TOU account in the ERCOT system.
18 | Negative usage found | Negative usage has been found with in the data record submitted | MRE needs to correct all negative usage values and resubmit the transaction. If data is IDR, DATE1 field will be populated with the interval time stamp of the most extreme minimum value. Please be aware that more negative values may also exist. Error will only identify the most extreme negative value. If data is NIDR, DATA1 field will be populated with total usage.
19 | Data not loaded/cancelled. ERCOT is the MRE of the ESIID/RESID | The ESIID/RESID exists in ERCOT's system but the meter is polled by ERCOT. | This MRE should continue to send usage transactions to the appropriate LSE. No follow-up is required.
20 | STOPTIME minus STARTTIME exceeds 75 days for data submitted. | NIDR data submitted contains more than 75 days, which cannot be used for settlement purposes. | MRE should resubmit usage data in monthly cuts. DATA1 field will be populated with the number of days contained in the submitted data record.
21 | Data does not contain whole (24 hour) days. | IDR data submitted does not contain whole (24 hour) days, which causes partial day estimation for settlements. | MRE should resubmit usage data in whole day cuts.
22 | Time frame of data submitted spans a MRE change | Data submitted crossed more than one ESIIDSERVICEHIST rows where the MRECODE changed | Data needs to be re-submitted in accordance with the time period of the MRE using the date found in field, DATE1. This date should be the stop date for the usage record. From that date forward, another MRE has been assigned to the ESI ID and the other MRE should be submitting the usage data.
23 | Time frame of the data submitted spans a PROFILE change | Data submitted crossed more than one ESIIDSERVICEHIST rows where the PROFILECODE changed | Data needs to be re-submitted using the date found in field, DATE1. DATA1 field will be populated with the old PROFILECODE and DATA2 field will be populated with the new PROFILECODE.
24 | Time frame of the data submitted spans a REP change | Data submitted crossed more than one ESIIDSERVICEHIST rows where the REPCODE changed | Data needs to be re-submitted using the date found in field, DATE1.
25 | ESIID not setup to receive IDR DATA | The ESIID/RESID exists in ERCOT’s system but the channel/recorder does not exist. | MRE should verify Profile Code has a metertype of IDR for period of usage. If metertype is not IDR, MRE should submit an 814_20 Profile Code update. If metertype is IDR, MRE should contact their Retail Account Manager.
26 | 01 transaction not processed. Matching 00 in same load attempt | Cancel transaction not processed due to a matching Original in the same load attempt. | N/A
27 | 00 transaction not processed. Matching 01 in same load attempt | Original transaction not processed due to a matching Cancel in the same load attempt. | N/A
28 | Generation value for specific period was not expected but was submitted | ESIID is NOT profiled as having ‘distributed renewable generation’, however a generation value was submitted. | MRE should verify Profile Code has a profile for Distributed Generation (DG) for period of usage. If profiletype is not DG, TDSP should submit an 814_20 Profile Code update. If profiletype is DG, TDSP should contact their Retail Account Manager.
29 | Total generation is over allowable threshold | Total generation value exceeds allowable threshold specified by ERCOT and/or market participants. | MRE needs to resubmit transaction so that the total generation value is consistent with what is expected by ERCOT. ERCOT will indicate the average daily generation value in the DATA1 field as determined by the total generation supplied divided by the number of days in the read. The upper limit allowed by ERCOT for average daily generation values is provided in DATA2 field.
30 | Generation value for specific period was submitted but was missing the starttime and/or stoptime. | Generation value received did not have a starttime and/or stoptime submitted. | Display the following information in the respective fields: DATA1: <STARTTIME> - null if the value is null; MM/DD/YYYY if the value is populated. DATA2: <STOPTIME> - null if the value is null; MM/DD/YYYY if the value is populated.
31 | An IDR 867_03 transaction was submitted for an ESIID with an advanced meter | ESIID has a profilecode which indicates an advanced meter. | MRE should resubmit the transaction via an AMS LSE file.
32 | Generation data submitted on an ESIID | Generation (Ch 1) data for IDR meters may only be submitted using a Resource ID (RID). | MRE should resubmit the transaction using the Resource ID associated to the premise instead of the ESIID.
33 | Time frame of data submitted spans more than one RID history record. | Data submitted crossed more than one RESOURCEID row where a Resource ID (RID) characteristic has changed. (i.e. gensitecode, mrecode, etc.) | MRE should resubmit transaction data that does not span the characteristic change. This may require submitting multiple transactions.
34 | 867 transaction submitted for period where AMS data was expected | The RID has been designated to allow AMS data submission. 867 data submission is no longer allowed for this period. | MRE should resubmit 867 transaction for only those days where 867 data is allowed, and/or submit LSE data for RID period designated for AMS data submission.