- Section 1:

SMOGRR018 – EPS Metering for Three-Wire Wye Configurations

This Settlement Metering Operating Guide Revision Request (SMOGRR) allows an ERCOT-Polled Settlement (EPS) Meter to be installed for a facility that is connected to a three-wire wye, high or low impedance grounded distribution system, if the high or low impedance ground is installed as part of a fault monitoring system for the facility and no phase to ground loads or phase to ground sources are connected behind the metering point.

Revised Subsections:  1.3.2 and 1.4.1

SMOGRR019 – Clarifications and Updates to Paralleling Current Transformers, Instrument Transfer Name Plate Photos and Loss Potential Event Logging Requirements

This Settlement Metering Operating Guide Revision Request (SMOGRR): 1. Clarifies paragraph (e) of Section 1.3.7 with regard to connected burden, 2. Deletes Section 1.4.7, 3. Modifies Section 3.2.3 to require the submission of nameplate photographs for new or replacement instrument transformers as part of site certification package, and 4. Modifies Section 6.5.4 to specify the voltage levels for logging loss of potential events.

Revised Subsections:  1.3.7 and 1.4.7

- Section 3:

SMOGRR019 – Clarifications and Updates to Paralleling Current Transformers, Instrument Transfer Name Plate Photos and Loss Potential Event Logging Requirements

See Section 1 above.

Revised Subsection:  3.2.3

- Section 6:

SMOGRR019 – Clarifications and Updates to Paralleling Current Transformers, Instrument Transfer Name Plate Photos and Loss Potential Event Logging Requirements

See Section 1 above.

Revised Subsections:  6.5.4, paragraphs (1) and (2) [effective January 1, 2017]; 6.5.4, paragraph (1) (k) [effective January 1, 2018]

- Section 10:

SMOGRR020 – Administrative Changes for January 1, 2017 Settlement Metering Operating Guide – Alignment with Section 21

This Administrative Settlement Metering Operating Guide Revision Request (SMOGRR) aligns the Settlement Metering Operating Guide with Protocol Section 21, Revision Request Process and changes implemented by NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor, which was approved by the ERCOT Board on October 11, 2016.

Revised Subsections:  10.1, 10.2, 10.3, 10.4.3, 10.4.4, and 10.5

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

- Revised Subsections:  1.3.7, 1.4.3, 1.5.2, 1.6.1, 1.6.2, 1.6.3, 1.7.1, 1.8, 2.1, 3.1, 3.2.1, 3.2.2, 3.2.3, 3.3.1, 3.3.2, 3.3.3, 3.4, 4.2.2, 4.2.3, 4.3, 4.4, 4.5, 4.6.1, 4.6.2, 5.1, 5.2, 5.3, 5.4, 6.1, 6.2, 6.3.1, 6.3.2, 6.3.3, 6.3.4, 6.3.5, 6.4.2, 6.5.1, 6.5.2, 6.5.3, 6.5.4, 6.5.5, 6.6, 6.6.1, 6.6.2, 6.7.1, 6.7.2, 6.7.3, 6.8.1, 6.8.2, 6.9, 6.10., 6.11, 6.12.1, 7.1, 7.2, 7.3, 7.4, 7.5.1, 7.5.2, 7.5.3, 7.5.3.1, 7.5.3.2, 7.5.3.3, 7.5.3.4, 7.5.3.5, 7.5.3.6, .7.5.3.7, 7.5.3.8, 7.5.3.9, 7.5.4.1, 7.5.4.2, 7.5.4.3, 7.5.4.4, 7.5.4.5, 7.5.5, 7.5.6, 8.4.1, 8.4.2, 8.5, 9.1, 10.2, 10.4.8, and 10.4.9