Meeting Notes

ERCOT Planning Geomagnetic Disturbance Task Force

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78749

Friday, December 9, 2016 / 9:30am – 12:55 p.m.

http://ercot.webex.com

Meeting Number: 626 312 483

Meeting Password: 120916

Audio Dial-In: 1.877.668.4493

| 1. |  | Antitrust Admonition |  |  | M. Juricek |  | 9:30 a.m. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. 3. |  | Introductions Agenda Review Moved Item #7 ahead of Item #5. |  |  | Task Force M. Juricek |  |  |  |  |  |
| 4. 5. |  | Review of Minutes from 10/26/2016 Meeting There were no changes to the meeting notes. PGRR for GMD Planning Responsibilities PGRR ready to go into Process by March 22, 2017. ERCOT discussed ERCOT drafting process on this PGRR. Must get PGRR to Market Rules by February 7 to get to PLWG by February. Mike J said that if ERCOT delivers PGRR draft by December 21 then he will call a PGDTF meeting in early January, January 11 was agreed upon. Goal is to get this PGRR to June Board of Directors meeting. |  |  | Task Force M. Juricek/B. Richardson |  |  |  |  |  |
| 6. |  | Federal and State Activities Regarding GMD Discussed NERC GMDTF’s proposal to respond to the directives from the FERC. There is no update on EEI’s appeal of the FERC’s decision on TPL-007-1 |  |  | L. Loyferman/M. Juricek |  |  |  |  |  |
| 7. 8. |  | Schedule for Completing Responsibilities in Standard All 345 kV equipment and lines by December 31, 2016. All 138 and 69 kV system by March 31, 2017. Status and Questions on GIC System Model See Open Questions on Model shown below. |  |  | M. Juricek Task Force |  |  |  |  |  |
| 9. 10. 11. |  | Delivery of GIC System Model Data to ERCOT Send completed 345 kV model by December 31 to: GMDData@ERCOT.com Questions on Data and Software for GIC System Model The guidelines for determination of the station grounding resistance recommends include the static wires on the lines terminating at the station and connecting to the stations ground grid. Discussed status of REs’ data for the model. Future Meetings January 11, 2017 |  |  | J. Teixeira Task Force M. Juricek |  |  |  |  |  |
| 12. |  | Other Business None |  |  | M. Juricek |  |  |  |  |  |
| 13. |  | Adjourn |  |  | M. Juricek |  | 12:55 p.m. |  |  |  |
|  |  |  |  |  |  |  |  |  |  | . |
|  | Open Questions on Model |  |  | Responsible Party |  |  |  |  |  |  |
|  | - If Station does not have a high side weye grounded autotransformer, does it still need to be modeled? - If you don’t put the resistance in model will GIC ignore the line? |  |  | ERCOT and TSPs |  |  |  |  |  |  |

| Name |  | Representing | Name |  | Representing |
| --- | --- | --- | --- | --- | --- |
| Michael | Juricek | Oncor | Doug | Evans | STEC |
| Kaleb | Luce | Oncor | Sirisha | Parvathaneni | Oncor |
| Dylan | Preas | LRCA | Aster | Amahatsion | AEP |
| Derek | Merta | BTU | Oluwaseyi | Olatujoye | CPS |
| Jay | Teixeira | ERCOT | Ben | Richardson | ERCOT |
| Robert | Lona | TNMP | Ramsey | Cripe |  |
| Omar | Urquidez | CNP | Larisa | Loyferman | CNP |
| Tim | Cook | CTT | Zachary | Dixon | COCS |
| Clayton | Stanford | St. Bernard | Ed | Geer | ERCOT |
| Brad | Woods | Texas RE | No Name Given |  | Invenergy |
| Qiuli | Yu | ERCOT | Bharath | Ravulapati | CTT |
| Shubhanker | Garg | Schneider Engineering | Don | Le | Lone Star |
| Jianhui | Zhang | AEN | Dwight | Beckman | Brazos |
| Walt | Simmons | Oncor | Brittney | Albracht | ERCOT |
| S. | Plisken |  | Christina | Minchew | WETT |

Attendees: