ERCOT VOLTAGE PROFILE WORKING GROUP (VPWG)

## January 12, 2017 Report to ROS

### Recent Meeting

- Last VPWG meeting on November 15, 2016.

- Winter/Spring Voltage Profiles posted to MIS on Dec 1st, 2016.

- 2017 VPWG Nominations (Unanimously accepted):

- Chair - Scot Williams (Oncor)

- Vice Chair - Sharmila Gurrala (CPS Energy)

- VPWG group discussed the proposed method for Voltage Set Point Communications

- Has 2 new ICCP data points (TSP-requested set point at POI and actual voltage at POI).

- In the new method, a common voltage measurement point is used for each plant (that point is the SGIA POI). Generator and TSP are no longer looking at 2 different voltage measurement points, each having different metering accuracies.

- Instead everyone, TSP, ERCOT, QSE and Generator are looking at the same ICCP data. When ERCOT or TSP requests a new voltage set point, everyone can see the setpoint request and what actual voltage the generator went to.

- ERCOT sent an RFI to the TSPs to validate the locations of POIs of Generation Resources using Standard Generation Interconnection Agreements (SGIAs), and identify the availability of voltage telemetry to those locations. Below were the preliminary results:

Total of 572 generation resources at ERCOT

For 95% of resources (541 resources), TSP has visibility at the POI (whether at the Trans. Switch or to a remote bus)

- ERCOT is receiving ICCP for Only 70% of these resources (402 resources)

- TSPs receive the telemetry- just not yet sending ICCPs to ERCOT

- For 5% of the resources (31 resources), TSP does not have telemetry to the POI

- ERCOT and the group discussed the general approach for the upcoming 50 GW voltage profile test case to be started this month.

### Future Planned Meeting

- Next VPWG will be held on Tuesday, January 24, 2017

Scot Williams	Sharmila Gurrala

VPWG Chair	VPWG Vice-Chair