APPROVED
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, November 3, 2016 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bern, Alan | Oncor |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Ee, Danny | Austin Energy |  |
| Gross, Blake | AEP | Alt. Rep. for Dennis Kunkel |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Hampton, Brenda | Luminant | Alt. Rep. for Amanda Frazier |
| Holloway, Harry | GDF Suez Energy NA |  |
| Hudson, Tony | TNMP |  |
| Keetch, Rick | Reliant Energy |  |
| Koenig, Chris | Golden Spread |  |
| Kroskey, Tony | Brazos |  |
| Lee, Billy | Garland Power and Light |  |
| Moore, John | STEC |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for Eli Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Staples, Boone | Tenaska |  |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |

| Guests: |  |  |
| --- | --- | --- |
| Armke, James | Austin Energy |  |
| Bailey, Robert | NRG |  |
| Bevill, Jennifer | CES | Via Teleconference |
| Blevins, Chad | Grid Economics | Via Teleconference |
| Brandt, Adrianne | CPS Energy |  |
| Bunch, Kevin | EDF Trading | Via Teleconference |
| Checkley, Jim | CTT |  |
| Cook, Tim | CTT | Via Teleconference |
| Cripe, Ramsey | Schneider Engineering | Via Teleconference |
| DeWitt, Charles | LCRA |  |
| English, Barksdale | Austin Energy | Via Teleconference |
| Galliguez, Percy | Brazos | Via Teleconference |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Henson, Martha | Oncor |  |
| Henry, Mark | Texas Reliability Entity |  |
| Hughes, Lindsey | Competitive Power | Via Teleconference |
| Hunt, Dandy | Austin Energy | Via Teleconference |
| Jones, Randy | Calpine |  |
| Juricek, Mike | Oncor |  |
| Kee, David | CPS Energy |  |
| Kremling, Barry | GUEC |  |
| Lane, Robert | Oncor | Via Teleconference |
| Lange, Clif | STEC | Via Teleconference |
| Loyferman, Larisa | CenterPoint Energy | Via Teleconference |
| Matos, Chris | Golden Spread |  |
| Mercado, David | CenterPoint Energy | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Owens, Frank | CTT |  |
| Penney, David | Texas Reliability Entity | Via Teleconference |
| Peters, Patrick | CenterPoint Energy |  |
| Sandidge, Clint | Noble Solutions | Via Teleconference |
| Shaw, Marka | Exelon |  |
| Smith, Josh | Oncor |  |
| Stanfield, L. | Invenergy | Via Teleconference |
| Stavole, Lucas | MAKE | Via Teleconference |
| Tijerna, Jonathan | CPS Energy |  |
| Turner, David | Lone Star |  |
| Turner, Lucas | STEC | Via Teleconference |
| Walker, Mark | NRG |  |
| White, Lauri | AEP | Via Teleconference |
| Whitworth, Doug | Texas Reliability Entity | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Billo, Jeff |  |  |
| Boswell, Bill |  | Via Teleconference |
| Bracy, Phil |  |  |
| Butler, Luke |  | Via Teleconference |
| Butterfield, Lindsay |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Solis, Stephen |  |  |
| Spinner, Mark |  |  |
| Steffan, Nick |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2016 ROS Chair Alan Bern called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern directed attention to the ERCOT Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

- Approval of ROS Meeting Minutes

October 6, 2016

David DeTullio moved to approve the October 6, 2016 ROS meeting minutes as submitted.  Harry Holloway seconded the motion.  The motion carried with one abstention from the Investor Owned Utility (IOU) (AEP) Market Segment.

Technical Advisory Committee (TAC) Update

Mr. Bern reviewed activities of the October 27, 2016 TAC meeting.

Incorporation of Other Binding Documents into Protocols/Guides – Next Steps

Brittney Albracht provided information regarding incorporation of Other Binding Documents into Nodal Protocols and Guides.

Proposed Revision Request Process Changes

Ms. Albracht reviewed proposed process changes to the Revision Request process.

ERCOT Updates (see Key Documents)

Operations Report

Nick Steffan presented the September 2016 Operations Report.

System Planning Report

Jeff Billo presented the September 2016 System Planning Report.

Subsynchronous Resonance Update

Mr. Billo stated that the third phase of subsynchronous resonance studies are expected to be completed by the end of 2016 and that ERCOT expects to submit comments to NPRR562 based on the results of these studies around the first of the year.  Mr. Billo noted that two workshops are tentatively scheduled for the purpose of reviewing study results and comments on January 13, and January 31, 2017.

Phase Angle Limits

Stephen Solis provided an overview of updates to the definitions of Operational Planning Analysis and Real Time Assessment for the North American Electric Reliability Corporation (NERC) Glossary of Terms effective on January 1, 2017.  Mr. Solis stated that from January 1, to April 1, 2017, the new requirement would only apply to Operational Planning Analysis and Real Time Assessment for Interconnection Reliability Operating Limits (IROLs), and that beginning April 1, the requirement would apply to all System Operating Limits, including the IROL.   Mr. Solis also reviewed Nodal Protocol Revision Request (NPRR) 790, Addition of Phase Angle Limits to the Network Operations Model, and shared the results of ERCOT’s survey assessment of phase angle limits.

April 2015 Voltage Workshop Issues Update

Mr. Solis provided an update regarding progress on issues identified at the April 2015 Voltage Workshops, including creation of the Voltage Profile Working Group (VPWG); NPRR747, Revision of Voltage Control Requirements, and the associated Nodal Operating Guide Revision Request (NOGRR) 150; and NPRR776, Voltage Set Point Communication, and the associated NOGRR167.

New PRS Referrals

There were no items referred to ROS at the October 13, 2016 PRS meeting.

Revision Requests Tabled at PRS, Previously Referred to ROS

Nodal Protocol Revision Request (NPRR) 776, Voltage Set Point Communication

ROS took no action on NPRR776.

NPRR799, Updates to Outages of Transmission Facilities

Bill Hatfield moved to request PRS continue to table NPRR799.  David DeTullio seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

There were no Revision Requests tabled at ROS at the time of this meeting.

Planning Guide Revision Request (PGRR) 042, Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology

Market Participants reviewed the Impact Analysis for PGRR042 and discussed the timeline for implementation of Section 3.1.7, Steady State Transmission Planning Load Forecast.  Brenda Hampton expressed concern about the process for development of the boundary threshold stating the importance of arriving at a conservative enough value due to the potential of Reliability Must-Run (RMR) issues.  Market Participants discussed provisions in PGRR042 allowing for Transmission Service Providers (TSPs) to present ERCOT with information to justify using a higher Load forecast for a particular Weather Zone if the TSP believes that Weather Zone is not adequately represented by the ERCOT 90/10 Load forecast plus the boundary threshold.

Clayton Greer moved to recommend approval of PGRR042 as recommended by ROS in the 10/6/16 ROS Report and to forward the Revised Impact Analysis to TAC.  Blake Gross seconded the motion.  The motion carried with one opposing vote from the Independent Generator (Luminant) Market Segment.

Operations Working Group (OWG) (see Key Documents)

NOGRR 162, Process for Resolving Real-Time Data Discrepancies

Brenda Hampton moved to recommend approval of NOGRR162 as recommended by OWG in the 10/20/16 OWG Report.  Trieu Vo seconded the motion.  The motion carried unanimously.

Planning Working Group (PLWG) (see Key Documents)

Charles DeWitt reviewed recent PLWG activity.

Steady State Working Group (SSWG) (see Key Documents)

Dandy Hunt reviewed recent SSWG activity.

Voltage Profile Working Group (VPWG) (see Key Documents)

ROS reviewed the posted VPWG presentation.

Network Data Support Working Group (NDSWG) (see Key Documents)

Tony Kroskey reviewed recent NDSWG activity.

Operations Training Working Group (OTWG) (see Key Documents)

Mark Spinner reviewed recent OTWG activity.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

Percy Galliguez reviewed recent PDCWG activity.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Mike Juricek reviewed recent PGDTF activity.

Other Business

Review of Open Action Items

Mr. Bern noted the removal of the item assigned to PLWG, “Review load scaling methodologies used in Planning Models,” from the Open Action Items list and thanked all parties involved for their efforts.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- Outage Coordination Working Group (OCWG)

- Resource Data Working Group (RDWG)

- System Protection Working Group (SPWG)

Adjournment

Mr. Bern adjourned the November 3, 2016 ROS meeting at 12:02 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2016/11/3/77635-ROS