## Slide 1: Commercial Operations Subcommittee (COPS) Update to RMS John Schatz 1/10/2017

## Slide 2: COPS Voting Items
  NPRR802, Settlements Cleanup
  COPS voted to approve comments in support of NPRR802
  Clarifies current ERCOT practices and cleans up Protocol language
    Clarifies how Reliability Unit Commitment (RUC) Resources that have opted out of RUC Settlement are treated in the calculation of Real-Time On-Line Reserve Capacity
    Codifies the methodology to be used when Base Point data has been corrupted due to issues with ERCOT’s Energy Management System (EMS)
    Clarifies that Resources receiving Emergency Base Points are not charged for Base Point deviation during the relevant Settlement Interval(s)
    Corrects descriptions of variables used in Ancillary Service imbalance Settlement to agree to the associated Settlement formulas
    Cleans up references in Section 9, Settlement and Billing, that refer to paragraphs of Section 7.9.3.3, Shortfall Charges to CRR Owners, that have been removed from the Protocols
Notes: <number>

## Slide 3: ERCOT Reports
  IT Report
  Dave Pagliai presented the IT report for November 2016
  All SLA targets met
  11/10/16 – 11/14/16: Data not being loaded into the Settlement System
    After a scheduled Site Failover on 11/10/16, 867_03 data was not being loaded into the Settlement system
    867_03 data was manually loaded on 11/14/16
    By 11/14/16 @ 1:10 pm all 867_03 data from 11/10/16 – 11/13/16 was loaded into the appropriate ERCOT systems
  Settlements Timeline for 2016 Holiday Period Provided
  At the request of the CSWG, Ohlen Dinopol presented the ERCOT Settlements Timeline for the 2016 Holiday Period
  At the request of COPS, ERCOT staff sent market notice M-A121616-01 Settlements, ERCOT Settlements Timeline for 2016 Holiday Period, on 12/16/2016 to provide the same information to all MPs
Notes: <number>

## Slide 4: 2016 “4CP” Coincident Peak Load
  Market Notice M-A120216-01 Operations, ERCOT has posted the 2016 Planned Service Four Coincident Peak Load Calculation Report
  Mark Ruane informed COPS that ERCOT’s determination of the 4CP peak interval for the month of July 2016 was affected by a system anomaly.
    The 4CP Report shows that the July 4CP peak interval occurred at IE 16:00 on July 14. However, during this interval – at exactly 15:50 – the East DC Tie tripped offline while importing approx. 581 MW.
    Due to the DC Tie trip, ERCOT deployed additional generation to replace the lost capacity.
    ERCOT’s determines each month’s peak demand by summing total generation and total scheduled DC Tie imports (This methodology is also used by other system operators in North America).
    On July 14, the import value for IE 16:00 was not equal to the scheduled imports, because both the scheduled import value along with the replacement generation was counted.
    ERCOT followed Protocols to determine the 4CP and does not have the authority to alter the outcome.
    ERCOT notified the PUCT in Docket No. 46604 of what happened and is working with SPP staff, the DC Tie operator, to improve the e-Tag curtailment notification process.
    ERCOT determined that if the system demand value for IE 16:00 had been corrected to account for the DC Tie trip, the July 4CP would have been IE 16:30 on the same day.
    If ERCOT is unable to work with SPP to improve the process, they will consider a Protocol change to prevent this from happening again.
Notes: <number>

## Slide 5: DAM Make-Whole Calculation Issue
  Mark Ruane informed COPS that a material increase in DAM Make-Whole payments was noticed after the implementation of NPRR617, Energy Offer Flexibility on June 22, 2016.
    Upon review, it was determined that the increase resulted from a mismatch between how Startup and Minimum Energy Costs were being used by the DAM clearing engine and Settlements.
    The mismatch affected Resources that submitted Three-Part offers with null values for Startup and Minimum Energy for the entire day but failed to meet all the qualifications to be considered self-committed by DAM Protocol Section 4.4.9.1 (3).
    As implemented, if an affected Resource was committed by the DAM, the Settlement system would consider the Startup and Minimum Energy values as null, while the clearing engine valued them at zero.
    As a result, the Make-Whole payment was based on the Startup Cap amount (generic or verifiable cost) rather than zero.
    After discovering the issue, ERCOT determined that none of the impacted Operating Days met the 2% threshold for Resettlement of the DAM per Protocol Section 9.2.5 (2).
    A code fix was implemented effective OD November 16, 2016 forward.
    ERCOT staff is also evaluating additional means of monitoring Settlement outcomes to more rapidly identify implementation issues or other anomalies in the future.
Notes: <number>

## Slide 6: CSWG Referrals
  COPS referred review of the 2% Resettlement Rule to the CSWG
  The Communications and Settlements Working Group will review the 2% Resettlement Rule for both the DAM and RTM and recommend language changes if deemed necessary.
  Protocol Section 9.2.5 (2) DAM Resettlement Statement, paragraph (2):
  ERCOT shall issue a DAM Resettlement Statement for a given DAM due to error in data other than prices when the total of all errors in data other than prices results in an impact greater than 2% of the total payments due to ERCOT for the DAM, excluding bilateral transactions. ERCOT shall issue DAM Resettlement Statements as soon as possible to correct the errors. ERCOT shall review this percentage on an annual basis. Upon the review, ERCOT may make a recommendation to revise this percentage under Section 21, Revision Request Process.
  Protocol Section 9.5.6 RTM Resettlement Statement, paragraph (2):
  ERCOT shall issue a RTM Resettlement Statement for a given Operating Day due to data error in data other than prices when the total of all errors in data other than prices results in an impact greater than 2% of the total payments due to ERCOT for the RTM for the Operating Day, excluding bilateral transactions. ERCOT shall issue RTM Resettlement Statements as soon as possible to correct the errors. ERCOT shall review this percentage on an annual basis. Upon the review, ERCOT may make a recommendation to revise this percentage under Section 21, Revision Request Process.
Notes: <number>

## Slide 7: Working Group Activities
  CSWG reported on their review of NPRR802, Settlements Cleanup
  MDWG reported on the creation of NOGRR166, Daily Grid Operations Summary Report (Replacing NOGRR084)
  New NOGRR created to take the Daily Grid Operations reporting requirements in a new direction
  PWG reported on two draft LPGRRs
  To clean up LPGRR057 (Section 12 and 13)
  Modifications to Annual Validation Timelines
Notes: <number>

## Slide 8
The next COPS meeting is scheduled for
January 18, 2017
Questions?