## Summary
Missed Postings - Dec 2016
EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 1
NP8-143-CD | 11025 | QSE Ancillary Services Capacity Monitor | Chron - 5 Minutes | 1
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1
NP4-737-CD | 13483 | Solar Power Production - Hourly averaged actual and forecasted values | Chron - Hourly | 1
Missed Postings - Jan 1-16, 2017
EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 1
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 1

## Detail
Missed Postings - Dec 2016
Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 13/12/2016 16:35 - 13/12/2016 16:40 | W-A120916-01 - EMS/MMS Database maintenance
QSE Ancillary Services Capacity Monitor | NP8-143-CD | 11025 | 13/12/2016 15:45 - 13/12/2016 15:50 | W-A120916-01 - EMS/MMS Database maintenance
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 13/12/2016 16:30 - 13/12/2016 16:35 13/12/2016 16:35 - 13/12/2016 16:40 | W-A120916-01 - EMS/MMS Database maintenance
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 13/12/2016 16:35 - 13/12/2016 16:40 | W-A120916-01 - EMS/MMS Database maintenance
Solar Power Production - Hourly averaged actual and forecasted values | NP4-737-CD | 13483 | 13/12/2016 16:00 - 13/12/2016 17:00 | W-A120916-01 - EMS/MMS Database maintenance
Missed Postings - Jan 1-16, 2017
Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 06/01/2017 19:00 - 06/01/2017 20:00 | No forecast received from vendor. The vendor was contacted and the next run was pushed manually
Solar Generation Resource Power Potential Forecast | NP4-736-SG | 13482 | 06/01/2017 19:00 - 06/01/2017 20:00 | No forecast received from vendor. The vendor was contacted and the next run was pushed manually