| NPRR Number | 804 | NPRR Title | Remove Posting Requirement for One-Line Diagram |
| --- | --- | --- | --- |
| Date |  | January 18, 2017 |  |
| Submitter’s Information |  |  |  |
| Name |  | Carrie Bivens |  |
| E-mail Address |  | carrie.bivens@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6678 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

In light of the 1/12/17 WMS comments to NPRR804 that propose retention of the one-line diagram posting requirement, ERCOT offers the following comments to revise the Business Case for NPRR804 and provide additional clarification regarding the content of the one-line diagrams. Also, ERCOT intends to implement an internal project to rewrite the application that creates the kml file. Because this has no impact to Market Participants (the content of the file will not change), a System Change Request is not needed.

Revised Cover Page Language

| NPRR Number | 804 | NPRR Title | Remove Posting Requirement for Private Use Network Diagrams |
| --- | --- | --- | --- |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies that ERCOT should post both a system wide network model and a set of station one-line diagrams. It also clarifies that the model posting does not disclose data about Private Use Networks. |  |
| Business Case |  | This NPRR clarifies Congestion Revenue Right (CRR) model posting requirements. |  |

Revised Proposed Protocol Language

3.10.3	CRR Network Model

(1)	ERCOT shall develop models for CRR Auctions that contain, as much as practicable, information consistent with the Network Operations Model.  Names of Transmission Elements in the Network Operations Model and the CRR Network Model must be identical for the same physical equipment.

(2)	ERCOT shall verify that the names of Hub Buses and Electrical Buses used to describe the same device in any Hub are identically named in both the Network Operations Model and the CRR Network Model.

(3)	Each CRR Network Model must include:

(a)	A system wide diagram including all modeled transmission elements and Resource Nodes;

(b)       Station one-line diagrams with all Settlement Points (indicating the Settlement Point that the Electrical Bus is a part of) and including all Hub Buses used to calculate Hub prices (if applicable), except those within Private Use Networks;

(c)	Generation Resource locations;

(d)	Transmission Elements;

(e)	Transmission impedances;

(f)	Transmission ratings;

(g)	Contingency lists;

(h)	Data inputs used in the calculation of Dynamic Ratings, and

(i)	Other relevant assumptions and inputs used for the CRR Network Model.

(4)	ERCOT shall make available to TSPs and/or DSPs and all appropriate Market Participants, consistent with applicable policies regarding release of CEII, the CRR Network Model.  ERCOT shall provide model information through the use of the EPRI and NERC-sponsored CIM and web based XML communications or PSS/E format.