| NPRR Number | 804 | NPRR Title | Remove Posting Requirement for Private Use Network Diagrams |
| --- | --- | --- | --- |
| Date of Decision |  | January 19, 2017 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Protocol Sections Requiring Revision |  | 3.10.3, CRR Network Model |  |
| Related Documents Requiring Revision/ Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies that ERCOT should post both a system wide network model and a set of station one-line diagrams. It also clarifies that the model posting does not disclose data about Private Use Networks. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This NPRR clarifies Congestion Revenue Right (CRR) Network Model posting requirements. |  |
| Credit Work Group Review |  | To be determined |  |
| PRS Decision |  | On 10/13/16, PRS unanimously voted to table NPRR804 and refer the issue to WMS. All Market Segments were present for the vote. On 1/19/17, PRS unanimously voted to recommend approval of NPRR804 as amended by the 1/18/17 ERCOT comments and as revised by PRS. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 10/13/16, some participants expressed concern with the elimination of this file noting that some Market Participants still make use of it, and requested additional time for review by WMS. On 1/19/17, participants affirmed their desire for the continued posting of a system wide diagram of Transmission Elements and station one-line diagrams. Participants reviewed the 1/18/17 ERCOT comments to NPRR804 and provided additional revisions to specify that the system wide diagram referenced in the 1/18/17 ERCOT comments will not include Transmission Elements within a Private Use Network. |  |

| Sponsor |  |
| --- | --- |
| Name | Carrie Bivens |
| E-mail Address | carrie.bivens@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6678 |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 101716 | Requested PRS continue to table NPRR804 to allow further review by WMS. |
| WMS 011217 | Endorsed NPRR804 as revised by WMS. |
| ERCOT 011817 | Proposed revisions to the Business Case in light of the 1/12/17 WMS comments and provided additional clarifications regarding the content of the CRR Network Model. |

Market Rules Notes

None

Revised Proposed Protocol Language

3.10.3	CRR Network Model

(1)	ERCOT shall develop models for CRR Auctions that contain, as much as practicable, information consistent with the Network Operations Model.  Names of Transmission Elements in the Network Operations Model and the CRR Network Model must be identical for the same physical equipment.

(2)	ERCOT shall verify that the names of Hub Buses and Electrical Buses used to describe the same device in any Hub are identically named in both the Network Operations Model and the CRR Network Model.

(3)	Each CRR Network Model must include:

(a)	A system wide diagram including all modeled Transmission Elements (except those within Private Use Networks) and Resource Nodes;

(b)       Station one-line diagrams with all Settlement Points (indicating the Settlement Point that the Electrical Bus is a part of) and including all Hub Buses used to calculate Hub prices (if applicable), except those within Private Use Networks;

(c)	Generation Resource locations;

(d)	Transmission Elements;

(e)	Transmission impedances;

(f)	Transmission ratings;

(g)	Contingency lists;

(h)	Data inputs used in the calculation of Dynamic Ratings, and

(i)	Other relevant assumptions and inputs used for the CRR Network Model.

(4)	ERCOT shall make available to TSPs and/or DSPs and all appropriate Market Participants, consistent with applicable policies regarding release of CEII, the CRR Network Model.  ERCOT shall provide model information through the use of the EPRI and NERC-sponsored CIM and web based XML communications or PSS/E format.