## Summary
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, FALL PEAK SEASON
Fall Peak Ave. Solar Capacity Percentages |  | SOLARPEAKPCT Values *
Top Twenty Peak Hours for Each year |  | Fall 2014-2016
Year |  | 62.63%
2016 | 62.69%
2015 | 56.81% | * The methodology for calculating SOLARCAP percentages values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-010117_Nodal.doc
2014 | 68.39%
2013 | 61%
2012 | 72.17%

## Graphs
Solar Capacity Factors | High | Low | Average
Fall 2012-2016 | 90.36% | 0% | 64.21%
Fall 2012 | 90.36% | 23.97% | 72.17%
Fall 2013 | 83.83% | 0.09363% | 61%
Fall 2014 | 84.64% | 21.74% | 68.39%
Fall 2015 | 85.01% | 0% | 56.81%
Fall 2016 | 77.79% | 15.48% | 62.69%

## F2016
HOUR | 2016-10-4 HE17 | 2016-10-5 HE15 | 2016-10-5 HE16 | 2016-10-5 HE17 | 2016-10-5 HE18 | 2016-10-5 HE19 | 2016-10-6 HE15 | 2016-10-6 HE16 | 2016-10-6 HE17 | 2016-10-6 HE18 | 2016-10-17 HE15 | 2016-10-17 HE16 | 2016-10-17 HE17 | 2016-10-17 HE18 | 2016-10-18 HE15 | 2016-10-18 HE16 | 2016-10-18 HE17 | 2016-10-18 HE18 | 2016-10-19 HE16 | 2016-10-19 HE17
ERCOT LOAD (MW) | 55784 | 57800 | 59400 | 59864 | 58714 | 56237 | 56060 | 57118 | 57352 | 56446 | 55885 | 57361 | 57960 | 56966 | 56162 | 57585 | 58070 | 56900 | 56211 | 56488
TOTAL HSL (MW) | 161.0467 | 170.9263 | 166.1623 | 160.1042 | 109.5073 | 34.1249 | 151.9512 | 163.6009 | 149.8088 | 111.7856 | 171.5224 | 166.0225 | 161.3798 | 110.219 | 129.8085 | 137.8229 | 144.8256 | 101.8553 | 153.7539 | 108.4504
TOTAL CAPACITY (MW) | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5 | 220.5
CAPACITY FACTOR | 73.04% | 77.52% | 75.36% | 72.61% | 49.66% | 15.48% | 68.91% | 74.2% | 67.94% | 50.7% | 77.79% | 75.29% | 73.19% | 49.99% | 58.87% | 62.5% | 65.68% | 46.19% | 69.73% | 49.18%
CAPACITY FACTOR AVG | 62.69%
SEASON | FALL 2016
SOLAR

## F2015
HOUR | 2015-10-1 HE17 | 2015-10-7 HE17 | 2015-10-11 HE17 | 2015-10-12 HE14 | 2015-10-12 HE15 | 2015-10-12 HE16 | 2015-10-12 HE17 | 2015-10-12 HE18 | 2015-10-12 HE19 | 2015-10-12 HE20 | 2015-10-12 HE21 | 2015-10-13 HE16 | 2015-10-13 HE17 | 2015-10-13 HE18 | 2015-10-14 HE16 | 2015-10-14 HE17 | 2015-10-14 HE18 | 2015-10-15 HE16 | 2015-10-15 HE17 | 2015-10-15 HE18
ERCOT LOAD (MW) | 52695 | 51978 | 52192 | 54572 | 57056 | 58705 | 59187 | 58231 | 55670 | 54505 | 52300 | 53055 | 53656 | 52797 | 52636 | 54021 | 53438 | 53046 | 53965 | 53050
TOTAL HSL (MW) | 91.404 | 91.3448 | 96.3912 | 106.6882 | 101.7678 | 86.4498 | 72.2864 | 46.3072 | 11.2722 | 0.070833 | 0 | 105.4018 | 97.2363 | 73.4772 | 103.2189 | 96.0935 | 79.9279 | 68.9891 | 64.914 | 32.7728
TOTAL CAPACITY (MW) | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5 | 125.5
CAPACITY FACTOR | 72.83% | 72.78% | 76.81% | 85.01% | 81.09% | 68.88% | 57.6% | 36.9% | 8.982% | 0.05644% | 0% | 83.99% | 77.48% | 58.55% | 82.25% | 76.57% | 63.69% | 54.97% | 51.72% | 26.11%
CAPACITY FACTOR AVG | 56.81%
SEASON | FALL 2015
SOLAR

## F2014
HOUR | 2014-10-1 HE15 | 2014-10-1 HE16 | 2014-10-1 HE17 | 2014-10-1 HE18 | 2014-10-1 HE19 | 2014-10-2 HE14 | 2014-10-2 HE15 | 2014-10-2 HE16 | 2014-10-2 HE17 | 2014-10-7 HE15 | 2014-10-7 HE16 | 2014-10-7 HE17 | 2014-10-7 HE18 | 2014-10-8 HE16 | 2014-10-8 HE17 | 2014-10-9 HE16 | 2014-10-9 HE17 | 2014-10-9 HE18 | 2014-10-10 HE16 | 2014-10-10 HE17
ERCOT LOAD (MW) | 56148 | 57586 | 58419 | 57845 | 55613 | 54365 | 56354 | 57286 | 54605 | 54680 | 56665 | 57564 | 56775 | 54147 | 54332 | 54947 | 55543 | 54553 | 54751 | 55055
TOTAL HSL (MW) | 45.9988 | 50.6258 | 44.797 | 46.4359 | 14.3249 | 39.2191 | 41.0716 | 46.166 | 51.2816 | 55.4372 | 55.7759 | 54.4092 | 44.0439 | 51.2864 | 44.5312 | 54.2401 | 48.427 | 37.6343 | 44.2499 | 31.4819
TOTAL CAPACITY (MW) | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9 | 65.9
CAPACITY FACTOR | 69.8% | 76.82% | 67.98% | 70.46% | 21.74% | 59.51% | 62.32% | 70.05% | 77.82% | 84.12% | 84.64% | 82.56% | 66.83% | 77.82% | 67.57% | 82.31% | 73.49% | 57.11% | 67.15% | 47.77%
CAPACITY FACTOR AVG | 68.39%
SEASON | FALL 2014
SOLAR

## F2013
HOUR | 2013-10-1 HE15 | 2013-10-1 HE16 | 2013-10-1 HE17 | 2013-10-1 HE18 | 2013-10-2 HE16 | 2013-10-2 HE17 | 2013-10-2 HE18 | 2013-10-3 HE14 | 2013-10-3 HE15 | 2013-10-3 HE16 | 2013-10-3 HE17 | 2013-10-3 HE18 | 2013-10-3 HE19 | 2013-10-3 HE20 | 2013-10-4 HE14 | 2013-10-4 HE15 | 2013-10-4 HE16 | 2013-10-4 HE17 | 2013-10-4 HE18 | 2013-10-4 HE19
ERCOT LOAD (MW) | 50528 | 52054 | 52741 | 52103 | 51111 | 51874 | 51468 | 51359 | 53179 | 54249 | 54710 | 53945 | 51823 | 50638 | 50874 | 52804 | 54076 | 54532 | 53392 | 50807
TOTAL HSL (MW) | 20.7333 | 21.6833 | 19.6333 | 19.5333 | 16.55 | 12.0083 | 16.6083 | 20.7667 | 22.3833 | 17.6583 | 20.4667 | 16.2917 | 4.4083 | 0.025 | 21.675 | 18.6417 | 17.025 | 15.8167 | 18.1083 | 5.725
TOTAL CAPACITY (MW) | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7
CAPACITY FACTOR | 77.65% | 81.21% | 73.53% | 73.16% | 61.99% | 44.98% | 62.2% | 77.78% | 83.83% | 66.14% | 76.65% | 61.02% | 16.51% | 0.09363% | 81.18% | 69.82% | 63.76% | 59.24% | 67.82% | 21.44%
CAPACITY FACTOR AVG | 61%
SEASON | FALL 2013
SOLAR

## F2012
HOUR | 2012-10-4 HE15 | 2012-10-4 HE16 | 2012-10-4 HE17 | 2012-10-4 HE18 | 2012-10-5 HE15 | 2012-10-5 HE16 | 2012-10-5 HE17 | 2012-10-5 HE18 | 2012-10-12 HE15 | 2012-10-12 HE16 | 2012-10-12 HE17 | 2012-10-12 HE18 | 2012-10-17 HE17 | 2012-10-17 HE18 | 2012-10-21 HE17 | 2012-10-22 HE16 | 2012-10-22 HE17 | 2012-10-23 HE17 | 2012-10-24 HE16 | 2012-10-24 HE17
ERCOT LOAD (MW) | 46149 | 47520 | 48274 | 47517 | 46738 | 47797 | 48043 | 46709 | 46524 | 47558 | 48010 | 46891 | 46998 | 46499 | 46420 | 46169 | 46163 | 46516 | 46390 | 46860
TOTAL HSL (MW) | 23.5167 | 23.7 | 18.5 | 18.1083 | 24.125 | 23.95 | 23.2538 | 19.675 | 20.4 | 21.6583 | 18.7583 | 13.1583 | 22.375 | 8.9083 | 20.9917 | 23.075 | 22.3583 | 6.4 | 18.625 | 13.8333
TOTAL CAPACITY (MW) | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7 | 26.7
CAPACITY FACTOR | 88.08% | 88.76% | 69.29% | 67.82% | 90.36% | 89.7% | 87.09% | 73.69% | 76.4% | 81.12% | 70.26% | 49.28% | 83.8% | 33.36% | 78.62% | 86.42% | 83.74% | 23.97% | 69.76% | 51.81%
CAPACITY FACTOR AVG | 72.17%
SEASON | FALL 2012
SOLAR