## Summary
PEAK AVERAGE WIND CAPACITY PERCENTAGES, FALL PEAK SEASON
Fall Peak Ave. Wind Capacity Percentages |  |  | WINDPEAKPCT Values *
Top Twenty Peak Hours for Each year |  |  | Fall, Non-Coastal | Fall, Coastal
Year | Non-Coastal | Coastal | 35.01% | 43.78%
2016 | 27.92% | 41.02%
2015 | 32.21% | 25.34%
2014 | 27.72% | 41.87%
2013 | 42.64% | 42.22% | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-010117_Nodal.doc
2012 | 30.4% | 60.47%
2011 | 73.37% | 51.76%
2010 | 18.03% | #N/A
2009 | 27.83% | #N/A

## Graphs
HISTORICAL WIND CAPACITY CONTRIBUTION - FALL
Non-Coastal Capacity Factors | High | Low | Average
Fall 2009-2016-NC | 90.45% | 0.2874% | 35.01%
Fall 2009-NC | 37.36% | 7.927% | 27.83%
Fall 2010-NC | 55.78% | 0.2874% | 18.03%
Fall 2011-NC | 90.45% | 25.25% | 73.37%
Fall 2012-NC | 73.03% | 0.8543% | 30.4%
Fall 2013-NC | 67.99% | 24.23% | 42.64%
Fall 2014-NC | 45.47% | 13.07% | 27.72%
Fall 2015-NC | 68.29% | 3.153% | 32.21%
Fall 2016-NC | 65.63% | 4.249% | 27.92%
Coastal Capacity Factors | High | Low | Average
Fall 2011-2016-C | 96.22% | 5.397% | 43.78%
Fall 2009-C | #N/A | #N/A | #N/A
Fall 2010-C | #N/A | #N/A | #N/A
Fall 2011-C | 92.33% | 5.397% | 51.76%
Fall 2012-C | 96.22% | 19.51% | 60.47%
Fall 2013-C | 65.47% | 27.9% | 42.22%
Fall 2014-C | 73.15% | 14.44% | 41.87%
Fall 2015-C | 41.43% | 7.527% | 25.34%
Fall 2016-C | 71.51% | 18.44% | 41.02%

## F2016-NC
HOUR | 2016-10-4 HE17 | 2016-10-5 HE15 | 2016-10-5 HE16 | 2016-10-5 HE17 | 2016-10-5 HE18 | 2016-10-5 HE19 | 2016-10-6 HE15 | 2016-10-6 HE16 | 2016-10-6 HE17 | 2016-10-6 HE18 | 2016-10-17 HE15 | 2016-10-17 HE16 | 2016-10-17 HE17 | 2016-10-17 HE18 | 2016-10-18 HE15 | 2016-10-18 HE16 | 2016-10-18 HE17 | 2016-10-18 HE18 | 2016-10-19 HE16 | 2016-10-19 HE17
ERCOT LOAD (MW) | 55784 | 57800 | 59400 | 59864 | 58714 | 56237 | 56060 | 57118 | 57352 | 56446 | 55885 | 57361 | 57960 | 56966 | 56162 | 57585 | 58070 | 56900 | 56211 | 56488
WIND HSL (MW) | 5911.246 | 1578.4619 | 2095.4101 | 2756.4696 | 3339.1338 | 3769.9099 | 4078.7384 | 3360.2522 | 3193.4148 | 4088.6957 | 8811.1377 | 9080.643 | 8947.0625 | 8408.5554 | 603.7398 | 587.857 | 721.5728 | 1120.3816 | 2389.4196 | 2403.824
WIND CAPACITY (MW) | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4 | 13835.4
CAPACITY FACTOR | 42.73% | 11.41% | 15.15% | 19.92% | 24.13% | 27.25% | 29.48% | 24.29% | 23.08% | 29.55% | 63.69% | 65.63% | 64.67% | 60.78% | 4.364% | 4.249% | 5.215% | 8.098% | 17.27% | 17.37%
CAPACITY FACTOR AVG | 27.92%
SEASON | FALL 2016
NON-COASTAL

## F2016-C
HOUR | 2016-10-4 HE17 | 2016-10-5 HE15 | 2016-10-5 HE16 | 2016-10-5 HE17 | 2016-10-5 HE18 | 2016-10-5 HE19 | 2016-10-6 HE15 | 2016-10-6 HE16 | 2016-10-6 HE17 | 2016-10-6 HE18 | 2016-10-17 HE15 | 2016-10-17 HE16 | 2016-10-17 HE17 | 2016-10-17 HE18 | 2016-10-18 HE15 | 2016-10-18 HE16 | 2016-10-18 HE17 | 2016-10-18 HE18 | 2016-10-19 HE16 | 2016-10-19 HE17
ERCOT LOAD (MW) | 55784 | 57800 | 59400 | 59864 | 58714 | 56237 | 56060 | 57118 | 57352 | 56446 | 55885 | 57361 | 57960 | 56966 | 56162 | 57585 | 58070 | 56900 | 56211 | 56488
WIND HSL (MW) | 522.322 | 308.2755 | 520.9835 | 641.8312 | 737.7698 | 763.6323 | 343.7886 | 529.95 | 581.1704 | 588.9653 | 439.0038 | 595.2739 | 674.7359 | 717.9704 | 759.0435 | 979.5109 | 1105.5293 | 1195.1916 | 764.6545 | 943.7529
WIND CAPACITY (MW) | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4
CAPACITY FACTOR | 31.25% | 18.44% | 31.17% | 38.4% | 44.14% | 45.69% | 20.57% | 31.71% | 34.77% | 35.24% | 26.27% | 35.62% | 40.37% | 42.96% | 45.41% | 58.6% | 66.14% | 71.51% | 45.75% | 56.46%
CAPACITY FACTOR AVG | 41.02%
SEASON | FALL 2016
COASTAL

## F2015-NC
HOUR | 2015-10-1 HE17 | 2015-10-7 HE17 | 2015-10-11 HE17 | 2015-10-12 HE14 | 2015-10-12 HE15 | 2015-10-12 HE16 | 2015-10-12 HE17 | 2015-10-12 HE18 | 2015-10-12 HE19 | 2015-10-12 HE20 | 2015-10-12 HE21 | 2015-10-13 HE16 | 2015-10-13 HE17 | 2015-10-13 HE18 | 2015-10-14 HE16 | 2015-10-14 HE17 | 2015-10-14 HE18 | 2015-10-15 HE16 | 2015-10-15 HE17 | 2015-10-15 HE18
ERCOT LOAD (MW) | 52695 | 51978 | 52192 | 54572 | 57056 | 58705 | 59187 | 58231 | 55670 | 54505 | 52300 | 53055 | 53656 | 52797 | 52636 | 54021 | 53438 | 53046 | 53965 | 53050
WIND HSL (MW) | 536.6658 | 1923.9893 | 4719.9797 | 7589.3494 | 7381.9089 | 7224.6763 | 7031.1242 | 6620.8161 | 5426.648 | 4201.6084 | 4003.8454 | 419.617 | 376.8386 | 350.4423 | 1983.7382 | 2080.7953 | 2115.7226 | 2676.4711 | 2413.5608 | 2515.464
WIND CAPACITY (MW) | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1 | 11114.1
CAPACITY FACTOR | 4.829% | 17.31% | 42.47% | 68.29% | 66.42% | 65% | 63.26% | 59.57% | 48.83% | 37.8% | 36.02% | 3.776% | 3.391% | 3.153% | 17.85% | 18.72% | 19.04% | 24.08% | 21.72% | 22.63%
CAPACITY FACTOR AVG | 32.21%
SEASON | FALL 2015
NON-COASTAL

## F2015-C
HOUR | 2015-10-1 HE17 | 2015-10-7 HE17 | 2015-10-11 HE17 | 2015-10-12 HE14 | 2015-10-12 HE15 | 2015-10-12 HE16 | 2015-10-12 HE17 | 2015-10-12 HE18 | 2015-10-12 HE19 | 2015-10-12 HE20 | 2015-10-12 HE21 | 2015-10-13 HE16 | 2015-10-13 HE17 | 2015-10-13 HE18 | 2015-10-14 HE16 | 2015-10-14 HE17 | 2015-10-14 HE18 | 2015-10-15 HE16 | 2015-10-15 HE17 | 2015-10-15 HE18
ERCOT LOAD (MW) | 52695 | 51978 | 52192 | 54572 | 57056 | 58705 | 59187 | 58231 | 55670 | 54505 | 52300 | 53055 | 53656 | 52797 | 52636 | 54021 | 53438 | 53046 | 53965 | 53050
WIND HSL (MW) | 141.0194 | 604.0821 | 262.524 | 483.1556 | 492.4517 | 576.436 | 634.7812 | 726.5104 | 699.8088 | 697.9128 | 776.189 | 141.6634 | 160.1169 | 185.1434 | 335.2459 | 421.3254 | 400.6546 | 499.2797 | 600.7964 | 653.8971
WIND CAPACITY (MW) | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4 | 1873.4
CAPACITY FACTOR | 7.527% | 32.25% | 14.01% | 25.79% | 26.29% | 30.77% | 33.88% | 38.78% | 37.36% | 37.25% | 41.43% | 7.562% | 8.547% | 9.883% | 17.9% | 22.49% | 21.39% | 26.65% | 32.07% | 34.9%
CAPACITY FACTOR AVG | 25.34%
SEASON | FALL 2015
COASTAL

## F2014-NC
HOUR | 2014-10-1 HE15 | 2014-10-1 HE16 | 2014-10-1 HE17 | 2014-10-1 HE18 | 2014-10-1 HE19 | 2014-10-2 HE14 | 2014-10-2 HE15 | 2014-10-2 HE16 | 2014-10-2 HE17 | 2014-10-7 HE15 | 2014-10-7 HE16 | 2014-10-7 HE17 | 2014-10-7 HE18 | 2014-10-8 HE16 | 2014-10-8 HE17 | 2014-10-9 HE16 | 2014-10-9 HE17 | 2014-10-9 HE18 | 2014-10-10 HE16 | 2014-10-10 HE17
ERCOT LOAD (MW) | 56148 | 57586 | 58419 | 57845 | 55613 | 54365 | 56354 | 57286 | 54605 | 54680 | 56665 | 57564 | 56775 | 54147 | 54332 | 54947 | 55543 | 54553 | 54751 | 55055
WIND HSL (MW) | 1469.9325 | 1764.8357 | 1972.0771 | 2132.3606 | 2144.3888 | 2840.8541 | 3435.9302 | 3624.4053 | 3765.6329 | 1549.8519 | 1680.5724 | 1821.9853 | 1817.9806 | 2993.6088 | 3148.0114 | 3776.5383 | 3868.0189 | 4230.592 | 1215.8846 | 2337.7065
WIND CAPACITY (MW) | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7
CAPACITY FACTOR | 15.8% | 18.97% | 21.19% | 22.92% | 23.05% | 30.53% | 36.93% | 38.95% | 40.47% | 16.66% | 18.06% | 19.58% | 19.54% | 32.17% | 33.83% | 40.59% | 41.57% | 45.47% | 13.07% | 25.12%
CAPACITY FACTOR AVG | 27.72%
SEASON | FALL 2014
NON-COASTAL

## F2014-C
HOUR | 2014-10-1 HE15 | 2014-10-1 HE16 | 2014-10-1 HE17 | 2014-10-1 HE18 | 2014-10-1 HE19 | 2014-10-2 HE14 | 2014-10-2 HE15 | 2014-10-2 HE16 | 2014-10-2 HE17 | 2014-10-7 HE15 | 2014-10-7 HE16 | 2014-10-7 HE17 | 2014-10-7 HE18 | 2014-10-8 HE16 | 2014-10-8 HE17 | 2014-10-9 HE16 | 2014-10-9 HE17 | 2014-10-9 HE18 | 2014-10-10 HE16 | 2014-10-10 HE17
ERCOT LOAD (MW) | 56148 | 57586 | 58419 | 57845 | 55613 | 54365 | 56354 | 57286 | 54605 | 54680 | 56665 | 57564 | 56775 | 54147 | 54332 | 54947 | 55543 | 54553 | 54751 | 55055
WIND HSL (MW) | 247.5963 | 436.0875 | 579.7891 | 677.5371 | 666.9511 | 848.7529 | 809.6959 | 846.0209 | 902.8199 | 241.389 | 360.1855 | 320.8946 | 365.5406 | 625.9021 | 789.8691 | 888.6285 | 998.6622 | 982.7388 | 1222.6758 | 1183.9944
WIND CAPACITY (MW) | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4 | 1671.4
CAPACITY FACTOR | 14.81% | 26.09% | 34.69% | 40.54% | 39.9% | 50.78% | 48.44% | 50.62% | 54.02% | 14.44% | 21.55% | 19.2% | 21.87% | 37.45% | 47.26% | 53.17% | 59.75% | 58.8% | 73.15% | 70.84%
CAPACITY FACTOR AVG | 41.87%
SEASON | FALL 2014
COASTAL

## F2013-NC
HOUR | 2013-10-1 HE15 | 2013-10-1 HE16 | 2013-10-1 HE17 | 2013-10-1 HE18 | 2013-10-2 HE16 | 2013-10-2 HE17 | 2013-10-2 HE18 | 2013-10-3 HE14 | 2013-10-3 HE15 | 2013-10-3 HE16 | 2013-10-3 HE17 | 2013-10-3 HE18 | 2013-10-3 HE19 | 2013-10-3 HE20 | 2013-10-4 HE14 | 2013-10-4 HE15 | 2013-10-4 HE16 | 2013-10-4 HE17 | 2013-10-4 HE18 | 2013-10-4 HE19
ERCOT LOAD (MW) | 50528 | 52054 | 52741 | 52103 | 51111 | 51874 | 51468 | 51359 | 53179 | 54249 | 54710 | 53945 | 51823 | 50638 | 50874 | 52804 | 54076 | 54532 | 53392 | 50807
WIND HSL (MW) | 2393.475 | 2416.1333 | 2254.65 | 2273.825 | 2929.925 | 3024.25 | 3181.6 | 4825.8417 | 4872.8583 | 5279.975 | 5847.7083 | 6304.7 | 6325.9917 | 6199.9 | 4502.8667 | 3730.7917 | 3321.15 | 3083.5417 | 3216.9083 | 3368.0917
WIND CAPACITY (MW) | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7 | 9304.7
CAPACITY FACTOR | 25.72% | 25.97% | 24.23% | 24.44% | 31.49% | 32.5% | 34.19% | 51.86% | 52.37% | 56.75% | 62.85% | 67.76% | 67.99% | 66.63% | 48.39% | 40.1% | 35.69% | 33.14% | 34.57% | 36.2%
CAPACITY FACTOR AVG | 42.64%
SEASON | FALL 2013
NON-COASTAL

## F2013-C
HOUR | 2013-10-1 HE15 | 2013-10-1 HE16 | 2013-10-1 HE17 | 2013-10-1 HE18 | 2013-10-2 HE16 | 2013-10-2 HE17 | 2013-10-2 HE18 | 2013-10-3 HE14 | 2013-10-3 HE15 | 2013-10-3 HE16 | 2013-10-3 HE17 | 2013-10-3 HE18 | 2013-10-3 HE19 | 2013-10-3 HE20 | 2013-10-4 HE14 | 2013-10-4 HE15 | 2013-10-4 HE16 | 2013-10-4 HE17 | 2013-10-4 HE18 | 2013-10-4 HE19
ERCOT LOAD (MW) | 50528 | 52054 | 52741 | 52103 | 51111 | 51874 | 51468 | 51359 | 53179 | 54249 | 54710 | 53945 | 51823 | 50638 | 50874 | 52804 | 54076 | 54532 | 53392 | 50807
WIND HSL (MW) | 551.8333 | 516.3667 | 517.5417 | 592.0333 | 362.975 | 523.0167 | 636.1833 | 354.225 | 422.7833 | 473.15 | 458.8417 | 480.1917 | 507.8583 | 480.5333 | 358.7583 | 535.75 | 628.7667 | 693.4917 | 831.3333 | 795.7167
WIND CAPACITY (MW) | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7 | 1269.7
CAPACITY FACTOR | 43.46% | 40.67% | 40.76% | 46.63% | 28.59% | 41.19% | 50.11% | 27.9% | 33.3% | 37.26% | 36.14% | 37.82% | 40% | 37.85% | 28.26% | 42.2% | 49.52% | 54.62% | 65.47% | 62.67%
CAPACITY FACTOR AVG | 42.22%
SEASON | FALL 2013
COASTAL

## F2012-NC
HOUR | 2012-10-4 HE15 | 2012-10-4 HE16 | 2012-10-4 HE17 | 2012-10-4 HE18 | 2012-10-5 HE15 | 2012-10-5 HE16 | 2012-10-5 HE17 | 2012-10-5 HE18 | 2012-10-12 HE15 | 2012-10-12 HE16 | 2012-10-12 HE17 | 2012-10-12 HE18 | 2012-10-17 HE17 | 2012-10-17 HE18 | 2012-10-21 HE17 | 2012-10-22 HE16 | 2012-10-22 HE17 | 2012-10-23 HE17 | 2012-10-24 HE16 | 2012-10-24 HE17
ERCOT LOAD (MW) | 46149 | 47520 | 48274 | 47517 | 46738 | 47797 | 48043 | 46709 | 46524 | 47558 | 48010 | 46891 | 46998 | 46499 | 46420 | 46169 | 46163 | 46516 | 46390 | 46860
WIND HSL (MW) | 2789.1083 | 2203.0417 | 1728.1333 | 1375.5417 | 71.9667 | 73.5583 | 173.8538 | 609.975 | 4644.725 | 4498.65 | 4478.525 | 4281.9833 | 799.925 | 1022.4417 | 2576.05 | 2893.25 | 2769.7083 | 2023.7667 | 6053.5083 | 6152.2167
WIND CAPACITY (MW) | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5 | 8424.5
CAPACITY FACTOR | 33.11% | 26.15% | 20.51% | 16.33% | 0.8543% | 0.8731% | 2.064% | 7.24% | 55.13% | 53.4% | 53.16% | 50.83% | 9.495% | 12.14% | 30.58% | 34.34% | 32.88% | 24.02% | 71.86% | 73.03%
CAPACITY FACTOR AVG | 30.4%
SEASON | FALL 2012
NON-COASTAL

## F2012-C
HOUR | 2012-10-4 HE15 | 2012-10-4 HE16 | 2012-10-4 HE17 | 2012-10-4 HE18 | 2012-10-5 HE15 | 2012-10-5 HE16 | 2012-10-5 HE17 | 2012-10-5 HE18 | 2012-10-12 HE15 | 2012-10-12 HE16 | 2012-10-12 HE17 | 2012-10-12 HE18 | 2012-10-17 HE17 | 2012-10-17 HE18 | 2012-10-21 HE17 | 2012-10-22 HE16 | 2012-10-22 HE17 | 2012-10-23 HE17 | 2012-10-24 HE16 | 2012-10-24 HE17
ERCOT LOAD (MW) | 46149 | 47520 | 48274 | 47517 | 46738 | 47797 | 48043 | 46709 | 46524 | 47558 | 48010 | 46891 | 46998 | 46499 | 46420 | 46169 | 46163 | 46516 | 46390 | 46860
TOTAL HSL (MW) | 996.975 | 1026.0417 | 1022.675 | 1025.5583 | 232.6167 | 210.825 | 208.0385 | 242.1417 | 711.8333 | 786.7833 | 849.95 | 865.7 | 232.5 | 266.4833 | 996.625 | 940.1083 | 958.025 | 532.3583 | 366.0833 | 425.8583
TOTAL CAPACITY (MW) | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4 | 1066.4
CAPACITY FACTOR | 93.49% | 96.22% | 95.9% | 96.17% | 21.81% | 19.77% | 19.51% | 22.71% | 66.75% | 73.78% | 79.7% | 81.18% | 21.8% | 24.99% | 93.46% | 88.16% | 89.84% | 49.92% | 34.33% | 39.93%
CAPACITY FACTOR AVG | 60.47%
SEASON | FALL 2012
COASTAL

## F2011-NC
HOUR | 2011-10-6 HE15 | 2011-10-6 HE16 | 2011-10-6 HE17 | 2011-10-6 HE18 | 2011-10-6 HE19 | 2011-10-6 HE20 | 2011-10-6 HE21 | 2011-10-7 HE14 | 2011-10-7 HE15 | 2011-10-7 HE16 | 2011-10-7 HE17 | 2011-10-7 HE18 | 2011-10-7 HE19 | 2011-10-12 HE17 | 2011-10-17 HE15 | 2011-10-17 HE16 | 2011-10-17 HE17 | 2011-10-17 HE18 | 2011-10-17 HE19 | 2011-10-17 HE20
ERCOT LOAD (MW) | 46783 | 48178 | 48785 | 48146 | 46485 | 46301 | 45956 | 46951 | 48390 | 49345 | 49710 | 48931 | 46658 | 46052 | 46357 | 48002 | 48889 | 48186 | 46388 | 46028
WIND HSL (MW) | 7052.5667 | 7057.1583 | 7129.9083 | 7137.9 | 7157.5667 | 7068.0333 | 7047.2692 | 7047.125 | 6999.4667 | 7088.975 | 7193.9583 | 7322.5167 | 7316.8167 | 2044.1417 | 2600.45 | 2812.6 | 4019.1833 | 4560.9923 | 4592.4833 | 5552.3
WIND CAPACITY (MW) | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096 | 8096
CAPACITY FACTOR | 87.11% | 87.17% | 88.07% | 88.17% | 88.41% | 87.3% | 87.05% | 87.04% | 86.46% | 87.56% | 88.86% | 90.45% | 90.38% | 25.25% | 32.12% | 34.74% | 49.64% | 56.34% | 56.73% | 68.58%
CAPACITY FACTOR AVG | 73.37%
SEASON | FALL 2011
NON-COASTAL

## F2011-C
HOUR | 2011-10-6 HE15 | 2011-10-6 HE16 | 2011-10-6 HE17 | 2011-10-6 HE18 | 2011-10-6 HE19 | 2011-10-6 HE20 | 2011-10-6 HE21 | 2011-10-7 HE14 | 2011-10-7 HE15 | 2011-10-7 HE16 | 2011-10-7 HE17 | 2011-10-7 HE18 | 2011-10-7 HE19 | 2011-10-12 HE17 | 2011-10-17 HE15 | 2011-10-17 HE16 | 2011-10-17 HE17 | 2011-10-17 HE18 | 2011-10-17 HE19 | 2011-10-17 HE20
ERCOT LOAD (MW) | 46783 | 48178 | 48785 | 48146 | 46485 | 46301 | 45956 | 46951 | 48390 | 49345 | 49710 | 48931 | 46658 | 46052 | 46357 | 48002 | 48889 | 48186 | 46388 | 46028
WIND HSL (MW) | 246.075 | 295.925 | 364.1167 | 411.6583 | 554.65 | 663.8917 | 482.7692 | 812.325 | 836.075 | 878.4333 | 891.5667 | 881.4833 | 809.3583 | 139.2583 | 52.1167 | 145.875 | 271.9833 | 390.1923 | 437.9333 | 430.2417
WIND CAPACITY (MW) | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6 | 965.6
CAPACITY FACTOR | 25.48% | 30.65% | 37.71% | 42.63% | 57.44% | 68.75% | 50% | 84.13% | 86.59% | 90.97% | 92.33% | 91.29% | 83.82% | 14.42% | 5.397% | 15.11% | 28.17% | 40.41% | 45.35% | 44.56%
CAPACITY FACTOR AVG | 51.76%
SEASON | FALL 2011
COASTAL

## F2010-NC
HOUR ENDING | 2010-10-1 HE16 | 2010-10-1 HE17 | 2010-10-1 HE18 | 2010-10-11 HE16 | 2010-10-11 HE17 | 2010-10-11 HE18 | 2010-10-12 HE17 | 2010-10-19 HE17 | 2010-10-20 HE16 | 2010-10-20 HE17 | 2010-10-20 HE18 | 2010-10-21 HE16 | 2010-10-21 HE17 | 2010-10-25 HE16 | 2010-10-25 HE17 | 2010-10-25 HE18 | 2010-10-25 HE20 | 2010-10-27 HE16 | 2010-10-27 HE17 | 2010-10-27 HE18
ERCOT LOAD (MW) | 44455 | 45125 | 44243 | 44181 | 44843 | 44045 | 44233 | 44337 | 44317 | 44943 | 44421 | 44001 | 44415 | 45076 | 45456 | 44533 | 44014 | 44722 | 45258 | 44488
WIND METERED (MW) | 22.6541 | 32.7494 | 57.3845 | 71.6352 | 37.6753 | 106.3219 | 1084.0451 | 397.565 | 346.5613 | 569.9567 | 720.7805 | 2728.3326 | 2763.25 | 4396.4079 | 4255.9442 | 4062.8221 | 4218.1596 | 1018.2257 | 763.9899 | 761.8662
WIND CAPACITY (MW) | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7 | 7881.7
CAPACITY FACTOR | 0.2874% | 0.4155% | 0.7281% | 0.9089% | 0.478% | 1.349% | 13.75% | 5.044% | 4.397% | 7.231% | 9.145% | 34.62% | 35.06% | 55.78% | 54% | 51.55% | 53.52% | 12.92% | 9.693% | 9.666%
CAPACITY FACTOR AVG | 18.03%
SEASON | FALL 2010
NON-COASTAL

## F2009-NC
HOUR ENDING | 2009-10-1 HE15 | 2009-10-1 HE16 | 2009-10-1 HE17 | 2009-10-1 HE18 | 2009-10-6 HE14 | 2009-10-6 HE15 | 2009-10-6 HE16 | 2009-10-6 HE17 | 2009-10-6 HE18 | 2009-10-8 HE14 | 2009-10-8 HE15 | 2009-10-8 HE16 | 2009-10-8 HE17 | 2009-10-8 HE18 | 2009-10-8 HE19 | 2009-10-8 HE20 | 2009-10-8 HE21 | 2009-10-14 HE16 | 2009-10-14 HE17 | 2009-10-14 HE18
ERCOT LOAD (MW) | 46488 | 47433 | 47859 | 46896 | 45021 | 45622 | 45956 | 45939 | 45023 | 46600 | 47775 | 48599 | 49052 | 48311 | 46909 | 47319 | 46688 | 45994 | 46736 | 46206
WIND METERED (MW) | 1610.0098 | 1776.3256 | 2015.3863 | 2267.1688 | 2547.3326 | 2473.7507 | 2377.013 | 2299.6098 | 1870.6493 | 2259.9028 | 2322.11 | 2197.0141 | 2123.4088 | 1983.1648 | 1746.966 | 1935.0382 | 1917.054 | 674.4906 | 540.4244 | 1006.6584
WIND CAPACITY (MW) | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6 | 6817.6
CAPACITY FACTOR | 23.62% | 26.05% | 29.56% | 33.25% | 37.36% | 36.28% | 34.87% | 33.73% | 27.44% | 33.15% | 34.06% | 32.23% | 31.15% | 29.09% | 25.62% | 28.38% | 28.12% | 9.893% | 7.927% | 14.77%
CAPACITY FACTOR AVG | 27.83%
SEASON | FALL 2009
NON-COASTAL