## Slide 1
Solar Penetration Impact on Resource Adequacy
Supply Analysis Working Group Meeting, 2/1/2017

## Slide 2: LTSA “Key Findings” Chart – 2031 July Day
Net-peak resource adequacy challenge

## Slide 3: Solar PV Interconnection Requests
Chart: Interconnection Request Milestones, Solar PV Projects by Year
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022
FIS Requested | 338.03 | 2279.97 | 4986.366 | 2941.939 | 385 | 231
IA Signed | 338.03 | 530.915 | 508.2 | 100.1 | 77 | 0
IA Signed with Financial Commitment | 338.03 | 207.9 | 508.2 | 100.1 | 77 | 0
 | 11162.305
 | 1554.245
 | 1231.23
Cumulative Totals

## Slide 4: Capacity, Demand and Reserves (CDR) Report
Resource issues?
  Solar penetration growing, but capacity levels relatively small during the five-year CDR time horizon
  CDR does not capture supply-side and demand-side responses that would address solar capacity drop-off issues in the long term
  Net Peak Load accounting
Load forecast issues?
  Disparity between historical rate of distributed solar penetration embedded in load forecast vs. future rate trends