## Slide 1: PLWG Report to ROS
February 2, 2017

## Slide 2: ROS Assignments
Stability Issues Identified during FIS Process/Impact on Generic Transmission Constraints
  PLWG submitted following PGGR and NPRR for ROS consideration
    PGRR054 – Stability Limits in the Full Interconnect Study (Consensus)
      Reviewed IA and recommended to ROS for consideration
    NPRR809 – GTC or GTL for New Generation Interconnection (Consensus)
      Prepared draft comments for ROS consideration in responding to PRS referral.
  No additional action items planned at this time.

## Slide 3: Active PGRRs
  PGRR052 – Stability Assessment for Interconnecting Generation
    Tabled at TAC, Pending Companion NPRR809 Approval
  PGRR053 – Addition of Proposed All-Inclusive Generation Resources to the Planning Models
    TAC Approved, Pending February ERCOT BOD Consideration
  PGRR054 – Stability Limits in the Full Interconnect Study
    PLWG Consensus, Pending ROS Consideration
    Implementation dependent on companion PGRR052 and NPRR809
  PGRR055 – Planning Guide Revision Request Process
    PGRR revises the process for reviewing PGRRs
    PLWG conducted a first review and reviewed the IA.
    Second review is scheduled for the February PLWG meeting.
  PGRR056 – Alignment With NPRR562, Subsynchronous Resonance
    PLWG will conduct a first review at the February PLWG meeting.

## Slide 4: New Items
PLWG was informed of a draft PGRR that ERCOT intends to submit in February. The PGRR defines the roles for complying with NERC TPL-007-1 “Transmission System Planned Performance for Geomagnetic Disturbance Events”
  R1 requires the Planning Coordinator to identify individual and joint responsibilities.
  PGDTF and ERCOT propose to memorialize this in the Planning Guides.
Reviewed and updated PLWGs issues list.